## Base
Date/Time | CORE_ZN:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly)
01/20 01:00:00 | 0 | -9973.6451 | 19375.2214 | 0 | -3844.1303 | 21187.9563 | 0 | -2200.4349 | 13013.302 | 0 | -3846.7715 | 21596.93 | 0 | -2227.2161 | 12978.129 | 0 | 0 | 0
01/20 02:00:00 | 0 | -9966.3008 | 20005.7306 | 0 | -3506.9813 | 21668.823 | 0 | -1988.2987 | 13275.0148 | 0 | -3516.3254 | 21954.7867 | 0 | -2012.8735 | 13245.3404 | 0 | 0 | 0
01/20 03:00:00 | 0 | -9686.657 | 20264.8345 | 0 | -3256.6615 | 21831.4448 | 0 | -1852.5454 | 13334.9358 | 0 | -3281.8068 | 22069.5 | 0 | -1864.2301 | 13328.6274 | 0 | 0 | 0
01/20 04:00:00 | 0 | -9409.0646 | 20508.814 | 0 | -2932.4882 | 22105.5362 | 0 | -1660.1952 | 13485.7519 | 0 | -2976.1839 | 22307.9329 | 0 | -1670.0918 | 13485.7828 | 0 | 0 | 0
01/20 05:00:00 | 0 | -9576.377 | 20763.8646 | 0 | -2449.1375 | 22859.0449 | 0 | -1358.4542 | 13973.2661 | 0 | -2521.0343 | 23058.672 | 0 | -1372.3191 | 13961.1642 | 0 | 0 | 0
01/20 06:00:00 | 0 | -10473.5488 | 21458.8351 | 0 | -2095.8406 | 23310.3184 | 0 | -1141.8811 | 14253.1423 | 0 | -2186.7982 | 23492.0471 | 0 | -1158.1899 | 14236.6095 | 0 | 0 | 0
01/20 07:00:00 | 1181.9907 | 1178.9027 | 19728.5689 | 8211.0519 | 8211.0519 | 23167.6265 | 4593.3497 | 4593.3497 | 13553.8971 | 7285.8324 | 7285.8324 | 22216.6433 | 4510.9741 | 4510.9741 | 13468.332 | 0 | 0 | 0
01/20 08:00:00 | 626.4662 | 626.4662 | 12565.8576 | 9194.0626 | 9194.0626 | 18624.4268 | 1461.7729 | 1461.7729 | 7379.7159 | 2716.3195 | 2716.3195 | 12611.8388 | 1747.6022 | 1747.6022 | 7717.7121 | 0 | 0 | 0
01/20 09:00:00 | 0 | -749.8599 | 17993.2313 | 1396.8303 | 1396.8303 | 16159.1468 | 123.3437 | 50.4553 | 8836.856 | 1276.8313 | 1276.8313 | 16335.2498 | 863.958 | 863.958 | 9890.0304 | 0 | 0 | 0
01/20 10:00:00 | 0 | -1057.7464 | 21211.8233 | 74.463 | -536.3705 | 16966.3323 | 0 | -440.5968 | 9881.6117 | 780.1742 | 780.1742 | 18565.1276 | 525.4221 | 525.4221 | 11146.9592 | 0 | 0 | 0
01/20 11:00:00 | 0 | -1233.4625 | 21504.6566 | 0 | -4638.1675 | 13012.2893 | 0 | -476.2325 | 9920.1139 | 458.9733 | 458.9733 | 18587.3408 | 291.6442 | 291.6442 | 11125.734 | 0 | 0 | 0
01/20 12:00:00 | 0 | -1505.9845 | 14637.7417 | 0 | -9052.298 | 3670.1668 | 0 | -337.5943 | 7143.8041 | 184.7655 | 184.7655 | 13311.5892 | 102.261 | 93.9484 | 7943.46 | 0 | 0 | 0
01/20 13:00:00 | 0 | -1241.9586 | 9559.4452 | 0 | -3450.0431 | 6174.1331 | 0 | -199.6601 | 5015.9998 | 238.8855 | 238.8855 | 9349.5319 | 73.7996 | 71.7874 | 5523.0495 | 0 | 0 | 0
01/20 14:00:00 | 0 | -2420.7711 | 7314.2086 | -728.3397 | -7420.9707 | 211.3874 | 0 | -469.5628 | 4167.043 | 0 | -201.7903 | 7803.6634 | 0 | -513.1907 | 4192.6814 | 0 | 0 | 0
01/20 15:00:00 | 0 | -3434.3759 | 4539.0477 | -1393.544 | -7520.7917 | -1393.544 | 0 | -745.9234 | 3067.9139 | 0 | -365.0939 | 6037.977 | 0 | -1813.7674 | 1964.4971 | 0 | 0 | 0
01/20 16:00:00 | 0 | -6325.2676 | 8040.6143 | -1068.8585 | -11748.7993 | -1068.8585 | 0 | -1230.5583 | 5459.317 | 0 | -462.0035 | 10725.2348 | 0 | -4709.9268 | 1983.5684 | 0 | 0 | 0
01/20 17:00:00 | 0 | -7950.1527 | 9569.1489 | -125.6645 | -11638.099 | 1314.5017 | 0 | -1100.682 | 6966.8929 | 0 | -457.3373 | 13119.6924 | 0 | -5957.3241 | 2147.4061 | 0 | 0 | 0
01/20 18:00:00 | 0 | -2401.0884 | 17735.3862 | 990.7884 | 363.7135 | 16897.2008 | 136.0472 | 114.7643 | 9595.1587 | 423.2223 | 423.2223 | 16509.8366 | 0 | -1758.3972 | 7472.0242 | 0 | 0 | 0
01/20 19:00:00 | 0 | -317.1962 | 36261.2825 | 187.2003 | 182.3987 | 30080.246 | 474.9136 | 474.9136 | 18891.3994 | 965.0095 | 965.0095 | 32246.8306 | 152.7938 | 152.7938 | 17233.8364 | 0 | 0 | 0
01/20 20:00:00 | 0 | -20872.3756 | 29503.4299 | 0 | -14407.1478 | 24603.3701 | 0 | -7431.014 | 16510.725 | 0 | -12095.4175 | 27943.8755 | 0 | -7841.3824 | 15481.9753 | 0 | 0 | 0
01/20 21:00:00 | 0 | -13051.7162 | 19145.1561 | 0 | -8305.6348 | 17118.1619 | 0 | -3984.5496 | 11625.9655 | 0 | -6447.9297 | 19898.622 | 0 | -4316.451 | 10905.2013 | 0 | 0 | 0
01/20 22:00:00 | 0 | -11334.1422 | 17610.2461 | 0 | -6845.1848 | 16558.5003 | 0 | -3309.5733 | 11332.617 | 0 | -5313.337 | 19263.5744 | 0 | -3596.3552 | 10768.6846 | 0 | 0 | 0
01/20 23:00:00 | 0 | -13132.3448 | 21916.7947 | 0 | -7560.1665 | 21271.6334 | 0 | -3574.557 | 14187.691 | 0 | -5725.1138 | 24062.8706 | 0 | -3923.5071 | 13703.3076 | 0 | 0 | 0
01/20 24:00:00 | 0 | -10967.1544 | 19981.6473 | 0 | -6147.7808 | 20557.4589 | 0 | -2863.7563 | 13623.4773 | 0 | -4605.6913 | 23037.788 | 0 | -3166.35 | 13222.0181 | 0 | 0 | 0
07/21 01:00:00 | 0 | -21036.2231 | 8988.322 | 0 | -14841.0134 | 7356.9827 | 0 | -8949.5264 | 4358.4103 | 0 | -14877.91 | 7313.862 | 0 | -9220.9714 | 3831.8372 | 0 | 0 | 0
07/21 02:00:00 | 0 | -22201.8246 | 8823.1713 | 0 | -14568.6492 | 7573.0224 | 0 | -8763.7883 | 4489.7258 | 0 | -14585.6537 | 7529.7352 | 0 | -8977.0787 | 4011.9393 | 0 | 0 | 0
07/21 03:00:00 | 0 | -23012.8215 | 8787.4485 | 0 | -14359.627 | 7789.6944 | 0 | -8630.8591 | 4626.3621 | 0 | -14364.0419 | 7743.007 | 0 | -8847.7525 | 4203.5973 | 0 | 0 | 0
07/21 04:00:00 | 0 | -22992.1999 | 8842.7579 | 0 | -13974.8048 | 7975.1819 | 0 | -8373.0505 | 4733.2872 | 0 | -13960.7068 | 7918.0104 | 0 | -8568.4434 | 4352.7449 | 0 | 0 | 0
07/21 05:00:00 | 0 | -22909.4171 | 8945.6118 | 0 | -13595.65 | 8130.4836 | 0 | -8161.0404 | 4825.7005 | 0 | -13547.4135 | 8031.4394 | 0 | -8292.6358 | 4479.797 | 0 | 0 | 0
07/21 06:00:00 | -2017.5629 | -16214.7497 | -2017.5629 | -301.3646 | -10839.6613 | -276.6326 | -551.2486 | -7019.3748 | -539.3453 | -542.2994 | -11040.1702 | -518.5578 | -340.67 | -6597.254 | -317.5052 | 0 | 0 | 0
07/21 07:00:00 | -1054.8564 | -19453.4285 | -1054.8564 | -166.4551 | -14228.3511 | -166.4551 | -1116.0476 | -10048.9283 | -1116.0476 | -647.5954 | -14664.9909 | -647.5954 | -356.9914 | -8619.8587 | -356.9914 | 0 | 0 | 0
07/21 08:00:00 | -1947.679 | -26966.2961 | -1947.679 | -1339.3836 | -20244.0514 | -1339.3836 | -2147.9518 | -14239.4326 | -2147.9518 | -1434.513 | -20514.8584 | -1434.513 | -847.0082 | -12173.8096 | -847.0082 | 0 | 0 | 0
07/21 09:00:00 | -2069.8179 | -26004.3828 | -2069.8179 | -1619.8743 | -19970.6168 | -1619.8743 | -2429.3293 | -14049.3196 | -2429.3293 | -1673.3921 | -20084.5771 | -1673.3921 | -994.5276 | -11960.6042 | -994.5276 | 0 | 0 | 0
07/21 10:00:00 | -2191.2316 | -24335.0968 | -2191.2316 | -1977.9807 | -19148.5797 | -1977.9807 | -2378.2147 | -13136.1118 | -2378.2147 | -1948.1415 | -19115.7261 | -1948.1415 | -1173.946 | -11418.207 | -1173.946 | 0 | 0 | 0
07/21 11:00:00 | -2302.7808 | -18779.7784 | -2302.7808 | -2337.4386 | -15344.8134 | -2337.4386 | -2085.9185 | -10173.5237 | -2085.9185 | -2177.6556 | -15118.8028 | -2177.6556 | -1327.9811 | -9076.9829 | -1327.9811 | 0 | 0 | 0
07/21 12:00:00 | -2050.5315 | -23031.5033 | -2050.5315 | -2716.0741 | -19354.808 | -2716.0741 | -1681.4433 | -11676.0474 | -1681.4433 | -2059.3834 | -18443.5441 | -2059.3834 | -1269.2386 | -11067.5316 | -1269.2386 | 0 | 0 | 0
07/21 13:00:00 | -2354.7702 | -11200.0099 | -2354.7702 | -2620.997 | -9942.6549 | -2620.997 | -1760.4398 | -6266.0206 | -1760.4398 | -2411.7277 | -9648.7989 | -2411.7277 | -1478.4991 | -5851.023 | -1478.4991 | 0 | 0 | 0
07/21 14:00:00 | -2376.5372 | -14434.5189 | -2376.5372 | -2570.1763 | -12311.2621 | -2570.1763 | -1685.8227 | -7602.0593 | -1685.8227 | -2398.5201 | -12066.5807 | -2398.5201 | -1484.6984 | -7304.3263 | -1484.6984 | 0 | 0 | 0
07/21 15:00:00 | -2350.0636 | -18226.661 | -2350.0636 | -2424.2277 | -15003.5587 | -2424.2277 | -1562.2125 | -9151.3278 | -1562.2125 | -2282.8501 | -14803.6536 | -2282.8501 | -1422.3813 | -8938.0844 | -1422.3813 | 0 | 0 | 0
07/21 16:00:00 | -2309.7516 | -10493.3648 | -2309.7516 | -2350.5547 | -9107.0125 | -2350.5547 | -1507.2838 | -5628.9533 | -1507.2838 | -2231.1367 | -8927.8459 | -2231.1367 | -1406.1824 | -5474.5949 | -1406.1824 | 0 | 0 | 0
07/21 17:00:00 | -1377.6141 | -15227.8392 | -1377.6141 | -1611.4723 | -12801.5212 | -1611.4723 | -967.967 | -7607.7257 | -967.967 | -1376.5637 | -12324.8851 | -1376.5637 | -886.3787 | -7475.2321 | -886.3787 | 0 | 0 | 0
07/21 18:00:00 | 0 | -13596.6739 | 15420.2999 | 0 | -11356.6534 | 11306.7586 | 0 | -7153.9497 | 6558.779 | 0 | -11123.4956 | 11408.8386 | 0 | -7267.0956 | 6607.1752 | 0 | 0 | 0
07/21 19:00:00 | 0 | -33942.7419 | 14169.0367 | 0 | -26578.0308 | 10174.0445 | 0 | -16197.0082 | 5848.2635 | 0 | -26470.8113 | 10244.593 | 0 | -16406.2077 | 5740.4398 | 0 | 0 | 0
07/21 20:00:00 | 0 | -33656.0572 | 14103.8994 | 0 | -25821.0458 | 10330.7049 | 0 | -15638.913 | 5948.1012 | 0 | -25850.029 | 10399.2135 | 0 | -15680.1188 | 5858.6378 | 0 | 0 | 0
07/21 21:00:00 | 0 | -33652.3898 | 14227.7062 | 0 | -25468.7114 | 10690.2938 | 0 | -15412.6309 | 6168.1738 | 0 | -25442.3944 | 10762.0047 | 0 | -15296.9931 | 6119.4668 | 0 | 0 | 0
07/21 22:00:00 | 0 | -28868.767 | 12572.4241 | 0 | -21332.7259 | 9587.5893 | 0 | -12896.7169 | 5548.9785 | 0 | -21331.7025 | 9654.0011 | 0 | -12852.5546 | 5553.3637 | 0 | 0 | 0
07/21 23:00:00 | 0 | -19368.173 | 8974.5443 | 0 | -13740.1351 | 6764.4461 | 0 | -8247.5473 | 3907.9456 | 0 | -13721.2606 | 6807.6462 | 0 | -8288.3613 | 3954.3615 | 0 | 0 | 0
07/21 24:00:00 | 0 | -20492.2425 | 9106.2959 | 0 | -14829.6542 | 7196.0502 | 0 | -8931.852 | 4189.1303 | 0 | -14796.3628 | 7236.3835 | 0 | -8961.104 | 4242.0555 | 0 | 0 | 0

## 0
Date/Time | CORE_ZN:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly)
01/20 01:00:00 | 0 | -11216.7589 | 18497.3183 | 0 | -6495.962 | 17259.407 | 0 | -3712.5822 | 10830.1972 | 0 | -6011.6375 | 18361.4775 | 0 | -3754.873 | 10772.5359 | 0 | 0 | 0
01/20 02:00:00 | 0 | -11263.9026 | 18962.4518 | 0 | -6250.7215 | 17378.7431 | 0 | -3562.6985 | 10928.5571 | 0 | -5782.8044 | 18522.4064 | 0 | -3601.1279 | 10876.6229 | 0 | 0 | 0
01/20 03:00:00 | 0 | -11069.9067 | 19176.775 | 0 | -6069.176 | 17211.4685 | 0 | -3454.3921 | 10820.6722 | 0 | -5624.3928 | 18411.6868 | 0 | -3489.8417 | 10774.9847 | 0 | 0 | 0
01/20 04:00:00 | 0 | -10875.0491 | 19380.4914 | 0 | -5868.2744 | 17251.7686 | 0 | -3323.5394 | 10819.7998 | 0 | -5405.9446 | 18403.4356 | 0 | -3360.6124 | 10795.2294 | 0 | 0 | 0
01/20 05:00:00 | 0 | -11154.377 | 19541.1574 | 0 | -5574.8287 | 17976.4461 | 0 | -3147.2306 | 11319.508 | 0 | -5127.1235 | 19196.7486 | 0 | -3175.8376 | 11278.5529 | 0 | 0 | 0
01/20 06:00:00 | 0 | -12104.4603 | 19981.101 | 0 | -5377.0217 | 18426.986 | 0 | -3017.6603 | 11590.7772 | 0 | -4912.5974 | 19596.6262 | 0 | -3045.3819 | 11558.3 | 0 | 0 | 0
01/20 07:00:00 | 78.5917 | -615.2339 | 14482.0806 | 3296.1595 | 3296.1595 | 15287.2659 | 1951.2254 | 1951.2254 | 9171.6757 | 3407.6982 | 3407.6982 | 15482.8674 | 1908.4234 | 1908.4234 | 9123.8923 | 0 | 0 | 0
01/20 08:00:00 | 137.9523 | 81.6814 | 12378.3529 | 8873.3654 | 8873.3654 | 18480.8704 | 626.9731 | 626.9731 | 6575.6872 | 1418.3858 | 1418.3858 | 11453.4182 | 829.3884 | 829.3884 | 6840.5827 | 0 | 0 | 0
01/20 09:00:00 | 0 | -1077.054 | 18021.0848 | 852.3999 | 544.4791 | 15519.3895 | 0 | -586.6355 | 8278.7201 | 235.2625 | 235.2625 | 15435.4129 | 127.6877 | 127.6877 | 9194.3612 | 0 | 0 | 0
01/20 10:00:00 | 0 | -1309.7078 | 20753.1354 | 0 | -2683.9462 | 14386.8528 | 0 | -2262.8776 | 7934.6452 | 0 | -123.2251 | 17348.2605 | 0 | -109.0258 | 10288.0132 | 0 | 0 | 0
01/20 11:00:00 | 0 | -1494.7128 | 21001.6968 | 0 | -10990.6919 | 6560.6935 | 0 | -2848.2313 | 7420.115 | 0 | -328.2268 | 17465.6505 | 0 | -269.5132 | 10320.7423 | 0 | 0 | 0
01/20 12:00:00 | 0 | -2605.7868 | 13428.2085 | -1032.4191 | -13402.6708 | -856.3179 | 0 | -2306.002 | 5099.1094 | 0 | -513.1961 | 12205.9489 | 0 | -481.6163 | 7096.8019 | 0 | 0 | 0
01/20 13:00:00 | 0 | -2200.032 | 8502.4125 | 0 | -6593.0278 | 2973.6912 | 0 | -1643.9482 | 3433.6964 | 0 | -399.2456 | 8242.6408 | 0 | -456.1655 | 4698.5014 | 0 | 0 | 0
01/20 14:00:00 | 0 | -3132.2397 | 4688.5503 | -2095.6357 | -8676.1535 | -1996.4529 | 0 | -1778.3049 | 1989.7755 | 0 | -784.9435 | 5241.4841 | 0 | -1114.1052 | 2671.6212 | 0 | 0 | 0
01/20 15:00:00 | 0 | -4285.7313 | 3663.2871 | -2250.0747 | -8992.4079 | -2250.0747 | 0 | -2212.6103 | 1617.0814 | 0 | -1155.4571 | 4826.0449 | 0 | -2659.2898 | 1162.9811 | 0 | 0 | 0
01/20 16:00:00 | 0 | -7794.6884 | 6534.4339 | -1766.3997 | -13062.922 | -1766.3997 | 0 | -3841.4084 | 2855.2563 | 0 | -2071.0954 | 8816.5388 | -59.3013 | -6453.7505 | 270.027 | 0 | 0 | 0
01/20 17:00:00 | 0 | -9714.5745 | 7763.6981 | -1030.8032 | -14294.4485 | -1030.8032 | 0 | -4409.121 | 3682.5218 | 0 | -2501.3871 | 10845.2191 | -255.8563 | -8280.0394 | -202.5658 | 0 | 0 | 0
01/20 18:00:00 | 0 | -3459.5233 | 16243.8833 | 205.6966 | -1512.0547 | 14755.561 | 0 | -1495.5977 | 7410.8625 | 1.3224 | -328.3682 | 14830.5069 | 0 | -4677.2656 | 4220.0713 | 0 | 0 | 0
01/20 19:00:00 | 0 | -507.7616 | 36712.24 | 0 | -708.1507 | 30757.2937 | 46.1117 | -14.3117 | 17119.4335 | 256.2346 | 256.2346 | 30031.7711 | 0 | -503.6111 | 17229.3002 | 0 | 0 | 0
01/20 20:00:00 | 0 | -14877.5525 | 19615.1277 | 0 | -12055.1365 | 15106.4915 | 0 | -6014.1717 | 9878.9572 | 0 | -9456.0111 | 17569.1846 | 0 | -6355.2204 | 9335.4358 | 0 | 0 | 0
01/20 21:00:00 | 0 | -12339.3767 | 16427.2653 | 0 | -9456.4035 | 12530.8654 | 0 | -4673.7168 | 8708.1283 | 0 | -7246.4095 | 15586.3721 | 0 | -4982.2569 | 8190.5501 | 0 | 0 | 0
01/20 22:00:00 | 0 | -12121.4394 | 16712.1015 | 0 | -8999.6346 | 13121.926 | 0 | -4580.4514 | 9319.9395 | 0 | -7031.7955 | 16488.1906 | 0 | -4693.9112 | 8578.5646 | 0 | 0 | 0
01/20 23:00:00 | 0 | -14293.6885 | 20773.6237 | 0 | -10399.9775 | 16573.9971 | 0 | -5294.3657 | 11613.3145 | 0 | -8102.8906 | 20500.1079 | 0 | -5529.8624 | 11042.3722 | 0 | 0 | 0
01/20 24:00:00 | 0 | -12222.9292 | 19056.1028 | 0 | -8919.1147 | 15925.9513 | 0 | -4588.4957 | 11138.2724 | 0 | -6983.228 | 19559.5226 | 0 | -4816.6559 | 10735.8475 | 0 | 0 | 0
07/21 01:00:00 | 0 | -21080.9443 | 8914.6023 | 0 | -15600.8747 | 7062.8414 | 0 | -9374.9473 | 4211.8886 | 0 | -15492.7852 | 7111.6911 | 0 | -9742.6791 | 3712.6203 | 0 | 0 | 0
07/21 02:00:00 | 0 | -22286.3318 | 8715.1852 | 0 | -15420.5211 | 7219.6872 | 0 | -9248.0504 | 4313.7142 | 0 | -15287.5561 | 7280.3813 | 0 | -9566.4773 | 3868.3661 | 0 | 0 | 0
07/21 03:00:00 | 0 | -23140.0355 | 8643.8026 | 0 | -15334.2836 | 7369.6689 | 0 | -9188.2936 | 4415.6852 | 0 | -15175.8079 | 7441.9955 | 0 | -9487.7816 | 4016.6902 | 0 | 0 | 0
07/21 04:00:00 | 0 | -23156.1812 | 8661.5128 | 0 | -15158.0697 | 7517.1299 | 0 | -9063.6623 | 4512.4115 | 0 | -14962.6393 | 7595.6095 | 0 | -9338.4001 | 4151.8986 | 0 | 0 | 0
07/21 05:00:00 | 0 | -23112.7577 | 8725.1521 | 0 | -14951.2019 | 7664.6088 | 0 | -8935.5273 | 4598.0802 | 0 | -14724.9409 | 7731.5124 | 0 | -9168.0107 | 4280.0309 | 0 | 0 | 0
07/21 06:00:00 | -2248.2376 | -17196.364 | -2248.2376 | -636.2473 | -11727.8604 | -610.182 | -727.9479 | -7619.958 | -681.2876 | -743.0393 | -11961.4691 | -728.607 | -533.394 | -7293.5151 | -463.8986 | 0 | 0 | 0
07/21 07:00:00 | -1106.361 | -19632.1265 | -1106.361 | -340.8003 | -14479.0854 | -340.8003 | -1191.3188 | -10168.8976 | -1191.3188 | -711.7771 | -14884.2591 | -711.7771 | -464.3215 | -8973.1269 | -464.3215 | 0 | 0 | 0
07/21 08:00:00 | -1990.248 | -27079.6533 | -1990.248 | -1486.0072 | -20668.4739 | -1486.0072 | -2155.2108 | -14250.9727 | -2155.2108 | -1523.186 | -20739.7944 | -1523.186 | -932.2693 | -12408.9842 | -932.2693 | 0 | 0 | 0
07/21 09:00:00 | -2102.2769 | -26077.5613 | -2102.2769 | -1699.155 | -20158.0426 | -1699.155 | -2348.6781 | -13954.0427 | -2348.6781 | -1708.5649 | -20167.6623 | -1708.5649 | -1039.9738 | -12059.2882 | -1039.9738 | 0 | 0 | 0
07/21 10:00:00 | -2209.6458 | -24375.0786 | -2209.6458 | -1947.5315 | -19132.0794 | -1947.5315 | -2221.1016 | -12945.6989 | -2221.1016 | -1905.9204 | -19067.2704 | -1905.9204 | -1166.3771 | -11420.6917 | -1166.3771 | 0 | 0 | 0
07/21 11:00:00 | -2306.6582 | -18790.2416 | -2306.6582 | -2191.1191 | -15153.756 | -2191.1191 | -1916.515 | -9957.8668 | -1916.515 | -2079.8434 | -14985.3378 | -2079.8434 | -1273.4214 | -9007.0161 | -1273.4214 | 0 | 0 | 0
07/21 12:00:00 | -2045.2074 | -23024.0501 | -2045.2074 | -2555.4592 | -19134.2939 | -2555.4592 | -1567.2459 | -11524.027 | -1567.2459 | -1934.9228 | -18269.3567 | -1934.9228 | -1193.8661 | -10964.8832 | -1193.8661 | 0 | 0 | 0
07/21 13:00:00 | -2342.9873 | -11180.9664 | -2342.9873 | -2409.032 | -9656.8839 | -2409.032 | -1635.5716 | -6100.9005 | -1635.5716 | -2247.9751 | -9423.8278 | -2247.9751 | -1374.1862 | -5709.7352 | -1374.1862 | 0 | 0 | 0
07/21 14:00:00 | -2359.3316 | -14405.5399 | -2359.3316 | -2376.7862 | -12041.0769 | -2376.7862 | -1566.9703 | -7440.4655 | -1566.9703 | -2238.5779 | -11839.5869 | -2238.5779 | -1378.5442 | -7155.8029 | -1378.5442 | 0 | 0 | 0
07/21 15:00:00 | -2332.888 | -18196.8509 | -2332.888 | -2261.9583 | -14769.9798 | -2261.9583 | -1462.6922 | -9011.0932 | -1462.6922 | -2147.2282 | -14605.0281 | -2147.2282 | -1330.6013 | -8805.8835 | -1330.6013 | 0 | 0 | 0
07/21 16:00:00 | -2292.3868 | -10462.6145 | -2292.3868 | -2207.2103 | -8895.5232 | -2207.2103 | -1416.9363 | -5499.3604 | -1416.9363 | -2114.1149 | -8751.5798 | -2114.1149 | -1321.0494 | -5349.6219 | -1321.0494 | 0 | 0 | 0
07/21 17:00:00 | -1363.6594 | -15200.997 | -1363.6594 | -1535.3525 | -12676.1195 | -1535.3525 | -919.8952 | -7530.8811 | -919.8952 | -1313.3367 | -12218.3376 | -1313.3367 | -840.6367 | -7400.4278 | -840.6367 | 0 | 0 | 0
07/21 18:00:00 | 0 | -13561.4362 | 15456.5827 | 0 | -11126.4078 | 11439.1396 | 0 | -7058.9324 | 6628.4255 | 0 | -10953.5675 | 11517.6969 | 0 | -7121.2355 | 6701.7532 | 0 | 0 | 0
07/21 19:00:00 | 0 | -33906.1066 | 14225.0344 | 0 | -26438.5081 | 10284.2843 | 0 | -16133.6877 | 5915.2338 | 0 | -26312.6725 | 10387.1343 | 0 | -16338.9509 | 5851.0171 | 0 | 0 | 0
07/21 20:00:00 | 0 | -33624.6708 | 14153.8607 | 0 | -25909.7591 | 10375.042 | 0 | -15681.4842 | 5982.6361 | 0 | -25851.0519 | 10473.6101 | 0 | -15632.0749 | 5879.4161 | 0 | 0 | 0
07/21 21:00:00 | 0 | -33625.3691 | 14253.9836 | 0 | -25737.9968 | 10621.7819 | 0 | -15557.5564 | 6145.3336 | 0 | -25625.9457 | 10738.1252 | 0 | -15497.2547 | 6121.3123 | 0 | 0 | 0
07/21 22:00:00 | 0 | -28857.391 | 12564.9244 | 0 | -21848.4538 | 9469.8219 | 0 | -13191.0467 | 5500.5967 | 0 | -21719.1183 | 9580.4631 | 0 | -13163.0982 | 5514.9299 | 0 | 0 | 0
07/21 23:00:00 | 0 | -19366.7378 | 8941.5562 | 0 | -14386.8074 | 6739.5091 | 0 | -8672.107 | 3928.6798 | 0 | -14255.8324 | 6809.5125 | 0 | -8669.8882 | 3957.2716 | 0 | 0 | 0
07/21 24:00:00 | 0 | -20522.5809 | 9052.187 | 0 | -15419.4969 | 7021.3292 | 0 | -9314.7565 | 4125.6742 | 0 | -15285.7986 | 7112.7842 | 0 | -9301.7215 | 4158.5112 | 0 | 0 | 0

## 45
Date/Time | CORE_ZN:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly)
01/20 01:00:00 | 0 | -10470.2306 | 19089.0652 | 0 | -4984.0858 | 19675.9742 | 0 | -2837.7177 | 12155.3068 | 0 | -4773.0812 | 20284.3239 | 0 | -2862.6427 | 12122.7565 | 0 | 0 | 0
01/20 02:00:00 | 0 | -10478.3599 | 19632.0606 | 0 | -4688.8608 | 19973.2302 | 0 | -2654.5571 | 12338.3905 | 0 | -4487.0121 | 20555.3282 | 0 | -2677.2642 | 12310.2618 | 0 | 0 | 0
01/20 03:00:00 | 0 | -10237.3544 | 19874.5016 | 0 | -4474.9556 | 19989.8165 | 0 | -2534.3464 | 12334.2363 | 0 | -4288.4344 | 20576.6431 | 0 | -2551.3081 | 12317.6571 | 0 | 0 | 0
01/20 04:00:00 | 0 | -9997.3679 | 20105.1231 | 0 | -4196.0024 | 20113.2438 | 0 | -2370.0411 | 12411.5922 | 0 | -4024.6131 | 20712.8196 | 0 | -2385.1111 | 12399.4028 | 0 | 0 | 0
01/20 05:00:00 | 0 | -10210.2913 | 20320.5565 | 0 | -3803.7512 | 20918.4292 | 0 | -2121.2453 | 12907.5244 | 0 | -3637.4306 | 21477.7503 | 0 | -2136.6104 | 12891.8841 | 0 | 0 | 0
01/20 06:00:00 | 0 | -11123.7754 | 20891.713 | 0 | -3507.4052 | 21351.4048 | 0 | -1937.9515 | 13173.8877 | 0 | -3349.706 | 21893.1723 | 0 | -1953.3462 | 13157.6291 | 0 | 0 | 0
01/20 07:00:00 | 725.8847 | 648.6724 | 16497.8236 | 5744.9742 | 5744.9742 | 18554.034 | 3303.8265 | 3303.8265 | 10995.7068 | 5360.9372 | 5360.9372 | 18177.4903 | 3267.4985 | 3267.4985 | 10956.7916 | 0 | 0 | 0
01/20 08:00:00 | 445.6047 | 445.6047 | 12281.9468 | 8633.7817 | 8633.7817 | 17820.7405 | 1115.2496 | 1115.2496 | 6936.4171 | 2167.2172 | 2167.2172 | 11935.9935 | 1363.6226 | 1363.6226 | 7246.2675 | 0 | 0 | 0
01/20 09:00:00 | 0 | -864.9114 | 18434.7477 | 1152.0484 | 1120.9682 | 16209.9366 | 28.4029 | -168.4603 | 8830.6025 | 840.8341 | 840.8341 | 16266.3402 | 559.106 | 559.106 | 9793.5282 | 0 | 0 | 0
01/20 10:00:00 | 0 | -1143.3592 | 21055.8319 | 0 | -1043.1906 | 16337.8502 | 0 | -564.8707 | 9696.3243 | 406.7099 | 406.7099 | 18080.2803 | 264.5666 | 264.5666 | 10807.3374 | 0 | 0 | 0
01/20 11:00:00 | 0 | -1310.4693 | 21337.1487 | 0 | -6688.9686 | 10923.5615 | 0 | -515.532 | 9814.0239 | 141.5281 | 141.5281 | 18152.9732 | 66.7693 | 65.6031 | 10823.252 | 0 | 0 | 0
01/20 12:00:00 | 0 | -1758.0245 | 14323.4492 | -96.0056 | -10855.5208 | 1891.8469 | 0 | -469.5059 | 6934.1296 | 1.2477 | -92.3663 | 12911.2414 | 0 | -121.2993 | 7645.5061 | 0 | 0 | 0
01/20 13:00:00 | 0 | -1448.609 | 9257.1981 | 0 | -4701.3428 | 4905.4978 | 0 | -359.3049 | 4738.5911 | 95.3206 | 43.175 | 9023.3208 | 0 | -100.2448 | 5263.1007 | 0 | 0 | 0
01/20 14:00:00 | 0 | -2649.0548 | 6445.0472 | -1181.0888 | -7947.0395 | -697.7795 | 0 | -793.1521 | 3538.7409 | 0 | -428.9615 | 6955.333 | 0 | -560.0655 | 3826.8396 | 0 | 0 | 0
01/20 15:00:00 | 0 | -3687.3736 | 4279.9309 | -1668.0499 | -8041.3901 | -1668.0499 | 0 | -1178.3813 | 2649.317 | 0 | -575.6682 | 5676.6772 | 0 | -1896.6064 | 1894.6345 | 0 | 0 | 0
01/20 16:00:00 | 0 | -6739.1071 | 7613.1341 | -1265.1364 | -12181.3264 | -1265.1364 | 0 | -2036.5534 | 4663.7511 | 0 | -673.9473 | 10330.9096 | 0 | -5023.3749 | 1687.5782 | 0 | 0 | 0
01/20 17:00:00 | 0 | -8407.5791 | 9090.9341 | -308.8027 | -12649.4848 | 372.6827 | 0 | -2171.0893 | 5917.2481 | 0 | -681.9638 | 12746.0951 | 0 | -6492.2709 | 1590.8114 | 0 | 0 | 0
01/20 18:00:00 | 0 | -2701.9051 | 17490.3383 | 663.245 | -261.2401 | 16363.0933 | 0 | -233.8166 | 9084.5412 | 161.6518 | 161.6518 | 16086.4168 | 0 | -2566.2308 | 6668.4696 | 0 | 0 | 0
01/20 19:00:00 | 0 | -371.9885 | 36417.6028 | 5.4356 | -161.8187 | 30518.4302 | 261.1607 | 261.1607 | 18245.202 | 681.7111 | 681.7111 | 31511.3812 | 17.2649 | -11.5324 | 16955.7192 | 0 | 0 | 0
01/20 20:00:00 | 0 | -14572.0075 | 20083.9975 | 0 | -10524.6447 | 15828.5245 | 0 | -5433.9386 | 11006.8862 | 0 | -8852.1012 | 19079.7284 | 0 | -5665.2212 | 10132.788 | 0 | 0 | 0
01/20 21:00:00 | 0 | -11958.6486 | 16995.5246 | 0 | -8168.3655 | 14068.3063 | 0 | -4094.9887 | 10065.4455 | 0 | -6444.1688 | 17245.7417 | 0 | -4387.5385 | 9424.43 | 0 | 0 | 0
01/20 22:00:00 | 0 | -11630.9685 | 17311.4774 | 0 | -7851.3647 | 15347.6183 | 0 | -3842.9125 | 10643.1896 | 0 | -6037.3421 | 18219.5417 | 0 | -4137.1675 | 10136.4926 | 0 | 0 | 0
01/20 23:00:00 | 0 | -13578.6422 | 21530.6816 | 0 | -8867.4845 | 19575.632 | 0 | -4279.5237 | 13241.118 | 0 | -6717.0129 | 22676.7685 | 0 | -4615.8158 | 12759.1932 | 0 | 0 | 0
01/20 24:00:00 | 0 | -11476.7949 | 19711.906 | 0 | -7466.352 | 18975.234 | 0 | -3573.2124 | 12691.1137 | 0 | -5597.8843 | 21671.314 | 0 | -3861.1008 | 12301.731 | 0 | 0 | 0
07/21 01:00:00 | 0 | -21016.2545 | 9001.3405 | 0 | -15195.8281 | 7290.2331 | 0 | -9148.0934 | 4330.5545 | 0 | -15146.3574 | 7296.0445 | 0 | -9476.7723 | 3836.5184 | 0 | 0 | 0
07/21 02:00:00 | 0 | -22197.0915 | 8820.1279 | 0 | -14967.7437 | 7478.1193 | 0 | -8992.3852 | 4448.6884 | 0 | -14898.8755 | 7488.6086 | 0 | -9271.804 | 4006.8648 | 0 | 0 | 0
07/21 03:00:00 | 0 | -23028.7714 | 8767.1524 | 0 | -14817.8236 | 7664.8198 | 0 | -8894.3011 | 4570.5403 | 0 | -14730.8574 | 7677.7162 | 0 | -9162.5482 | 4176.5774 | 0 | 0 | 0
07/21 04:00:00 | 0 | -23026.1862 | 8804.0645 | 0 | -14542.8115 | 7842.0987 | 0 | -8708.9692 | 4681.1559 | 0 | -14429.916 | 7850.9132 | 0 | -8955.5303 | 4326.0474 | 0 | 0 | 0
07/21 05:00:00 | 0 | -22962.3061 | 8888.1436 | 0 | -14269.4999 | 8009.9444 | 0 | -8524.0316 | 4766.9463 | 0 | -14134.8808 | 7998.5846 | 0 | -8746.1224 | 4463.116 | 0 | 0 | 0
07/21 06:00:00 | -2059.7463 | -16287.357 | -2059.7463 | -435.5 | -10868.1242 | -379.2085 | -599.1692 | -7120.3421 | -579.7573 | -576.0908 | -11026.1605 | -531.2173 | -412.0132 | -6749.1811 | -377.4467 | 0 | 0 | 0
07/21 07:00:00 | -1062.9269 | -19487.7279 | -1062.9269 | -226.2306 | -14249.9599 | -226.2306 | -1106.636 | -10037.6864 | -1106.636 | -613.9419 | -14514.0126 | -613.9419 | -388.6571 | -8711.2729 | -388.6571 | 0 | 0 | 0
07/21 08:00:00 | -1951.8547 | -26979.4827 | -1951.8547 | -1374.8516 | -20358.5381 | -1374.8516 | -2096.701 | -14170.9873 | -2096.701 | -1431.1477 | -20487.5265 | -1431.1477 | -865.5718 | -12243.0194 | -865.5718 | 0 | 0 | 0
07/21 09:00:00 | -2069.9075 | -26006.335 | -2069.9075 | -1615.5352 | -19979.2747 | -1615.5352 | -2318.5027 | -13912.0041 | -2318.5027 | -1641.452 | -20029.1172 | -1641.452 | -990.9323 | -11960.0922 | -990.9323 | 0 | 0 | 0
07/21 10:00:00 | -2183.9141 | -24322.6055 | -2183.9141 | -1902.2934 | -19040.8554 | -1902.2934 | -2214.1677 | -12932.7771 | -2214.1677 | -1870.9361 | -18996.5508 | -1870.9361 | -1139.1231 | -11367.7052 | -1139.1231 | 0 | 0 | 0
07/21 11:00:00 | -2287.2735 | -18752.7009 | -2287.2735 | -2180.0356 | -15123.5856 | -2180.0356 | -1922.6282 | -9962.5236 | -1922.6282 | -2071.8405 | -14962.0802 | -2071.8405 | -1264.6647 | -8986.5581 | -1264.6647 | 0 | 0 | 0
07/21 12:00:00 | -2031.2402 | -22997.1945 | -2031.2402 | -2565.4285 | -19138.7639 | -2565.4285 | -1577.5468 | -11535.2326 | -1577.5468 | -1943.354 | -18273.4598 | -1943.354 | -1197.2729 | -10964.3209 | -1197.2729 | 0 | 0 | 0
07/21 13:00:00 | -2333.1771 | -11162.0959 | -2333.1771 | -2440.2778 | -9692.0938 | -2440.2778 | -1655.9903 | -6125.4928 | -1655.9903 | -2272.1493 | -9451.2708 | -2272.1493 | -1388.9779 | -5726.021 | -1388.9779 | 0 | 0 | 0
07/21 14:00:00 | -2353.0578 | -14393.3462 | -2353.0578 | -2414.2733 | -12088.7394 | -2414.2733 | -1590.518 | -7470.7639 | -1590.518 | -2268.3395 | -11877.8766 | -2268.3395 | -1398.478 | -7181.0707 | -1398.478 | 0 | 0 | 0
07/21 15:00:00 | -2328.9443 | -18188.9383 | -2328.9443 | -2302.226 | -14824.67 | -2302.226 | -1486.7353 | -9043.6082 | -1486.7353 | -2179.4013 | -14649.2114 | -2179.4013 | -1352.9026 | -8836.0698 | -1352.9026 | 0 | 0 | 0
07/21 16:00:00 | -2290.1714 | -10457.9339 | -2290.1714 | -2237.8678 | -8939.0666 | -2237.8678 | -1435.98 | -5526.1434 | -1435.98 | -2140.2967 | -8789.1298 | -2140.2967 | -1339.1545 | -5375.0318 | -1339.1545 | 0 | 0 | 0
07/21 17:00:00 | -1361.1944 | -15195.7561 | -1361.1944 | -1542.1801 | -12687.0959 | -1542.1801 | -925.756 | -7540.1732 | -925.756 | -1320.3985 | -12229.7855 | -1320.3985 | -845.1899 | -7407.627 | -845.1899 | 0 | 0 | 0
07/21 18:00:00 | 0 | -13556.0774 | 15464.8218 | 0 | -11132.0329 | 11440.0936 | 0 | -7062.3795 | 6636.9174 | 0 | -10968.3477 | 11520.13 | 0 | -7132.6599 | 6699.8681 | 0 | 0 | 0
07/21 19:00:00 | 0 | -33892.7773 | 14242.5044 | 0 | -26415.3847 | 10333.3223 | 0 | -16112.6022 | 5939.2081 | 0 | -26331.4844 | 10426.8548 | 0 | -16297.6832 | 5860.9688 | 0 | 0 | 0
07/21 20:00:00 | 0 | -33605.9697 | 14180.182 | 0 | -25796.9677 | 10447.0705 | 0 | -15620.0614 | 6019.2619 | 0 | -25778.763 | 10527.2669 | 0 | -15598.6229 | 5926.1112 | 0 | 0 | 0
07/21 21:00:00 | 0 | -33600.238 | 14291.2227 | 0 | -25545.8153 | 10746.3845 | 0 | -15452.9414 | 6209.0501 | 0 | -25479.0838 | 10832.5997 | 0 | -15362.6312 | 6176.3667 | 0 | 0 | 0
07/21 22:00:00 | 0 | -28829.7169 | 12612.1162 | 0 | -21556.0198 | 9609.8082 | 0 | -13025.5144 | 5572.2103 | 0 | -21491.3675 | 9688.3559 | 0 | -12992.8454 | 5584.5519 | 0 | 0 | 0
07/21 23:00:00 | 0 | -19346.8544 | 8988.615 | 0 | -14078.324 | 6824.1466 | 0 | -8478.4981 | 3965.2167 | 0 | -13993.6106 | 6869.7 | 0 | -8488.3273 | 3998.1966 | 0 | 0 | 0
07/21 24:00:00 | 0 | -20482.3054 | 9109.9765 | 0 | -15111.6588 | 7174.0263 | 0 | -9130.2988 | 4203.8675 | 0 | -15024.3825 | 7231.2149 | 0 | -9124.9932 | 4238.9943 | 0 | 0 | 0

## 90
Date/Time | CORE_ZN:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly)
01/20 01:00:00 | 0 | -10446.9268 | 19105.0652 | 0 | -4932.7032 | 19749.6872 | 0 | -2809.1333 | 12195.57 | 0 | -4731.506 | 20344.9063 | 0 | -2833.5002 | 12163.688 | 0 | 0 | 0
01/20 02:00:00 | 0 | -10454.022 | 19651.191 | 0 | -4635.5105 | 20053.298 | 0 | -2624.6903 | 12381.8212 | 0 | -4443.473 | 20619.7335 | 0 | -2646.8849 | 12354.3163 | 0 | 0 | 0
01/20 03:00:00 | 0 | -10211.3715 | 19894.4639 | 0 | -4420.4128 | 20077.2687 | 0 | -2503.8447 | 12380.8099 | 0 | -4243.3783 | 20645.3859 | 0 | -2520.1014 | 12365.3042 | 0 | 0 | 0
01/20 04:00:00 | 0 | -9969.7965 | 20125.8304 | 0 | -4140.1995 | 20210.0627 | 0 | -2338.4567 | 12462.0246 | 0 | -3977.828 | 20786.5288 | 0 | -2352.8829 | 12450.9794 | 0 | 0 | 0
01/20 05:00:00 | 0 | -10180.6167 | 20343.0644 | 0 | -3742.9011 | 21009.692 | 0 | -2087.0798 | 12956.9 | 0 | -3587.3606 | 21550.4684 | 0 | -2101.9317 | 12941.9039 | 0 | 0 | 0
01/20 06:00:00 | 0 | -11093.1489 | 20919.1823 | 0 | -3443.7522 | 21443.0576 | 0 | -1902.1735 | 13223.7477 | 0 | -3297.3893 | 21966.6522 | 0 | -1917.1828 | 13207.9232 | 0 | 0 | 0
01/20 07:00:00 | 744.9286 | 663.2811 | 16517.8524 | 5834.0086 | 5834.0086 | 18652.1501 | 3349.9827 | 3349.9827 | 11046.8671 | 5427.538 | 5427.538 | 18251.2733 | 3313.9609 | 3313.9609 | 11008.3002 | 0 | 0 | 0
01/20 08:00:00 | 454.2937 | 454.2937 | 12295.8439 | 8666.6883 | 8666.6883 | 17866.3131 | 1131.0337 | 1131.0337 | 6958.0007 | 2191.9375 | 2191.9375 | 11966.9352 | 1381.1126 | 1381.1126 | 7268.1412 | 0 | 0 | 0
01/20 09:00:00 | 0 | -858.6892 | 18445.9068 | 1167.7125 | 1141.4645 | 16242.3339 | 32.4554 | -156.6512 | 8846.3832 | 860.998 | 860.998 | 16292.9167 | 573.4591 | 573.4591 | 9812.29 | 0 | 0 | 0
01/20 10:00:00 | 0 | -1138.4992 | 21064.5871 | 0 | -1003.3698 | 16384.2306 | 0 | -554.9306 | 9708.7129 | 424.2896 | 424.2896 | 18103.9177 | 276.9527 | 276.9527 | 10824.7921 | 0 | 0 | 0
01/20 11:00:00 | 0 | -1306.0468 | 21347.3452 | 0 | -6555.1 | 11058.9246 | 0 | -507.0425 | 9827.0668 | 157.1949 | 157.1949 | 18175.7615 | 97.501 | 89.6147 | 10851.7549 | 0 | 0 | 0
01/20 12:00:00 | 0 | -1738.2057 | 14346.5823 | -79.7741 | -10747.4581 | 1999.8147 | 0 | -454.0592 | 6958.0804 | 3.696 | -78.262 | 12932.8119 | 0.94555 | -109.615 | 7661.9102 | 0 | 0 | 0
01/20 13:00:00 | 0 | -1430.7308 | 9278.904 | 0 | -4622.7905 | 4984.4272 | 0 | -347.1274 | 4760.0238 | 15.2072 | 0.29921 | 8990.6151 | 0 | -90.9155 | 5277.7175 | 0 | 0 | 0
01/20 14:00:00 | 0 | -2630.3647 | 6463.7584 | -1152.7711 | -7885.9659 | -649.894 | 0 | -772.4039 | 3561.1334 | 0 | -417.7993 | 6974.2863 | 0 | -545.8313 | 3840.7689 | 0 | 0 | 0
01/20 15:00:00 | 0 | -3670.5575 | 4296.924 | -1649.7496 | -8005.8786 | -1649.7496 | 0 | -1151.2423 | 2675.5233 | 0 | -564.9187 | 5697.2141 | 0 | -1874.6462 | 1915.5333 | 0 | 0 | 0
01/20 16:00:00 | 0 | -6709.328 | 7643.3582 | -1249.9649 | -12149.1473 | -1249.9649 | 0 | -1986.6125 | 4712.9479 | 0 | -663.2581 | 10348.2542 | 0 | -4980.3798 | 1729.9998 | 0 | 0 | 0
01/20 17:00:00 | 0 | -8370.6191 | 9128.1669 | -292.0838 | -12574.567 | 440.5123 | 0 | -2106.881 | 5980.3042 | 0 | -670.8723 | 12762.7524 | 0 | -6439.3097 | 1645.3703 | 0 | 0 | 0
01/20 18:00:00 | 0 | -2677.1093 | 17512.635 | 678.393 | -219.228 | 16399.4702 | 0 | -211.7421 | 9120.2438 | 173.9243 | 173.9243 | 16109.9165 | 0 | -2497.1248 | 6738.1384 | 0 | 0 | 0
01/20 19:00:00 | 0 | -368.4106 | 36403.3642 | 8.1609 | -143.7648 | 30500.1132 | 271.5415 | 271.5415 | 18278.1058 | 694.7105 | 694.7105 | 31549.4261 | 21.4777 | -2.5749 | 16947.858 | 0 | 0 | 0
01/20 20:00:00 | 0 | -14562.4664 | 20096.0788 | 0 | -10467.7212 | 15846.2721 | 0 | -5408.8477 | 11024.6729 | 0 | -8825.3293 | 19109.1544 | 0 | -5656.1817 | 10179.428 | 0 | 0 | 0
01/20 21:00:00 | 0 | -11946.7363 | 17011.5183 | 0 | -8129.7669 | 14131.4236 | 0 | -4072.9548 | 10098.6335 | 0 | -6416.0381 | 17291.2824 | 0 | -4366.8829 | 9462.2793 | 0 | 0 | 0
01/20 22:00:00 | 0 | -11615.3791 | 17328.4548 | 0 | -7810.1971 | 15420.7707 | 0 | -3817.9202 | 10679.7649 | 0 | -6004.2686 | 18270.6394 | 0 | -4112.1948 | 10175.1049 | 0 | 0 | 0
01/20 23:00:00 | 0 | -13555.8326 | 21552.2861 | 0 | -8810.2838 | 19668.3229 | 0 | -4246.1249 | 13288.2662 | 0 | -6671.5167 | 22742.7082 | 0 | -4582.2043 | 12808.4913 | 0 | 0 | 0
01/20 24:00:00 | 0 | -11452.1217 | 19729.0844 | 0 | -7407.6198 | 19060.5556 | 0 | -3539.905 | 12737.069 | 0 | -5552.463 | 21735.8318 | 0 | -3827.6083 | 12348.8904 | 0 | 0 | 0
07/21 01:00:00 | 0 | -21014.1355 | 9004.1272 | 0 | -15180.6515 | 7297.1264 | 0 | -9139.5597 | 4334.1101 | 0 | -15133.4296 | 7301.5639 | 0 | -9466.5872 | 3840.1343 | 0 | 0 | 0
07/21 02:00:00 | 0 | -22194.1695 | 8823.5214 | 0 | -14950.88 | 7485.9478 | 0 | -8982.8011 | 4452.7198 | 0 | -14884.5818 | 7494.8442 | 0 | -9260.5286 | 4010.8649 | 0 | 0 | 0
07/21 03:00:00 | 0 | -23025.1293 | 8771.1559 | 0 | -14798.6548 | 7673.7276 | 0 | -8883.3553 | 4575.1335 | 0 | -14714.5605 | 7684.7399 | 0 | -9150.2121 | 4181.2283 | 0 | 0 | 0
07/21 04:00:00 | 0 | -23021.9242 | 8808.6943 | 0 | -14519.837 | 7851.631 | 0 | -8695.6824 | 4685.9369 | 0 | -14410.1725 | 7858.212 | 0 | -8940.91 | 4330.9288 | 0 | 0 | 0
07/21 05:00:00 | 0 | -22957.3721 | 8893.4354 | 0 | -14243.8247 | 8019.7592 | 0 | -8508.192 | 4771.2023 | 0 | -14112.3654 | 8005.6976 | 0 | -8729.8693 | 4468.0377 | 0 | 0 | 0
07/21 06:00:00 | -2056.2872 | -16281.0322 | -2056.2872 | -429.4506 | -10870.8046 | -374.5368 | -595.2918 | -7112.2167 | -576.2447 | -570.9818 | -11013.3621 | -527.2168 | -407.9037 | -6738.7109 | -373.9582 | 0 | 0 | 0
07/21 07:00:00 | -1061.5437 | -19482.6079 | -1061.5437 | -222.5825 | -14249.8741 | -222.5825 | -1103.9929 | -10033.4678 | -1103.9929 | -610.9438 | -14499.6297 | -610.9438 | -386.3738 | -8700.1307 | -386.3738 | 0 | 0 | 0
07/21 08:00:00 | -1950.6101 | -26976.0881 | -1950.6101 | -1371.4514 | -20349.401 | -1371.4514 | -2094.957 | -14168.5563 | -2094.957 | -1428.3831 | -20481.2936 | -1428.3831 | -863.4533 | -12236.8161 | -863.4533 | 0 | 0 | 0
07/21 09:00:00 | -2068.8559 | -26003.9807 | -2068.8559 | -1612.874 | -19973.2591 | -1612.874 | -2317.7373 | -13910.8833 | -2317.7373 | -1639.334 | -20024.564 | -1639.334 | -989.3567 | -11956.7671 | -989.3567 | 0 | 0 | 0
07/21 10:00:00 | -2183.0838 | -24320.8932 | -2183.0838 | -1900.9235 | -19037.9595 | -1900.9235 | -2214.1731 | -12932.6293 | -2214.1731 | -1869.8971 | -18994.3534 | -1869.8971 | -1138.2867 | -11366.0152 | -1138.2867 | 0 | 0 | 0
07/21 11:00:00 | -2286.6566 | -18751.4963 | -2286.6566 | -2179.8444 | -15122.8072 | -2179.8444 | -1923.0202 | -9962.9147 | -1923.0202 | -2071.7166 | -14961.4975 | -2071.7166 | -1264.4571 | -8985.9844 | -1264.4571 | 0 | 0 | 0
07/21 12:00:00 | -2030.8036 | -22996.3488 | -2030.8036 | -2565.9363 | -19139.1399 | -2565.9363 | -1578.013 | -11535.764 | -1578.013 | -1943.7743 | -18273.7834 | -1943.7743 | -1197.4732 | -10964.4145 | -1197.4732 | 0 | 0 | 0
07/21 13:00:00 | -2332.8787 | -11161.5165 | -2332.8787 | -2441.5301 | -9693.5331 | -2441.5301 | -1656.7987 | -6126.4727 | -1656.7987 | -2273.1105 | -9452.3864 | -2273.1105 | -1389.5706 | -5726.6908 | -1389.5706 | 0 | 0 | 0
07/21 14:00:00 | -2352.8766 | -14392.9889 | -2352.8766 | -2415.6942 | -12090.5444 | -2415.6942 | -1591.4124 | -7471.9138 | -1591.4124 | -2269.4656 | -11879.3269 | -2269.4656 | -1399.2377 | -7182.0337 | -1399.2377 | 0 | 0 | 0
07/21 15:00:00 | -2328.8373 | -18188.7183 | -2328.8373 | -2303.7538 | -14826.7401 | -2303.7538 | -1487.6192 | -9044.792 | -1487.6192 | -2180.5841 | -14650.817 | -2180.5841 | -1353.755 | -8837.2249 | -1353.755 | 0 | 0 | 0
07/21 16:00:00 | -2290.1203 | -10457.8192 | -2290.1203 | -2239.0059 | -8940.6753 | -2239.0059 | -1436.6855 | -5527.1299 | -1436.6855 | -2141.2698 | -8790.5176 | -2141.2698 | -1339.8318 | -5375.9786 | -1339.8318 | 0 | 0 | 0
07/21 17:00:00 | -1361.1309 | -15195.6181 | -1361.1309 | -1542.4738 | -12687.5676 | -1542.4738 | -925.9939 | -7540.5482 | -925.9939 | -1320.6884 | -12230.2552 | -1320.6884 | -845.3806 | -7407.9309 | -845.3806 | 0 | 0 | 0
07/21 18:00:00 | 0 | -13555.944 | 15465.0449 | 0 | -11134.598 | 11441.656 | 0 | -7062.4981 | 6637.0148 | 0 | -10969.1428 | 11520.2323 | 0 | -7133.2474 | 6699.7045 | 0 | 0 | 0
07/21 19:00:00 | 0 | -33892.3964 | 14242.9952 | 0 | -26414.3002 | 10334.5455 | 0 | -16111.7665 | 5939.8098 | 0 | -26331.4913 | 10427.7284 | 0 | -16296.4977 | 5861.121 | 0 | 0 | 0
07/21 20:00:00 | 0 | -33605.4131 | 14180.9552 | 0 | -25792.9908 | 10449.1363 | 0 | -15617.8642 | 6020.2996 | 0 | -25776.1534 | 10528.8128 | 0 | -15599.302 | 5928.1743 | 0 | 0 | 0
07/21 21:00:00 | 0 | -33599.4729 | 14292.3573 | 0 | -25538.7754 | 10750.124 | 0 | -15449.0483 | 6210.957 | 0 | -25473.6869 | 10835.4754 | 0 | -15357.1589 | 6177.7233 | 0 | 0 | 0
07/21 22:00:00 | 0 | -28828.8455 | 12613.5925 | 0 | -21545.0486 | 9613.8798 | 0 | -13019.2587 | 5574.2663 | 0 | -21482.8227 | 9691.557 | 0 | -12986.3219 | 5586.5056 | 0 | 0 | 0
07/21 23:00:00 | 0 | -19346.1951 | 8990.105 | 0 | -14066.0413 | 6825.9954 | 0 | -8470.7529 | 3965.8032 | 0 | -13983.328 | 6870.9503 | 0 | -8481.0555 | 3998.9947 | 0 | 0 | 0
07/21 24:00:00 | 0 | -20480.9912 | 9111.8252 | 0 | -15100.0063 | 7178.4243 | 0 | -9123.2568 | 4205.9967 | 0 | -15014.5956 | 7234.586 | 0 | -9118.2607 | 4241.2773 | 0 | 0 | 0

## Final
Date/Time | Baseline |  |  | 0 |  |  | 45 |  |  | 90
| Heating | Cooling | Total | Heating | Cooling | Total | Heating | Cooling | Total | Heating | Cooling | Total
01/20 01:00:00 | -22092.1978 | 88151.5387 | 0 | -31191.8137 | 75720.9359 | 0 | -25927.758 | 83327.4266 | 0 | -25753.7694 | 83558.9168 | 0
01/20 02:00:00 | -20990.7797 | 90149.6956 | 0 | -30461.2549 | 76668.7813 | 0 | -24986.054 | 84809.2713 | 0 | -24804.5806 | 85060.36 | 0
01/20 03:00:00 | -19941.9008 | 90829.3425 | 0 | -29707.7094 | 76395.5871 | 0 | -24086.3989 | 85092.8546 | 0 | -23899.1087 | 85363.2326 | 0
01/20 04:00:00 | -18648.0236 | 91893.8179 | 0 | -28833.42 | 76650.7248 | 0 | -22973.1356 | 85742.1815 | 0 | -22779.1636 | 86035.4259 | 0
01/20 05:00:00 | -17277.322 | 94616.0116 | 0 | -28179.3975 | 79312.413 | 0 | -21909.3288 | 88516.1445 | 0 | -21699.8899 | 88802.0286 | 0
01/20 06:00:00 | -17056.2586 | 96750.9525 | 0 | -28457.1218 | 81153.7904 | 0 | -21872.1841 | 90467.807 | 0 | -21653.6466 | 90760.5629 | 0
01/20 07:00:00 | 25780.1107 | 92135.0677 | 92819.5155 | 9948.2726 | 63547.7819 | 38311.5537 | 18325.9088 | 75181.8463 | 66251.2359 | 18588.7713 | 75476.4431 | 67213.5076
01/20 08:00:00 | 15746.2235 | 58899.5512 | 56686.4045 | 11829.794 | 55728.9113 | 42789.8338 | 13725.4758 | 56221.3656 | 49411.713 | 13825.0658 | 56355.2342 | 49770.2369
01/20 09:00:00 | 2838.215 | 69214.5144 | 13179.4677 | -756.2601 | 66448.9685 | 4375.2604 | 1487.5366 | 69535.1552 | 9289.409 | 1560.5813 | 69639.8305 | 9484.6502
01/20 10:00:00 | -729.1174 | 77771.8541 | 4968.2132 | -6488.7825 | 70710.907 | 0 | -2080.144 | 75977.6241 | 2416.5955 | -1995.5573 | 76086.2404 | 2524.4721
01/20 11:00:00 | -5597.245 | 74150.1346 | 2702.223 | -15931.376 | 62768.8981 | 0 | -8307.8387 | 71050.9594 | 749.8705 | -8121.3796 | 71260.8531 | 916.9053
01/20 12:00:00 | -10617.1629 | 46706.7617 | 1033.2953 | -19309.272 | 36973.7507 | -3716.7087 | -13296.7168 | 43706.1732 | -341.1283 | -13127.6 | 43899.1995 | -270.477
01/20 13:00:00 | -4580.9889 | 35622.1594 | 1125.6662 | -11292.4191 | 27850.9424 | 0 | -6566.3265 | 33187.7085 | 343.1542 | -6491.265 | 33291.6876 | 54.7459
01/20 14:00:00 | -11026.2856 | 23688.9837 | -2622.0231 | -15485.7468 | 12594.9781 | -7544.2885 | -12378.2734 | 20068.1812 | -4251.9196 | -12252.3652 | 20190.053 | -4149.9761
01/20 15:00:00 | -13879.9523 | 14215.8917 | -5016.7585 | -19305.4964 | 9019.3199 | -8100.2688 | -15379.4196 | 12832.5097 | -6004.9798 | -15267.2432 | 12935.4451 | -5939.0986
01/20 16:00:00 | -24476.5555 | 25139.876 | -3847.8906 | -33223.8647 | 16709.8563 | -6572.5236 | -26654.3091 | 23030.2366 | -4554.4911 | -26488.7257 | 23184.5952 | -4499.8737
01/20 17:00:00 | -27103.5952 | 33117.6419 | -452.3922 | -39199.5706 | 21058.07 | -4631.9744 | -30402.388 | 29717.7713 | -1111.6897 | -30162.249 | 29957.1061 | -1051.5016
01/20 18:00:00 | -3257.7855 | 68209.6064 | 5580.2081 | -11472.8095 | 57460.885 | 745.2681 | -5601.5408 | 65692.8592 | 2969.6285 | -5431.2799 | 65880.4039 | 3068.3423
01/20 19:00:00 | 1457.9194 | 134713.5949 | 6407.7019 | -1477.6005 | 131850.0385 | 1088.4465 | 397.5321 | 133648.3354 | 3476.0602 | 451.5018 | 133678.8673 | 3585.2062
01/20 20:00:00 | -62647.3373 | 114043.3758 | 0 | -48758.0922 | 71505.197 | 0 | -45047.9131 | 76131.9245 | 0 | -44920.5464 | 76255.6061 | 0
01/20 21:00:00 | -36106.2813 | 78693.1068 | 0 | -38698.1634 | 61443.1813 | 0 | -35053.7101 | 67799.4482 | 0 | -34932.379 | 67995.1371 | 0
01/20 22:00:00 | -30398.5925 | 75533.6224 | 0 | -37427.2322 | 64220.7223 | 0 | -33499.7552 | 71658.3196 | 0 | -33359.9598 | 71874.7347 | 0
01/20 23:00:00 | -33915.6892 | 95142.2974 | 0 | -43620.7846 | 80503.4154 | 0 | -38058.4792 | 89783.3933 | 0 | -37865.9622 | 90060.0747 | 0
01/20 24:00:00 | -27750.7329 | 90422.3897 | 0 | -37530.4235 | 76415.6966 | 0 | -31975.3444 | 85351.2986 | 0 | -31779.7176 | 85611.4312 | 0
07/21 01:00:00 | -68925.6444 | 31849.4141 | 0 | -71292.2306 | 31013.6436 | 0 | -69983.3057 | 31754.6911 | 0 | -69934.3636 | 31777.0618 | 0
07/21 02:00:00 | -69096.9945 | 32427.5939 | 0 | -71808.9367 | 31397.3341 | 0 | -70327.8999 | 32242.4091 | 0 | -70272.961 | 32267.8981 | 0
07/21 03:00:00 | -69215.102 | 33150.1094 | 0 | -72326.2022 | 31887.8424 | 0 | -70634.3018 | 32856.8061 | 0 | -70571.912 | 32885.9852 | 0
07/21 04:00:00 | -67869.2053 | 33821.9823 | 0 | -71678.9525 | 32438.5622 | 0 | -69663.4132 | 33504.2797 | 0 | -69588.5261 | 33535.403 | 0
07/21 05:00:00 | -66506.1569 | 34413.0323 | 0 | -70892.4384 | 32999.3844 | 0 | -68636.8407 | 34126.7349 | 0 | -68551.6234 | 34158.1322 | 0
07/21 06:00:00 | -51711.21 | -3669.6037 | -13511.3239 | -55799.1666 | -4732.2128 | -17599.9179 | -52051.1648 | -3927.3761 | -14697.0702 | -52016.1265 | -3908.2437 | -14615.6943
07/21 07:00:00 | -67015.5574 | -3341.9459 | -12031.0052 | -68137.4955 | -3814.5787 | -13732.4832 | -67000.6597 | -3398.3926 | -12234.2133 | -66965.7102 | -3385.4367 | -12187.572
07/21 08:00:00 | -94138.4481 | -7716.5357 | -27779.5285 | -95147.8786 | -8086.9212 | -29112.9164 | -94239.554 | -7720.1267 | -27792.4562 | -94212.1551 | -7708.855 | -27751.8779
07/21 09:00:00 | -92069.5004 | -8786.9413 | -31632.9887 | -92416.5971 | -8898.6489 | -32035.136 | -91886.8232 | -8636.3296 | -31090.7866 | -91869.4542 | -8628.1579 | -31061.3683
07/21 10:00:00 | -87153.7215 | -9669.5145 | -34810.2521 | -86940.8189 | -9450.5764 | -34022.0751 | -86660.494 | -9310.4343 | -33517.5636 | -86651.8506 | -9306.3642 | -33502.9112
07/21 11:00:00 | -68493.9012 | -10231.7746 | -36834.3886 | -67894.2183 | -9767.5571 | -35163.2057 | -67787.4484 | -9726.4425 | -35015.193 | -67784.7001 | -9725.6949 | -35012.5017
07/21 12:00:00 | -83573.4343 | -9776.6709 | -35196.0153 | -82916.611 | -9296.7013 | -33468.1247 | -82908.9717 | -9314.8424 | -33533.4328 | -82909.4505 | -9316.0003 | -33537.6012
07/21 13:00:00 | -42908.5074 | -10626.4338 | -38255.1616 | -42072.3139 | -10009.7522 | -36035.1078 | -42156.9742 | -10090.5723 | -36326.0602 | -42160.5995 | -10093.8886 | -36337.999
07/21 14:00:00 | -53718.7473 | -10515.7547 | -37856.717 | -52882.472 | -9920.2102 | -35712.7568 | -53011.7968 | -10024.6665 | -36088.7995 | -53016.8076 | -10028.6865 | -36103.2714
07/21 15:00:00 | -66123.2854 | -10041.7352 | -36150.2468 | -65388.8355 | -9535.3681 | -34327.3252 | -65542.4977 | -9650.2095 | -34740.7543 | -65548.2921 | -9654.5494 | -34756.3778
07/21 16:00:00 | -39631.7713 | -9804.9091 | -35297.6729 | -38958.6999 | -9351.6977 | -33666.1118 | -39087.3055 | -9443.4705 | -33996.4937 | -39092.1206 | -9446.9132 | -34008.8875
07/21 17:00:00 | -55437.2033 | -6219.9958 | -22391.9848 | -55026.7629 | -5972.8805 | -21502.3698 | -55060.4377 | -5994.7189 | -21580.9879 | -55061.92 | -5995.6676 | -21584.4033
07/21 18:00:00 | -50497.8681 | 51301.8513 | 0 | -49821.5793 | 51743.5979 | 0 | -49851.4974 | 51761.831 | 0 | -49855.4303 | 51763.6525 | 0
07/21 19:00:00 | -119594.7999 | 46176.3775 | 0 | -119129.9258 | 46662.704 | 0 | -119049.9318 | 46802.8584 | 0 | -119046.4521 | 46806.1999 | 0
07/21 20:00:00 | -116646.1638 | 46640.5568 | 0 | -116699.0409 | 46864.5649 | 0 | -116400.3846 | 47099.8925 | 0 | -116391.7236 | 47107.3782 | 0
07/21 21:00:00 | -115273.1195 | 47967.6453 | 0 | -116044.1227 | 47880.5365 | 0 | -115440.7097 | 48255.6237 | 0 | -115418.1424 | 48266.6369 | 0
07/21 22:00:00 | -97282.467 | 42916.3566 | 0 | -98779.108 | 42630.736 | 0 | -97895.464 | 43067.0424 | 0 | -97862.2975 | 43079.8013 | 0
07/21 23:00:00 | -63365.4772 | 30408.9438 | 0 | -65351.3729 | 30376.5292 | 0 | -64385.6144 | 30645.8749 | 0 | -64347.3727 | 30651.8485 | 0
07/21 24:00:00 | -68011.2155 | 31969.9153 | 0 | -69844.3545 | 31470.4859 | 0 | -68873.6387 | 31958.0794 | 0 | -68837.1106 | 31972.1096 | 0