## Base
Date/Time | CORE_ZN:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly)
01/20 01:00:00 | 0 | -12072.5104 | 21060.3056 | 0 | -5536.3152 | 21097.9923 | 0 | -3241.1575 | 12853.1176 | 0 | -5562.3109 | 21449.1546 | 0 | -3224.9485 | 12887.7979 | 0 | 0 | 0
01/20 02:00:00 | 0 | -12124.7036 | 21533.4947 | 0 | -5215.9242 | 21646.7029 | 0 | -3039.8528 | 13217.1392 | 0 | -5235.2145 | 21945.6255 | 0 | -3019.9049 | 13251.903 | 0 | 0 | 0
01/20 03:00:00 | 0 | -11908.6903 | 21754.0512 | 0 | -4841.4478 | 22160.325 | 0 | -2803.3686 | 13543.1832 | 0 | -4873.2757 | 22467.4357 | 0 | -2781.5339 | 13577.2723 | 0 | 0 | 0
01/20 04:00:00 | 0 | -11689.1729 | 21976.4018 | 0 | -4574.537 | 22453.7389 | 0 | -2639.1095 | 13722.5993 | 0 | -4614.9269 | 22756.6933 | 0 | -2616.7452 | 13757.8193 | 0 | 0 | 0
01/20 05:00:00 | 0 | -11591.9576 | 22127.9325 | 0 | -4459.4813 | 22480.3029 | 0 | -2572.9325 | 13734.9767 | 0 | -4497.7541 | 22736.3738 | 0 | -2549.5618 | 13775.7096 | 0 | 0 | 0
01/20 06:00:00 | 0 | -12887.4604 | 22492.2927 | 0 | -4329.7559 | 22470.4048 | 0 | -2496.6963 | 13728.6845 | 0 | -4372.5697 | 22703.6031 | 0 | -2473.4091 | 13772.2178 | 0 | 0 | 0
01/20 07:00:00 | 314.9252 | -111.8239 | 14877.2104 | 4422.2717 | 4422.2717 | 16573.8277 | 2547.2213 | 2545.3583 | 9833.3766 | 4113.9326 | 4105.1157 | 16231.2377 | 2535.8919 | 2515.3869 | 9806.2711 | 0 | 0 | 0
01/20 08:00:00 | 159.7875 | 113.5762 | 7322.2077 | 4053.8336 | 4053.8336 | 10572.2908 | 1087.4221 | 1087.4221 | 4882.7089 | 1715.7383 | 1715.7383 | 7966.074 | 1117.6009 | 1117.6009 | 4919.5474 | 0 | 0 | 0
01/20 09:00:00 | 0 | -1004.6035 | 9774.8382 | 751.6116 | 751.6116 | 9713.0756 | 315.6645 | 315.6645 | 5692.0779 | 482.4059 | 482.4059 | 9426.6922 | 359.2048 | 359.2048 | 5750.6589 | 0 | 0 | 0
01/20 10:00:00 | 0 | -1176.3647 | 10162.8976 | 378.542 | 378.542 | 9741.6777 | 103.5754 | 103.5754 | 5720.4053 | 154.9783 | 154.9783 | 9523.8248 | 151.5522 | 151.5522 | 5788.9435 | 0 | 0 | 0
01/20 11:00:00 | 0 | -1291.0155 | 9889.2065 | 130.3031 | 130.3031 | 9346.0991 | 54.204 | 12.7803 | 5552.8892 | 2.3985 | -57.4248 | 9189.8226 | 26.195 | 21.296 | 5585.1117 | 0 | 0 | 0
01/20 12:00:00 | 0 | -1367.3415 | 5078.9687 | 3.3763 | -46.5974 | 5557.3725 | 0 | -99.0604 | 3321.8245 | 0 | -195.0875 | 5478.6968 | 0 | -64.6265 | 3375.9653 | 0 | 0 | 0
01/20 13:00:00 | 0 | -1072.8045 | 8339.8812 | 1768.859 | 1768.859 | 9725.4197 | 71.191 | 56.821 | 4803.638 | 0 | -59.1463 | 7852.0307 | 57.402 | 26.649 | 4786.6295 | 0 | 0 | 0
01/20 14:00:00 | 0 | -1812.035 | 12854.8087 | 0 | -3073.8462 | 8431.6725 | 0 | -255.7245 | 6816.936 | 0 | -431.9516 | 11426.0867 | 0 | -559.5746 | 6390.535 | 0 | 0 | 0
01/20 15:00:00 | 0 | -2257.1312 | 4934.6811 | 0 | -3597.7726 | 2039.709 | 0 | -354.5316 | 3242.5345 | 0 | -530.8084 | 5442.529 | 0 | -1327.0602 | 2141.7216 | 0 | 0 | 0
01/20 16:00:00 | 0 | -4634.4035 | 10319.6008 | 0 | -6434.424 | 4650.6914 | 0 | -396.1625 | 6581.1979 | 0 | -593.9546 | 11113.061 | 0 | -3681.6659 | 3266.7638 | 0 | 0 | 0
01/20 17:00:00 | 0 | -5166.7469 | 10528.07 | 0 | -3913.5038 | 7875.4519 | 0 | -345.4266 | 6967.3691 | 0 | -542.5464 | 11734.3235 | 0 | -3415.422 | 3812.1945 | 0 | 0 | 0
01/20 18:00:00 | 0 | -1217.7293 | 15400.4109 | 1829.2486 | 1829.2486 | 15038.7382 | 170.0201 | 170.0201 | 8233.1971 | 295.4548 | 295.4548 | 13833.7711 | 0 | -517.8299 | 7103.1197 | 0 | 0 | 0
01/20 19:00:00 | 0 | -228.1515 | 26493.5366 | 549.0763 | 549.0763 | 21945.2038 | 468.5284 | 468.5284 | 14678.308 | 781.6902 | 781.6902 | 24507.9969 | 196.8104 | 196.8104 | 13345.7927 | 0 | 0 | 0
01/20 20:00:00 | 0 | -17914.0813 | 25814.2218 | 0 | -11479.0051 | 21721.3546 | 0 | -6527.7057 | 13986.8496 | 0 | -10955.7969 | 23451.5254 | 0 | -6765.9423 | 13165.7597 | 0 | 0 | 0
01/20 21:00:00 | 0 | -13194.9477 | 19627.6045 | 0 | -7707.3022 | 17488.5459 | 0 | -4245.469 | 11333.6007 | 0 | -7157.9173 | 18975.0562 | 0 | -4561.7277 | 10786.0545 | 0 | 0 | 0
01/20 22:00:00 | 0 | -12885.1049 | 19890.5698 | 0 | -7288.2287 | 18518.9586 | 0 | -3974.5416 | 11918.356 | 0 | -6743.4711 | 19885.0625 | 0 | -4280.0761 | 11422.3812 | 0 | 0 | 0
01/20 23:00:00 | 0 | -12441.5283 | 20138.5259 | 0 | -6719.9834 | 19467.5399 | 0 | -3590.5321 | 12265.2427 | 0 | -6201.7611 | 20617.429 | 0 | -3888.1188 | 11887.4889 | 0 | 0 | 0
01/20 24:00:00 | 0 | -11695.6653 | 20331.4392 | 0 | -6094.4316 | 20745.3547 | 0 | -3218.6258 | 12981.276 | 0 | -5499.8328 | 21340.7413 | 0 | -3505.8042 | 12674.8683 | 0 | 0 | 0
07/21 01:00:00 | 0 | -23508.0746 | 10069.3385 | 0 | -16970.7529 | 8113.2746 | 0 | -10159.1127 | 4870.4558 | 0 | -16877.9373 | 8233.411 | 0 | -10433.9549 | 4462.7462 | 0 | 0 | 0
07/21 02:00:00 | 0 | -24314.9334 | 9931.1098 | 0 | -16707.3749 | 8345.1198 | 0 | -9990.493 | 5010.0128 | 0 | -16613.1046 | 8451.5706 | 0 | -10226.6904 | 4645.1541 | 0 | 0 | 0
07/21 03:00:00 | 0 | -25575.1591 | 9778.4141 | 0 | -16540.1775 | 8548.1962 | 0 | -9882.6778 | 5135.4224 | 0 | -16438.7125 | 8640.3804 | 0 | -10103.2872 | 4809.8159 | 0 | 0 | 0
07/21 04:00:00 | 0 | -25583.7463 | 9778.0225 | 0 | -16316.6759 | 8744.1946 | 0 | -9740.1572 | 5254.2947 | 0 | -16213.1851 | 8820.4725 | 0 | -9944.4645 | 4963.3468 | 0 | 0 | 0
07/21 05:00:00 | 0 | -25541.8234 | 9828.6921 | 0 | -16078.0218 | 8888.043 | 0 | -9616.3439 | 5225.4658 | 0 | -16004.7756 | 8854.0933 | 0 | -9776.2718 | 5079.8719 | 0 | 0 | 0
07/21 06:00:00 | -2370.5005 | -17356.1298 | -2370.5005 | -511.1233 | -11567.3982 | -438.1387 | -806.2958 | -7813.9934 | -780.0461 | -753.4172 | -12063.7057 | -747.7679 | -420.5525 | -7102.353 | -383.4874 | 0 | 0 | 0
07/21 07:00:00 | -1100.8303 | -22671.4992 | -1100.8303 | -330.385 | -16815.0633 | -330.385 | -1373.0799 | -11835.9378 | -1373.0799 | -735.5326 | -17313.9967 | -735.5326 | -398.2383 | -10142.4295 | -398.2383 | 0 | 0 | 0
07/21 08:00:00 | -1988.4225 | -26795.1254 | -1988.4225 | -1460.0974 | -20414.0958 | -1460.0974 | -2252.9344 | -14274.0647 | -2252.9344 | -1525.3225 | -20556.5683 | -1525.3225 | -893.1395 | -12202.6716 | -893.1395 | 0 | 0 | 0
07/21 09:00:00 | -2099.4161 | -26320.0127 | -2099.4161 | -1680.3065 | -20343.7611 | -1680.3065 | -2495.3065 | -14257.8379 | -2495.3065 | -1710.7379 | -20375.4836 | -1710.7379 | -1013.6932 | -12129.322 | -1013.6932 | 0 | 0 | 0
07/21 10:00:00 | -2197.5298 | -20454.2223 | -2197.5298 | -1939.1212 | -16190.0889 | -1939.1212 | -2297.6434 | -11298.4233 | -2297.6434 | -1889.7518 | -16097.9134 | -1889.7518 | -1130.1144 | -9613.2242 | -1130.1144 | 0 | 0 | 0
07/21 11:00:00 | -2273.4658 | -19845.4409 | -2273.4658 | -2246.0042 | -16107.4185 | -2246.0042 | -1902.1338 | -10446.7217 | -1902.1338 | -2016.0771 | -15737.738 | -2016.0771 | -1221.4163 | -9427.6769 | -1221.4163 | 0 | 0 | 0
07/21 12:00:00 | -2016.0978 | -11245.1808 | -2016.0978 | -2545.1111 | -10409.5729 | -2545.1111 | -1551.4131 | -6238.6392 | -1551.4131 | -1895.0475 | -9327.0854 | -1895.0475 | -1160.9707 | -5643.8241 | -1160.9707 | 0 | 0 | 0
07/21 13:00:00 | -2357.5899 | -11638.6838 | -2357.5899 | -2717.9829 | -10464.2503 | -2717.9829 | -1635.8827 | -6303.2337 | -1635.8827 | -2218.6897 | -9714.8149 | -2218.6897 | -1359.55 | -5883.7119 | -1359.55 | 0 | 0 | 0
07/21 14:00:00 | -2413.4873 | -11741.0093 | -2413.4873 | -2717.0469 | -10480.9585 | -2717.0469 | -1608.0694 | -6266.1295 | -1608.0694 | -2274.7717 | -9811.8163 | -2274.7717 | -1570.6552 | -6182.7748 | -1570.6552 | 0 | 0 | 0
07/21 15:00:00 | -2424.4406 | -29240.7462 | -2424.4406 | -2571.0871 | -23531.9884 | -2571.0871 | -1563.6798 | -14063.4841 | -1563.6798 | -2264.9565 | -23054.4243 | -2264.9565 | -1717.0614 | -14272.4786 | -1717.0614 | 0 | 0 | 0
07/21 16:00:00 | -2383.2035 | -23858.4243 | -2383.2035 | -2424.9138 | -19300.9038 | -2424.9138 | -1488.6737 | -11567.2415 | -1488.6737 | -2194.9596 | -18926.8216 | -2194.9596 | -1594.7738 | -11722.6459 | -1594.7738 | 0 | 0 | 0
07/21 17:00:00 | -1419.9408 | -24290.7912 | -1419.9408 | -1441.8716 | -19539.1692 | -1441.8716 | -939.5881 | -11613.4744 | -939.5881 | -1335.0645 | -19081.0182 | -1335.0645 | -984.8529 | -11683.5645 | -984.8529 | 0 | 0 | 0
07/21 18:00:00 | 0 | -19987.8239 | 25769.8116 | 0 | -16237.2517 | 19040.7225 | 0 | -10228.3603 | 11026.2679 | 0 | -15857.3413 | 19264.8706 | 0 | -10543.1179 | 10696.3241 | 0 | 0 | 0
07/21 19:00:00 | 0 | -38234.2343 | 16574.8674 | 0 | -29259.3574 | 12109.2865 | 0 | -17819.9282 | 7121.6179 | 0 | -29378.5281 | 12208.5356 | 0 | -18782.0817 | 6332.8446 | 0 | 0 | 0
07/21 20:00:00 | 0 | -38369.3153 | 16503.1635 | 0 | -28926.5165 | 12429.8834 | 0 | -17323.9489 | 7271.3825 | 0 | -29011.935 | 12460.2886 | 0 | -18095.4906 | 6611.5749 | 0 | 0 | 0
07/21 21:00:00 | 0 | -30439.6612 | 13250.8507 | 0 | -22490.6082 | 10133.7348 | 0 | -13522.1412 | 5959.6832 | 0 | -22450.6827 | 10204.3527 | 0 | -13936.8156 | 5619.6281 | 0 | 0 | 0
07/21 22:00:00 | 0 | -22287.9229 | 10036.9235 | 0 | -16136.3974 | 7705.3455 | 0 | -9723.502 | 4552.654 | 0 | -16108.2912 | 7779.1585 | 0 | -9836.8418 | 4318.9824 | 0 | 0 | 0
07/21 23:00:00 | 0 | -21649.4525 | 10322.541 | 0 | -15398.944 | 7899.9275 | 0 | -9179.4395 | 4626.1171 | 0 | -15351.4527 | 7977.6075 | 0 | -9306.5257 | 4463.6269 | 0 | 0 | 0
07/21 24:00:00 | 0 | -22748.4477 | 10416.4873 | 0 | -16589.2938 | 8271.3694 | 0 | -9948.5921 | 4882.7558 | 0 | -16528.9735 | 8345.7302 | 0 | -10077.1091 | 4749.1447 | 0 | 0 | 0

## 0
Date/Time | CORE_ZN:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly)
01/20 01:00:00 | 0 | -13073.1041 | 20187.2648 | 0 | -7499.181 | 17737.7353 | 0 | -4388.1087 | 11075.208 | 0 | -7246.3277 | 18645.8922 | 0 | -4401.9833 | 11055.4273 | 0 | 0 | 0
01/20 02:00:00 | 0 | -13184.6196 | 20567.9724 | 0 | -7292.7658 | 18183.0557 | 0 | -4242.8434 | 11356.0215 | 0 | -7016.0417 | 19049.3997 | 0 | -4256.0668 | 11339.6521 | 0 | 0 | 0
01/20 03:00:00 | 0 | -13029.0986 | 20743.5718 | 0 | -7061.0796 | 18835.3251 | 0 | -4076.8212 | 11731.9838 | 0 | -6757.5366 | 19624.3614 | 0 | -4089.1873 | 11718.0481 | 0 | 0 | 0
01/20 04:00:00 | 0 | -12866.5938 | 20925.1997 | 0 | -6884.0904 | 19083.0849 | 0 | -3962.555 | 11881.1774 | 0 | -6577.3473 | 19863.5015 | 0 | -3973.8202 | 11867.9201 | 0 | 0 | 0
01/20 05:00:00 | 0 | -12839.6305 | 21031.5176 | 0 | -6757.2473 | 18815.3455 | 0 | -3903.0788 | 11766.0268 | 0 | -6482.1869 | 19682.9826 | 0 | -3913.4859 | 11753.8473 | 0 | 0 | 0
01/20 06:00:00 | 0 | -14199.2001 | 21250.4623 | 0 | -6644.9406 | 18635.3943 | 0 | -3833.1816 | 11652.3137 | 0 | -6375.1872 | 19513.5553 | 0 | -3842.4329 | 11639.8867 | 0 | 0 | 0
01/20 07:00:00 | 0 | -1159.9098 | 10725.9282 | 1830.2707 | 1636.8483 | 11051.507 | 1067.5031 | 970.9001 | 6650.5835 | 1825.9831 | 1698.7161 | 11161.9854 | 1052.5943 | 969.9794 | 6647.9562 | 0 | 0 | 0
01/20 08:00:00 | 76.3333 | -238.9162 | 7440.3093 | 3019.9151 | 3019.9151 | 9729.0916 | 495.3198 | 495.3198 | 4416.0359 | 838.8723 | 838.8723 | 7351.1014 | 504.5117 | 504.5117 | 4428.3406 | 0 | 0 | 0
01/20 09:00:00 | 0 | -1267.0839 | 9205.2805 | 6.3727 | -96.2502 | 8466.2825 | 0 | -163.5592 | 4992.8335 | 0 | -243.1665 | 8383.6436 | 0 | -144.6003 | 5025.6865 | 0 | 0 | 0
01/20 10:00:00 | 0 | -1380.3907 | 9631.4725 | 0 | -344.0139 | 8566.8266 | 0 | -312.2558 | 5064.3221 | 0 | -480.6436 | 8548.7511 | 0 | -289.9468 | 5110.1586 | 0 | 0 | 0
01/20 11:00:00 | 0 | -1464.7967 | 9345.7601 | 0 | -513.0977 | 8206.4544 | 0 | -397.0579 | 4881.4784 | 0 | -636.6515 | 8239.5983 | 0 | -377.6079 | 4928.4259 | 0 | 0 | 0
01/20 12:00:00 | 0 | -1578.5957 | 4512.5654 | 0 | -639.3809 | 4376.3437 | 0 | -452.5371 | 2680.8995 | 0 | -749.0376 | 4500.93 | 0 | -439.5464 | 2712.2607 | 0 | 0 | 0
01/20 13:00:00 | 0 | -1221.8238 | 5452.37 | 1272.9733 | 1272.9733 | 6947.1252 | 0 | -354.447 | 3054.944 | 0 | -577.1052 | 5148.8537 | 0 | -343.3435 | 3080.5624 | 0 | 0 | 0
01/20 14:00:00 | 0 | -2509.7181 | 12011.8658 | 0 | -5164.8978 | 6350.3446 | 0 | -857.4872 | 5990.5653 | 0 | -908.9824 | 10458.9415 | 0 | -1210.7203 | 5635.2711 | 0 | 0 | 0
01/20 15:00:00 | 0 | -2728.1364 | 4424.2156 | 0 | -5006.8323 | 611.2729 | 0 | -1042.2203 | 2471.0253 | 0 | -1040.8967 | 4467.3419 | 0 | -1943.1688 | 1556.1278 | 0 | 0 | 0
01/20 16:00:00 | 0 | -5679.0802 | 9251.0857 | 0 | -9317.0935 | 1796.9978 | 0 | -2123.4202 | 4862.6452 | 0 | -1761.8745 | 9605.3175 | 0 | -5150.3654 | 1826.9842 | 0 | 0 | 0
01/20 17:00:00 | 0 | -6334.2983 | 9339.9229 | 0 | -7246.3247 | 4414.8573 | 0 | -2177.477 | 5118.4037 | 0 | -1725.8112 | 10242.0065 | 0 | -5240.3415 | 1972.2737 | 0 | 0 | 0
01/20 18:00:00 | 0 | -1814.9089 | 15049.6054 | 1075.8735 | 828.3468 | 14593.6891 | 0 | -420.3297 | 7244.7689 | 0 | -265.8487 | 12827.0863 | 0 | -2291.8746 | 5379.235 | 0 | 0 | 0
01/20 19:00:00 | 0 | -356.7676 | 28934.4239 | 175.949 | 102.9435 | 23735.1039 | 55.1068 | 55.1068 | 14204.2717 | 211.9324 | 211.9324 | 24306.6275 | 0 | -177.3377 | 13612.4899 | 0 | 0 | 0
01/20 20:00:00 | 0 | -13381.0146 | 18261.5353 | 0 | -9727.6447 | 14016.1034 | 0 | -5336.4075 | 9239.7528 | 0 | -8815.7325 | 15763.867 | 0 | -5655.1899 | 8690.6172 | 0 | 0 | 0
01/20 21:00:00 | 0 | -13749.8389 | 18943.796 | 0 | -9439.5313 | 14765.4644 | 0 | -5005.5831 | 9603.4699 | 0 | -8170.4175 | 16328.6361 | 0 | -5433.4976 | 9140.1366 | 0 | 0 | 0
01/20 22:00:00 | 0 | -13581.0307 | 19143.241 | 0 | -9000.798 | 15372.9599 | 0 | -4914.0649 | 10261.9589 | 0 | -8045.376 | 17415.8119 | 0 | -5176.8125 | 9589.6854 | 0 | 0 | 0
01/20 23:00:00 | 0 | -13248.6803 | 19349.3286 | 0 | -8601.7983 | 16294.3221 | 0 | -4720.3923 | 10828.1197 | 0 | -7721.9066 | 18291.5253 | 0 | -5006.5031 | 10313.5499 | 0 | 0 | 0
01/20 24:00:00 | 0 | -12603.6804 | 19544.6201 | 0 | -8083.1393 | 17406.6592 | 0 | -4355.1849 | 11302.9101 | 0 | -7122.9976 | 19002.1495 | 0 | -4641.0423 | 10905.4696 | 0 | 0 | 0
07/21 01:00:00 | 0 | -23532.0374 | 10019.8652 | 0 | -17677.7336 | 7811.1876 | 0 | -10558.0782 | 4712.4149 | 0 | -17447.3384 | 8005.4782 | 0 | -10876.94 | 4323.5753 | 0 | 0 | 0
07/21 02:00:00 | 0 | -24373.227 | 9849.5186 | 0 | -17483.7587 | 7988.6834 | 0 | -10431.5726 | 4822.911 | 0 | -17247.632 | 8179.6904 | 0 | -10711.8341 | 4476.5853 | 0 | 0 | 0
07/21 03:00:00 | 0 | -25674.1606 | 9665.0271 | 0 | -17357.5088 | 8137.8926 | 0 | -10350.5433 | 4918.1881 | 0 | -17116.4481 | 8324.4749 | 0 | -10604.3437 | 4606.7255 | 0 | 0 | 0
07/21 04:00:00 | 0 | -25713.3893 | 9633.369 | 0 | -17217.353 | 8283.0181 | 0 | -10257.2299 | 5011.2279 | 0 | -16968.1135 | 8464.9672 | 0 | -10489.9598 | 4730.0789 | 0 | 0 | 0
07/21 05:00:00 | 0 | -25702.662 | 9652.8034 | 0 | -17054.65 | 8391.771 | 0 | -10184.9695 | 4996.0939 | 0 | -16799.7454 | 8501.8961 | 0 | -10362.1563 | 4826.4154 | 0 | 0 | 0
07/21 06:00:00 | -2534.2344 | -17592.4747 | -2534.2344 | -823.0947 | -12217.0528 | -819.7068 | -962.6577 | -8065.6605 | -962.6577 | -926.7959 | -12394.7356 | -922.5457 | -590.3822 | -7475.023 | -581.1353 | 0 | 0 | 0
07/21 07:00:00 | -1134.4838 | -22786.2707 | -1134.4838 | -467.3206 | -17260.4446 | -467.3206 | -1419.5745 | -11900.4355 | -1419.5745 | -775.8374 | -17417.555 | -775.8374 | -479.3241 | -10410.1614 | -479.3241 | 0 | 0 | 0
07/21 08:00:00 | -2014.7705 | -26864.2121 | -2014.7705 | -1563.7345 | -20683.7176 | -1563.7345 | -2235.1542 | -14251.408 | -2235.1542 | -1580.0341 | -20679.301 | -1580.0341 | -951.9489 | -12341.4132 | -951.9489 | 0 | 0 | 0
07/21 09:00:00 | -2118.3471 | -26362.3556 | -2118.3471 | -1739.1326 | -20465.3242 | -1739.1326 | -2415.9199 | -14160.5491 | -2415.9199 | -1743.9932 | -20439.9472 | -1743.9932 | -1047.9027 | -12197.1085 | -1047.9027 | 0 | 0 | 0
07/21 10:00:00 | -2208.0623 | -20477.4075 | -2208.0623 | -1911.5692 | -16165.8102 | -1911.5692 | -2162.249 | -11131.0939 | -2162.249 | -1884.4202 | -16095.934 | -1884.4202 | -1137.0015 | -9631.5365 | -1137.0015 | 0 | 0 | 0
07/21 11:00:00 | -2274.379 | -19849.3445 | -2274.379 | -2105.1079 | -15913.0419 | -2105.1079 | -1787.8115 | -10294.2249 | -1787.8115 | -1984.2598 | -15691.7418 | -1984.2598 | -1208.4087 | -9411.1667 | -1208.4087 | 0 | 0 | 0
07/21 12:00:00 | -2010.1228 | -11235.8729 | -2010.1228 | -2327.1736 | -10110.6884 | -2327.1736 | -1484.4246 | -6146.0575 | -1484.4246 | -1836.9361 | -9243.016 | -1836.9361 | -1123.814 | -5592.0733 | -1123.814 | 0 | 0 | 0
07/21 13:00:00 | -2345.1192 | -11617.7857 | -2345.1192 | -2447.4007 | -10096.3709 | -2447.4007 | -1568.2706 | -6209.4915 | -1568.2706 | -2137.7497 | -9597.4162 | -2137.7497 | -1303.4544 | -5803.6784 | -1303.4544 | 0 | 0 | 0
07/21 14:00:00 | -2396.4486 | -11712.2488 | -2396.4486 | -2474.041 | -10142.8196 | -2474.041 | -1539.4673 | -6170.2744 | -1539.4673 | -2191.4993 | -9689.4634 | -2191.4993 | -1437.568 | -6005.2404 | -1437.568 | 0 | 0 | 0
07/21 15:00:00 | -2406.1107 | -29209.3553 | -2406.1107 | -2419.9678 | -23312.6198 | -2419.9678 | -1503.806 | -13977.8624 | -1503.806 | -2189.594 | -22942.189 | -2189.594 | -1594.9357 | -14105.6184 | -1594.9357 | 0 | 0 | 0
07/21 16:00:00 | -2367.0665 | -23830.269 | -2367.0665 | -2318.8931 | -19142.1117 | -2318.8931 | -1441.1893 | -11496.6484 | -1441.1893 | -2134.658 | -18832.4999 | -2134.658 | -1514.1697 | -11607.7704 | -1514.1697 | 0 | 0 | 0
07/21 17:00:00 | -1408.5186 | -24268.9136 | -1408.5186 | -1398.3713 | -19465.3633 | -1398.3713 | -921.8257 | -11583.2079 | -921.8257 | -1316.1695 | -19046.0257 | -1316.1695 | -953.2748 | -11631.6549 | -953.2748 | 0 | 0 | 0
07/21 18:00:00 | 0 | -19949.5031 | 25797.6667 | 0 | -16090.3034 | 19091.5582 | 0 | -10195.4394 | 11020.4061 | 0 | -15819.4937 | 19272.7754 | 0 | -10486.7105 | 10754.8472 | 0 | 0 | 0
07/21 19:00:00 | 0 | -38210.6626 | 16595.6025 | 0 | -29417.9241 | 12042.0283 | 0 | -17952.0109 | 7071.6631 | 0 | -29375.6899 | 12239.3588 | 0 | -18818.0877 | 6378.6491 | 0 | 0 | 0
07/21 20:00:00 | 0 | -38344.8511 | 16503.1646 | 0 | -29380.9518 | 12254.5348 | 0 | -17614.0554 | 7182.3213 | 0 | -29225.8912 | 12359.7533 | 0 | -18239.9231 | 6550.9969 | 0 | 0 | 0
07/21 21:00:00 | 0 | -30440.0167 | 13222.3102 | 0 | -23042.8933 | 9939.2505 | 0 | -13852.904 | 5860.5422 | 0 | -22869.7319 | 10070.0384 | 0 | -14146.4651 | 5499.4615 | 0 | 0 | 0
07/21 22:00:00 | 0 | -22300.5624 | 9985.9481 | 0 | -16744.4206 | 7575.4671 | 0 | -10063.1895 | 4477.937 | 0 | -16594.7738 | 7683.3055 | 0 | -10179.2214 | 4253.4179 | 0 | 0 | 0
07/21 23:00:00 | 0 | -21677.4898 | 10248.6599 | 0 | -16096.8677 | 7778.6862 | 0 | -9643.5735 | 4592.3736 | 0 | -15914.4617 | 7880.9623 | 0 | -9790.7809 | 4441.1553 | 0 | 0 | 0
07/21 24:00:00 | 0 | -22812.0214 | 10325.9391 | 0 | -17167.5744 | 8005.017 | 0 | -10313.6507 | 4753.6944 | 0 | -16999.3129 | 8131.2241 | 0 | -10443.5246 | 4625.7789 | 0 | 0 | 0

## 45
Date/Time | CORE_ZN:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly)
01/20 01:00:00 | 0 | -12470.121 | 20734.8442 | 0 | -6407.4399 | 19823.9988 | 0 | -3737.5861 | 12179.1116 | 0 | -6304.6673 | 20307.8201 | 0 | -3735.0891 | 12188.1676 | 0 | 0 | 0
01/20 02:00:00 | 0 | -12546.9314 | 21165.2867 | 0 | -6126.2713 | 20291.4744 | 0 | -3554.903 | 12478.262 | 0 | -6018.4205 | 20751.1693 | 0 | -3551.0718 | 12489.9445 | 0 | 0 | 0
01/20 03:00:00 | 0 | -12358.3833 | 21366.1038 | 0 | -5799.8657 | 20838.7546 | 0 | -3345.51 | 12818.617 | 0 | -5696.6352 | 21286.8328 | 0 | -3340.4843 | 12830.2626 | 0 | 0 | 0
01/20 04:00:00 | 0 | -12164.7691 | 21570.5799 | 0 | -5570.988 | 21105.8982 | 0 | -3203.4464 | 12982.2809 | 0 | -5472.2504 | 21550.746 | 0 | -3197.9765 | 12994.0767 | 0 | 0 | 0
01/20 05:00:00 | 0 | -12098.2109 | 21702.6182 | 0 | -5461.1908 | 21010.8245 | 0 | -3142.5899 | 12934.8041 | 0 | -5366.9212 | 21457.4026 | 0 | -3136.6516 | 12949.1137 | 0 | 0 | 0
01/20 06:00:00 | 0 | -13418.6552 | 21999.8847 | 0 | -5336.5498 | 20900.3879 | 0 | -3073.2906 | 12885.328 | 0 | -5251.1522 | 21359.8471 | 0 | -3067.3282 | 12901.0618 | 0 | 0 | 0
01/20 07:00:00 | 90.6453 | -542.1948 | 13643.6235 | 3370.6203 | 3279.1331 | 14693.5471 | 1972.8298 | 1951.9905 | 8809.7817 | 3198.0801 | 3114.2539 | 14526.5516 | 1968.5282 | 1955.5518 | 8814.515 | 0 | 0 | 0
01/20 08:00:00 | 291.6087 | 171.0392 | 8041.6853 | 3615.2453 | 3615.2453 | 10573.9214 | 838.1651 | 838.1651 | 4898.4314 | 1336.6426 | 1336.6426 | 8047.3322 | 856.3079 | 856.3079 | 4921.2409 | 0 | 0 | 0
01/20 09:00:00 | 0 | -1103.4583 | 10333.6748 | 394.628 | 394.628 | 9798.705 | 116.4619 | 116.4619 | 5760.6906 | 169.1187 | 169.1187 | 9576.5244 | 144.4264 | 144.4264 | 5800.9639 | 0 | 0 | 0
01/20 10:00:00 | 0 | -1256.9593 | 9972.9235 | 87.0686 | 84.1396 | 9310.279 | 0 | -66.2421 | 5473.9987 | 0 | -115.0357 | 9136.9855 | 54.0159 | -0.070767 | 5556.7338 | 0 | 0 | 0
01/20 11:00:00 | 0 | -1357.6447 | 9705.9549 | 0 | -128.1331 | 8945.9673 | 0 | -171.9925 | 5291.6727 | 0 | -302.4938 | 8824.1456 | 0 | -144.0382 | 5338.9407 | 0 | 0 | 0
01/20 12:00:00 | 0 | -1424.5714 | 4890.7278 | 0 | -285.4044 | 5164.1084 | 0 | -240.5231 | 3099.3836 | 0 | -437.0311 | 5101.7561 | 0 | -221.6311 | 3132.8952 | 0 | 0 | 0
01/20 13:00:00 | 0 | -1124.9913 | 5860.5247 | 1587.5721 | 1587.5721 | 7645.0046 | 0 | -151.5359 | 3484.6744 | 0 | -279.0544 | 5761.2435 | 0 | -137.8801 | 3510.8229 | 0 | 0 | 0
01/20 14:00:00 | 0 | -2041.7666 | 12569.1659 | 0 | -3639.9496 | 7822.1811 | 0 | -388.5997 | 6595.9433 | 0 | -628.8622 | 11092.896 | 0 | -589.5385 | 6324.4434 | 0 | 0 | 0
01/20 15:00:00 | 0 | -2401.1047 | 4775.0805 | 0 | -3981.7544 | 1651.0008 | 0 | -510.0688 | 3006.0468 | 0 | -712.8756 | 5120.6041 | 0 | -1390.8688 | 2067.903 | 0 | 0 | 0
01/20 16:00:00 | 0 | -4919.376 | 10017.8919 | 0 | -7068.8184 | 3977.7045 | 0 | -908.1104 | 6061.9996 | 0 | -779.3571 | 10760.0025 | 0 | -3953.8461 | 3005.1345 | 0 | 0 | 0
01/20 17:00:00 | 0 | -5463.7305 | 10212.9897 | 0 | -4855.5103 | 6880.0112 | 0 | -775.4282 | 6495.4856 | 0 | -740.9474 | 11350.2394 | 0 | -3912.0706 | 3308.2053 | 0 | 0 | 0
01/20 18:00:00 | 0 | -1344.3548 | 15359.853 | 1580.413 | 1527.7556 | 14928.8392 | 50.7784 | 27.3114 | 7976.6251 | 72.2582 | 72.2582 | 13451.4156 | 0 | -963.7493 | 6712.5706 | 0 | 0 | 0
01/20 19:00:00 | 0 | -267.5518 | 26309.1782 | 304.4145 | 304.4145 | 21206.8945 | 301.0283 | 301.0283 | 14182.4519 | 545.2633 | 545.2633 | 23862.1085 | 51.368 | 49.0254 | 12616.214 | 0 | 0 | 0
01/20 20:00:00 | 0 | -16433.1653 | 23259.5747 | 0 | -10971.959 | 18692.633 | 0 | -6278.018 | 12332.4607 | 0 | -10438.4704 | 20707.4708 | 0 | -6446.0229 | 11434.2842 | 0 | 0 | 0
01/20 21:00:00 | 0 | -13398.2895 | 19391.0807 | 0 | -8410.5391 | 16414.2925 | 0 | -4619.1869 | 10769.9975 | 0 | -7662.2606 | 18066.123 | 0 | -4915.1991 | 10163.1849 | 0 | 0 | 0
01/20 22:00:00 | 0 | -13147.8009 | 19627.6746 | 0 | -8109.8194 | 17502.1175 | 0 | -4397.9006 | 11325.5267 | 0 | -7324.3935 | 18948.0479 | 0 | -4704.0201 | 10829.6718 | 0 | 0 | 0
01/20 23:00:00 | 0 | -12752.6391 | 19858.0592 | 0 | -7506.6632 | 18154.2317 | 0 | -4090.6423 | 11770.9103 | 0 | -6862.5219 | 19714.8583 | 0 | -4361.0924 | 11302.5219 | 0 | 0 | 0
01/20 24:00:00 | 0 | -12053.9229 | 20055.3112 | 0 | -6915.3814 | 19325.0294 | 0 | -3688.0528 | 12258.9261 | 0 | -6192.7816 | 20388.3473 | 0 | -3966.5748 | 11934.7009 | 0 | 0 | 0
07/21 01:00:00 | 0 | -23480.4918 | 10090.8795 | 0 | -17279.4877 | 8051.1809 | 0 | -10339.5891 | 4837.4674 | 0 | -17128.5556 | 8190.4037 | 0 | -10634.9071 | 4453.5256 | 0 | 0 | 0
07/21 02:00:00 | 0 | -24301.2787 | 9937.4386 | 0 | -17050.5669 | 8256.0319 | 0 | -10192.229 | 4962.958 | 0 | -16897.0767 | 8386.5174 | 0 | -10449.2598 | 4620.9688 | 0 | 0 | 0
07/21 03:00:00 | 0 | -25580.2345 | 9769.5691 | 0 | -16898.1274 | 8432.2255 | 0 | -10094.7808 | 5073.5233 | 0 | -16740.6462 | 8553.3419 | 0 | -10329.1269 | 4767.0453 | 0 | 0 | 0
07/21 04:00:00 | 0 | -25603.7236 | 9753.9128 | 0 | -16714.6818 | 8604.3357 | 0 | -9974.8433 | 5181.0453 | 0 | -16553.6062 | 8714.9069 | 0 | -10192.6599 | 4905.3555 | 0 | 0 | 0
07/21 05:00:00 | 0 | -25576.7395 | 9789.7786 | 0 | -16516.1924 | 8734.6427 | 0 | -9860.855 | 5160.1575 | 0 | -16368.3628 | 8764.8624 | 0 | -10046.6521 | 5013.3801 | 0 | 0 | 0
07/21 06:00:00 | -2412.0056 | -17411.1766 | -2412.0056 | -620.985 | -11822.1836 | -609.946 | -842.2373 | -7881.3474 | -834.8397 | -759.3876 | -12054.8849 | -759.3876 | -473.8018 | -7191.4533 | -427.5796 | 0 | 0 | 0
07/21 07:00:00 | -1101.6301 | -22677.6418 | -1101.6301 | -364.5849 | -16898.7768 | -364.5849 | -1353.5705 | -11805.6177 | -1353.5705 | -694.2607 | -17171.5065 | -694.2607 | -416.4928 | -10210.3023 | -416.4928 | 0 | 0 | 0
07/21 08:00:00 | -1986.2825 | -26791.0561 | -1986.2825 | -1470.0249 | -20453.9801 | -1470.0249 | -2192.4643 | -14193.8803 | -2192.4643 | -1507.7474 | -20511.8526 | -1507.7474 | -897.8471 | -12217.8867 | -897.8471 | 0 | 0 | 0
07/21 09:00:00 | -2094.354 | -26310.2906 | -2094.354 | -1662.975 | -20317.1519 | -1662.975 | -2389.7987 | -14125.5002 | -2389.7987 | -1685.8269 | -20327.8978 | -1685.8269 | -1004.1456 | -12112.7405 | -1004.1456 | 0 | 0 | 0
07/21 10:00:00 | -2188.1006 | -20436.8894 | -2188.1006 | -1857.9774 | -16067.9759 | -1857.9774 | -2148.0053 | -11110.6285 | -2148.0053 | -1842.9478 | -16020.3164 | -1842.9478 | -1105.4066 | -9574.2662 | -1105.4066 | 0 | 0 | 0
07/21 11:00:00 | -2258.2274 | -19817.9264 | -2258.2274 | -2072.2194 | -15855.3325 | -2072.2194 | -1775.4258 | -10276.4596 | -1775.4258 | -1954.0234 | -15638.7268 | -1954.0234 | -1185.0305 | -9370.6396 | -1185.0305 | 0 | 0 | 0
07/21 12:00:00 | -1997.0531 | -11210.5526 | -1997.0531 | -2314.7685 | -10084.9759 | -2314.7685 | -1474.3949 | -6130.6138 | -1474.3949 | -1819.2696 | -9210.0599 | -1819.2696 | -1109.2939 | -5565.836 | -1109.2939 | 0 | 0 | 0
07/21 13:00:00 | -2334.9759 | -11598.5774 | -2334.9759 | -2451.8942 | -10096.639 | -2451.8942 | -1566.0346 | -6204.6716 | -1566.0346 | -2132.1975 | -9584.1937 | -2132.1975 | -1297.6212 | -5791.6064 | -1297.6212 | 0 | 0 | 0
07/21 14:00:00 | -2388.6469 | -11697.7953 | -2388.6469 | -2479.1072 | -10146.2958 | -2479.1072 | -1539.9388 | -6169.5793 | -1539.9388 | -2190.4208 | -9684.298 | -2190.4208 | -1443.1747 | -6009.2304 | -1443.1747 | 0 | 0 | 0
07/21 15:00:00 | -2399.7466 | -29197.7844 | -2399.7466 | -2414.0262 | -23302.7751 | -2414.0262 | -1501.3724 | -13973.8658 | -1501.3724 | -2184.9239 | -22933.5685 | -2184.9239 | -1598.3091 | -14108.4875 | -1598.3091 | 0 | 0 | 0
07/21 16:00:00 | -2361.0669 | -23819.3192 | -2361.0669 | -2307.5161 | -19124.3604 | -2307.5161 | -1435.7248 | -11488.4691 | -1435.7248 | -2125.9871 | -18818.2664 | -2125.9871 | -1510.7195 | -11602.1684 | -1510.7195 | 0 | 0 | 0
07/21 17:00:00 | -1402.7647 | -24257.6828 | -1402.7647 | -1375.3233 | -19429.2518 | -1375.3233 | -909.7378 | -11564.727 | -909.7378 | -1298.1003 | -19016.329 | -1298.1003 | -941.0975 | -11613.5157 | -941.0975 | 0 | 0 | 0
07/21 18:00:00 | 0 | -19925.8381 | 25815.335 | 0 | -15988.8116 | 19205.8932 | 0 | -10131.8797 | 11088.0981 | 0 | -15732.9636 | 19361.3106 | 0 | -10412.9519 | 10799.393 | 0 | 0 | 0
07/21 19:00:00 | 0 | -38179.194 | 16642.2476 | 0 | -29194.2851 | 12225.8227 | 0 | -17828.9913 | 7170.4993 | 0 | -29193.4259 | 12351.4733 | 0 | -18670.6504 | 6460.1223 | 0 | 0 | 0
07/21 20:00:00 | 0 | -38300.1618 | 16569.9963 | 0 | -29050.8231 | 12487.873 | 0 | -17430.3731 | 7300.9348 | 0 | -28997.6968 | 12537.9421 | 0 | -18084.3704 | 6684.1078 | 0 | 0 | 0
07/21 21:00:00 | 0 | -30400.5566 | 13294.2062 | 0 | -22696.4899 | 10147.5393 | 0 | -13663.7511 | 5968.0114 | 0 | -22602.8655 | 10231.4488 | 0 | -14003.3089 | 5634.9296 | 0 | 0 | 0
07/21 22:00:00 | 0 | -22264.7962 | 10053.5942 | 0 | -16421.505 | 7732.8562 | 0 | -9884.1799 | 4560.185 | 0 | -16336.5163 | 7806.4552 | 0 | -9959.0736 | 4327.1592 | 0 | 0 | 0
07/21 23:00:00 | 0 | -21634.5843 | 10326.9857 | 0 | -15725.9283 | 7925.0165 | 0 | -9427.134 | 4664.5851 | 0 | -15616.8876 | 7999.4704 | 0 | -9557.7274 | 4515.7969 | 0 | 0 | 0
07/21 24:00:00 | 0 | -22746.1715 | 10412.1452 | 0 | -16836.8353 | 8220.4976 | 0 | -10124.6396 | 4866.374 | 0 | -16731.4147 | 8303.5619 | 0 | -10245.6737 | 4742.7732 | 0 | 0 | 0

## 90
Date/Time | CORE_ZN:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly)
01/20 01:00:00 | 0 | -12451.6653 | 20750.7036 | 0 | -6369.0925 | 19883.5292 | 0 | -3716.12 | 12211.6453 | 0 | -6272.5617 | 20359.5477 | 0 | -3713.098 | 12221.381 | 0 | 0 | 0
01/20 02:00:00 | 0 | -12527.3811 | 21182.896 | 0 | -6086.3998 | 20354.563 | 0 | -3532.3621 | 12512.1108 | 0 | -5984.5492 | 20804.7451 | 0 | -3527.977 | 12524.6641 | 0 | 0 | 0
01/20 03:00:00 | 0 | -12337.6973 | 21384.5489 | 0 | -5757.6601 | 20899.8813 | 0 | -3321.7045 | 12851.6658 | 0 | -5660.8951 | 21339.5538 | 0 | -3316.0947 | 12864.1738 | 0 | 0 | 0
01/20 04:00:00 | 0 | -12143.0087 | 21589.7869 | 0 | -5527.1489 | 21168.0142 | 0 | -3178.6906 | 13015.9615 | 0 | -5435.0511 | 21604.4663 | 0 | -3172.6335 | 13028.6446 | 0 | 0 | 0
01/20 05:00:00 | 0 | -12075.1359 | 21722.6644 | 0 | -5417.3495 | 21078.0844 | 0 | -3117.6619 | 12970.9 | 0 | -5329.3026 | 21514.2267 | 0 | -3111.1182 | 12986.2104 | 0 | 0 | 0
01/20 06:00:00 | 0 | -13394.4215 | 22022.6977 | 0 | -5292.9659 | 20973.0382 | 0 | -3048.1523 | 12923.3666 | 0 | -5213.237 | 21419.5363 | 0 | -3041.5904 | 12940.162 | 0 | 0 | 0
01/20 07:00:00 | 97.321 | -524.9508 | 13661.7726 | 3413.6352 | 3330.9834 | 14753.3104 | 1995.3243 | 1972.2007 | 8834.1157 | 3234.4493 | 3158.1536 | 14576.9048 | 1991.4564 | 1977.3354 | 8840.5232 | 0 | 0 | 0
01/20 08:00:00 | 65.317 | -56.0699 | 7822.2738 | 3634.7831 | 3634.7831 | 10600.0104 | 849.2637 | 849.2637 | 4913.1848 | 1353.1745 | 1353.1745 | 8069.2582 | 867.734 | 867.734 | 4936.3734 | 0 | 0 | 0
01/20 09:00:00 | 0 | -1103.9861 | 9574.583 | 410.8503 | 410.8503 | 9243.6966 | 125.6108 | 125.6108 | 5430.7038 | 182.8746 | 182.8746 | 9017.7361 | 153.9058 | 153.9058 | 5471.3133 | 0 | 0 | 0
01/20 10:00:00 | 0 | -1253.3655 | 9981.7794 | 199.3981 | 199.0871 | 9434.1724 | 54.174 | -21.1325 | 5522.3267 | 112.9802 | -30.2483 | 9227.2842 | 7.5871 | -26.1834 | 5535.7164 | 0 | 0 | 0
01/20 11:00:00 | 0 | -1354.4583 | 9715.2835 | 8.1577 | -145.2143 | 8934.9468 | 0 | -163.9977 | 5304.4267 | 0 | -290.5989 | 8842.8065 | 0 | -136.6275 | 5350.3606 | 0 | 0 | 0
01/20 12:00:00 | 0 | -1421.7854 | 4900.7852 | 0 | -272.4499 | 5187.3697 | 0 | -233.1326 | 3111.7387 | 0 | -426.0296 | 5119.9799 | 0 | -214.3962 | 3144.7122 | 0 | 0 | 0
01/20 13:00:00 | 0 | -1122.429 | 5871.0641 | 1598.2684 | 1598.2684 | 7670.2978 | 0 | -144.4922 | 3496.8752 | 0 | -268.6192 | 5779.1989 | 0 | -130.9718 | 3522.6342 | 0 | 0 | 0
01/20 14:00:00 | 0 | -2028.6382 | 12584.9611 | 0 | -3593.2819 | 7868.9499 | 0 | -381.917 | 6607.3659 | 0 | -619.1015 | 11110.692 | 0 | -578.7658 | 6339.572 | 0 | 0 | 0
01/20 15:00:00 | 0 | -2391.8078 | 4784.8058 | 0 | -3949.621 | 1683.0765 | 0 | -497.3319 | 3020.8467 | 0 | -703.6088 | 5138.2678 | 0 | -1375.7314 | 2081.7535 | 0 | 0 | 0
01/20 16:00:00 | 0 | -4897.7684 | 10039.5792 | 0 | -7004.1932 | 4049.0582 | 0 | -872.0328 | 6096.8567 | 0 | -770.3286 | 10779.791 | 0 | -3918.7555 | 3039.3697 | 0 | 0 | 0
01/20 17:00:00 | 0 | -5438.8728 | 10237.7068 | 0 | -4776.3299 | 6961.5823 | 0 | -736.1726 | 6533.0896 | 0 | -731.5954 | 11360.7179 | 0 | -3871.2784 | 3349.4051 | 0 | 0 | 0
01/20 18:00:00 | 0 | -1333.9416 | 15364.9413 | 1597.8171 | 1549.8459 | 14938.95 | 21.8068 | 14.5632 | 7968.6773 | 82.3974 | 82.3974 | 13466.2688 | 0 | -928.7809 | 6742.5125 | 0 | 0 | 0
01/20 19:00:00 | 0 | -265.075 | 26301.084 | 316.068 | 316.068 | 21177.4067 | 309.1436 | 309.1436 | 14212.5338 | 556.0217 | 556.0217 | 23895.5847 | 113.8701 | 92.5511 | 12805.9356 | 0 | 0 | 0
01/20 20:00:00 | 0 | -16426.1967 | 23272.4856 | 0 | -10942.3837 | 18738.4586 | 0 | -6263.7309 | 12357.8949 | 0 | -10419.3057 | 20745.4007 | 0 | -6447.7209 | 11499.7128 | 0 | 0 | 0
01/20 21:00:00 | 0 | -13386.9097 | 19404.6202 | 0 | -8401.7775 | 16518.0395 | 0 | -4603.2996 | 10800.3878 | 0 | -7640.833 | 18111.3088 | 0 | -4901.9499 | 10208.972 | 0 | 0 | 0
01/20 22:00:00 | 0 | -13133.8052 | 19642.2594 | 0 | -8075.3725 | 17564.4286 | 0 | -4379.0078 | 11355.2646 | 0 | -7298.7039 | 18992.3595 | 0 | -4683.7318 | 10864.7981 | 0 | 0 | 0
01/20 23:00:00 | 0 | -12736.607 | 19873.3359 | 0 | -7464.7411 | 18205.6355 | 0 | -4068.6739 | 11797.4737 | 0 | -6833.2638 | 19757.5294 | 0 | -4335.7932 | 11328.1991 | 0 | 0 | 0
01/20 24:00:00 | 0 | -12036.0105 | 20070.4154 | 0 | -6877.712 | 19394.3474 | 0 | -3666.5486 | 12291.3563 | 0 | -6162.2137 | 20433.0194 | 0 | -3942.3981 | 11967.0602 | 0 | 0 | 0
07/21 01:00:00 | 0 | -23478.7924 | 10093.1658 | 0 | -17264.8858 | 8058.5171 | 0 | -10331.4368 | 4841.3126 | 0 | -17116.7406 | 8196.1396 | 0 | -10625.8469 | 4457.4522 | 0 | 0 | 0
07/21 02:00:00 | 0 | -24298.9081 | 9940.2878 | 0 | -17034.7834 | 8264.2014 | 0 | -10183.3518 | 4967.2567 | 0 | -16884.1543 | 8392.9223 | 0 | -10439.5164 | 4625.3229 | 0 | 0 | 0
07/21 03:00:00 | 0 | -25577.1406 | 9772.9832 | 0 | -16881.6139 | 8441.2165 | 0 | -10085.4214 | 5078.2874 | 0 | -16726.9599 | 8560.4144 | 0 | -10319.0582 | 4771.8923 | 0 | 0 | 0
07/21 04:00:00 | 0 | -25600.126 | 9757.8325 | 0 | -16696.6634 | 8614.1215 | 0 | -9964.5944 | 5186.2103 | 0 | -16538.5335 | 8722.5981 | 0 | -10181.8009 | 4910.6589 | 0 | 0 | 0
07/21 05:00:00 | 0 | -25572.6161 | 9794.2262 | 0 | -16496.7828 | 8744.9926 | 0 | -9850.2796 | 5165.5148 | 0 | -16352.5683 | 8772.8983 | 0 | -10035.0616 | 5018.994 | 0 | 0 | 0
07/21 06:00:00 | -2407.9707 | -17405.0766 | -2407.9707 | -615.1523 | -11811.0124 | -602.3451 | -839.01 | -7875.3032 | -830.7727 | -754.2753 | -12044.0748 | -754.2753 | -470.6598 | -7180.5109 | -422.9393 | 0 | 0 | 0
07/21 07:00:00 | -1100.5769 | -22673.819 | -1100.5769 | -361.5511 | -16894.0101 | -361.5511 | -1351.5328 | -11802.6364 | -1351.5328 | -691.7503 | -17165.4741 | -691.7503 | -414.6136 | -10202.4979 | -414.6136 | 0 | 0 | 0
07/21 08:00:00 | -1985.3569 | -26788.5872 | -1985.3569 | -1467.0422 | -20444.6214 | -1467.0422 | -2191.2388 | -14192.1917 | -2191.2388 | -1505.434 | -20505.9799 | -1505.434 | -896.1316 | -12213.611 | -896.1316 | 0 | 0 | 0
07/21 09:00:00 | -2093.5763 | -26308.5799 | -2093.5763 | -1660.5752 | -20312.3127 | -1660.5752 | -2389.149 | -14124.5912 | -2389.149 | -1683.9651 | -20324.2059 | -1683.9651 | -1002.7542 | -12109.9713 | -1002.7542 | 0 | 0 | 0
07/21 10:00:00 | -2187.4578 | -20435.5719 | -2187.4578 | -1856.3397 | -16064.9043 | -1856.3397 | -2147.7318 | -11110.1858 | -2147.7318 | -1841.6502 | -16017.9011 | -1841.6502 | -1104.4172 | -9572.433 | -1104.4172 | 0 | 0 | 0
07/21 11:00:00 | -2257.7131 | -19816.9181 | -2257.7131 | -2071.3266 | -15853.6889 | -2071.3266 | -1775.1533 | -10276.0528 | -1775.1533 | -1953.0958 | -15637.0849 | -1953.0958 | -1184.3157 | -9369.3791 | -1184.3157 | 0 | 0 | 0
07/21 12:00:00 | -1996.642 | -11209.7505 | -1996.642 | -2314.6156 | -10084.4717 | -2314.6156 | -1474.154 | -6130.2283 | -1474.154 | -1818.7699 | -9209.0879 | -1818.7699 | -1108.881 | -5565.0639 | -1108.881 | 0 | 0 | 0
07/21 13:00:00 | -2334.6639 | -11597.9821 | -2334.6639 | -2452.318 | -10097.0141 | -2452.318 | -1566.0471 | -6204.6301 | -1566.0471 | -2132.1081 | -9583.8876 | -2132.1081 | -1297.5003 | -5791.3081 | -1297.5003 | 0 | 0 | 0
07/21 14:00:00 | -2388.4132 | -11697.3588 | -2388.4132 | -2479.496 | -10146.715 | -2479.496 | -1540.0343 | -6169.6662 | -1540.0343 | -2190.4777 | -9684.2577 | -2190.4777 | -1443.4936 | -6009.5352 | -1443.4936 | 0 | 0 | 0
07/21 15:00:00 | -2399.5601 | -29197.4416 | -2399.5601 | -2413.9906 | -23302.6755 | -2413.9906 | -1501.3638 | -13973.8343 | -1501.3638 | -2184.8517 | -22933.4008 | -2184.8517 | -1598.5908 | -14108.8044 | -1598.5908 | 0 | 0 | 0
07/21 16:00:00 | -2360.8904 | -23818.9941 | -2360.8904 | -2307.2754 | -19123.9713 | -2307.2754 | -1435.6055 | -11488.2854 | -1435.6055 | -2125.7756 | -18817.9051 | -2125.7756 | -1510.7024 | -11602.1185 | -1510.7024 | 0 | 0 | 0
07/21 17:00:00 | -1402.5921 | -24257.3437 | -1402.5921 | -1374.6487 | -19428.1817 | -1374.6487 | -909.3772 | -11564.1693 | -909.3772 | -1297.547 | -19015.4057 | -1297.547 | -940.7457 | -11612.9901 | -940.7457 | 0 | 0 | 0
07/21 18:00:00 | 0 | -19925.1155 | 25815.8605 | 0 | -15987.4087 | 19211.1028 | 0 | -10129.9827 | 11090.4264 | 0 | -15730.6588 | 19364.737 | 0 | -10410.7627 | 10800.5853 | 0 | 0 | 0
07/21 19:00:00 | 0 | -38178.1962 | 16643.6881 | 0 | -29185.0191 | 12230.9853 | 0 | -17824.1442 | 7173.4579 | 0 | -29188.9846 | 12355.4995 | 0 | -18666.001 | 6462.4739 | 0 | 0 | 0
07/21 20:00:00 | 0 | -38298.6437 | 16572.0382 | 0 | -29038.7368 | 12494.9972 | 0 | -17423.5287 | 7304.585 | 0 | -28989.3982 | 12543.4945 | 0 | -18078.5615 | 6688.0061 | 0 | 0 | 0
07/21 21:00:00 | 0 | -30399.2671 | 13296.4734 | 0 | -22683.434 | 10153.6671 | 0 | -13656.6449 | 5971.2624 | 0 | -22592.7331 | 10236.2622 | 0 | -13997.7489 | 5639.0285 | 0 | 0 | 0
07/21 22:00:00 | 0 | -22263.6078 | 10055.746 | 0 | -16409.3061 | 7737.3274 | 0 | -9877.3477 | 4562.5319 | 0 | -16326.7591 | 7809.9982 | 0 | -9951.835 | 4329.547 | 0 | 0 | 0
07/21 23:00:00 | 0 | -21633.138 | 10329.483 | 0 | -15711.1644 | 7928.5312 | 0 | -9418.6635 | 4666.3546 | 0 | -15605.6469 | 8002.6895 | 0 | -9548.7448 | 4517.6037 | 0 | 0 | 0
07/21 24:00:00 | 0 | -22744.0125 | 10414.9095 | 0 | -16825.0608 | 8226.9999 | 0 | -10117.6192 | 4869.7245 | 0 | -16721.6806 | 8308.8132 | 0 | -10238.4395 | 4746.231 | 0 | 0 | 0

## Final
Date/Time | Baseline |  |  | 0 |  |  | 45 |  |  | 90
| Heating | Cooling | Total | Heating | Cooling | Total | Heating | Cooling | Total | Heating | Cooling | Total
01/20 01:00:00 | -29637.2425 | 89348.3681 | 0 | -36608.7048 | 78701.5276 | 0 | -32654.9034 | 85233.9424 | 0 | -32522.5375 | 85426.8067 | 0
01/20 02:00:00 | -28635.6 | 91594.8653 | 0 | -35992.3373 | 80496.1014 | 0 | -31797.598 | 87176.1369 | 0 | -31658.6692 | 87378.979 | 0
01/20 03:00:00 | -27208.3164 | 93502.2674 | 0 | -35013.7232 | 82653.2901 | 0 | -30540.8785 | 89140.5708 | 0 | -30394.0516 | 89339.8236 | 0
01/20 04:00:00 | -26134.4914 | 94667.2526 | 0 | -34264.4068 | 83620.8838 | 0 | -29609.4304 | 90203.5817 | 0 | -29456.5329 | 90406.8735 | 0
01/20 05:00:00 | -25671.6873 | 94855.2954 | 0 | -33895.6294 | 83049.7197 | 0 | -29205.5644 | 90054.763 | 0 | -29050.5681 | 90272.0858 | 0
01/20 06:00:00 | -26559.8914 | 95167.203 | 0 | -34894.9423 | 82691.6123 | 0 | -30146.976 | 90046.5095 | 0 | -29990.3671 | 90278.8008 | 0
01/20 07:00:00 | 13476.3088 | 67321.9235 | 50163.274 | 4116.5341 | 46237.9602 | 20794.8644 | 9758.7345 | 60488.0189 | 38162.5334 | 9913.7223 | 60666.6267 | 38635.8701
01/20 08:00:00 | 8088.1711 | 35662.8288 | 29283.7764 | 4619.7028 | 33364.8788 | 17765.8282 | 6817.4 | 36482.6112 | 24976.6902 | 6648.8854 | 36341.1006 | 24372.9803
01/20 09:00:00 | 904.2833 | 40357.3427 | 6871.9924 | -1914.66 | 36073.7266 | 22.9418 | -278.8233 | 41270.5588 | 2968.686 | -230.7447 | 38738.0327 | 3143.6693
01/20 10:00:00 | -387.717 | 40937.7489 | 2839.132 | -2807.2508 | 36921.5308 | 0 | -1354.1683 | 39450.9205 | 507.9042 | -1131.8427 | 39701.279 | 1346.9017
01/20 11:00:00 | -1184.0608 | 39563.1291 | 767.1624 | -3389.2116 | 35601.717 | 0 | -2104.3022 | 38106.6812 | 0 | -2090.8967 | 38147.8241 | 29.3679
01/20 12:00:00 | -1772.7133 | 22812.8277 | 12.1545 | -3859.0976 | 18782.9993 | 0 | -2609.1611 | 21388.8711 | 0 | -2567.7937 | 21464.5857 | 0
01/20 13:00:00 | 720.3783 | 35507.5991 | 6830.8274 | -1223.746 | 23683.8554 | 4582.7039 | -105.8896 | 26262.27 | 5715.2595 | -68.2437 | 26340.0702 | 5753.7663
01/20 14:00:00 | -6133.1318 | 45920.0389 | 0 | -10651.8059 | 40446.9883 | 0 | -7288.7167 | 44404.6296 | 0 | -7201.7043 | 44511.5408 | 0
01/20 15:00:00 | -8067.304 | 17801.1751 | 0 | -11761.2546 | 13529.9834 | 0 | -8996.6724 | 16620.6353 | 0 | -8918.1009 | 16708.7504 | 0
01/20 16:00:00 | -15740.6105 | 35931.3149 | 0 | -24031.8338 | 27343.0304 | 0 | -17629.5079 | 33822.7329 | 0 | -17463.0785 | 34004.6547 | 0
01/20 17:00:00 | -13383.6457 | 40917.4091 | 0 | -22724.2528 | 31087.464 | 0 | -15747.687 | 38246.9311 | 0 | -15554.249 | 38442.5017 | 0
01/20 18:00:00 | 559.1643 | 59609.2371 | 8261.0047 | -3964.6151 | 55094.3847 | 3873.1447 | -680.779 | 58429.3036 | 6132.4184 | -615.9159 | 58481.3498 | 6127.2768
01/20 19:00:00 | 1767.9537 | 100970.8381 | 7185.9786 | -164.1226 | 104792.9169 | 1594.7576 | 932.1797 | 98176.847 | 4327.4669 | 1008.7094 | 98392.5448 | 4662.3721
01/20 20:00:00 | -53642.5313 | 98139.711 | 0 | -42915.9892 | 65971.8756 | 0 | -50567.6356 | 86426.4235 | 0 | -50499.338 | 86613.9526 | 0
01/20 21:00:00 | -36867.364 | 78210.8618 | 0 | -41798.8684 | 68781.503 | 0 | -39005.4752 | 74804.6786 | 0 | -38934.7699 | 75043.3282 | 0
01/20 22:00:00 | -35171.4223 | 81635.328 | 0 | -40718.0819 | 71783.6571 | 0 | -37683.9345 | 78233.0385 | 0 | -37570.6211 | 78419.1103 | 0
01/20 23:00:00 | -32841.9237 | 84376.2264 | 0 | -39299.2806 | 75076.8456 | 0 | -35573.5589 | 80800.5814 | 0 | -35439.079 | 80962.1737 | 0
01/20 24:00:00 | -30014.3597 | 88073.6796 | 0 | -36806.0445 | 78161.8086 | 0 | -32816.7136 | 83962.3149 | 0 | -32684.8829 | 84156.1987 | 0
07/21 01:00:00 | -77949.8324 | 35749.2262 | 0 | -80092.1275 | 34872.5212 | 0 | -78863.0314 | 35623.4571 | 0 | -78817.7025 | 35646.5874 | 0
07/21 02:00:00 | -77852.5963 | 36382.9671 | 0 | -80248.0245 | 35317.3888 | 0 | -78890.411 | 36163.9148 | 0 | -78840.7139 | 36189.9911 | 0
07/21 03:00:00 | -78540.0141 | 36912.2289 | 0 | -81103.0045 | 35652.3082 | 0 | -79642.9159 | 36595.7051 | 0 | -79590.194 | 36624.7937 | 0
07/21 04:00:00 | -77798.2291 | 37560.3311 | 0 | -80646.0455 | 36122.6611 | 0 | -79039.5149 | 37159.5562 | 0 | -78981.7182 | 37191.4213 | 0
07/21 05:00:00 | -77017.2365 | 37876.1661 | 0 | -80104.1831 | 36368.9798 | 0 | -78368.8018 | 37462.8213 | 0 | -78307.3083 | 37496.6259 | 0
07/21 06:00:00 | -55903.5801 | -4719.9407 | -17502.802 | -57744.9467 | -5820.2799 | -21013.7934 | -56361.0458 | -5043.7585 | -18390.3025 | -56315.9778 | -5018.3031 | -18313.4452
07/21 07:00:00 | -78778.9265 | -3938.066 | -14177.0376 | -79774.8672 | -4276.5405 | -15395.5458 | -78763.8452 | -3930.539 | -14149.9404 | -78738.4374 | -3920.0246 | -14112.0887
07/21 08:00:00 | -94242.5258 | -8119.9162 | -29231.6985 | -94820.0519 | -8345.6423 | -30044.3123 | -94168.6558 | -8054.3662 | -28995.7183 | -94144.9912 | -8045.2035 | -28962.7325
07/21 09:00:00 | -93426.4172 | -8999.4601 | -32398.0565 | -93625.2846 | -9065.2954 | -32635.0635 | -93193.581 | -8837.1001 | -31813.5604 | -93179.6611 | -8830.0197 | -31788.0708
07/21 10:00:00 | -73653.8721 | -9454.1605 | -34034.978 | -73501.7821 | -9303.3022 | -33491.888 | -73210.0764 | -9142.4378 | -32912.776 | -73200.9962 | -9137.5966 | -32895.3478
07/21 11:00:00 | -71564.9959 | -9659.0972 | -34772.7499 | -71159.5198 | -9359.9669 | -33695.8808 | -70959.0849 | -9244.9266 | -33281.7357 | -70953.1237 | -9241.6045 | -33269.7763
07/21 12:00:00 | -42864.3024 | -9168.6402 | -33007.1047 | -42327.7081 | -8782.471 | -31616.8957 | -42202.0383 | -8714.78 | -31373.2079 | -42198.6023 | -8713.0625 | -31367.0252
07/21 13:00:00 | -44004.6947 | -10289.6953 | -37042.9031 | -43324.7427 | -9801.9947 | -35287.181 | -43275.688 | -9782.7235 | -35217.8044 | -43274.822 | -9782.6374 | -35217.4947
07/21 14:00:00 | -44482.6885 | -10584.0305 | -38102.5099 | -43720.0465 | -10039.0242 | -36140.4871 | -43707.1989 | -10041.2884 | -36148.6381 | -43707.5328 | -10041.9148 | -36150.8934
07/21 15:00:00 | -104163.1217 | -10541.2254 | -37948.4116 | -103547.6449 | -10114.4141 | -36411.8908 | -103516.4814 | -10098.3783 | -36354.1617 | -103516.1566 | -10098.357 | -36354.0852
07/21 16:00:00 | -85376.0373 | -10086.5244 | -36311.4879 | -84909.2996 | -9775.9765 | -35193.5156 | -84852.5835 | -9741.0145 | -35067.6523 | -84851.2744 | -9740.2493 | -35064.8974
07/21 17:00:00 | -86208.0175 | -6121.3179 | -22036.7444 | -85995.1654 | -5998.16 | -21593.3762 | -85881.5063 | -5927.0235 | -21337.2848 | -85878.0905 | -5924.9107 | -21329.6786
07/21 18:00:00 | -72853.8951 | 85797.9967 | 0 | -72541.4501 | 85937.2536 | 0 | -72192.4448 | 86270.0298 | 0 | -72183.9285 | 86282.7119 | 0
07/21 19:00:00 | -133474.1298 | 54347.1521 | 0 | -133774.3751 | 54327.3018 | 0 | -133066.5468 | 54850.1651 | 0 | -133042.3451 | 54866.1047 | 0
07/21 20:00:00 | -131727.2063 | 55276.2929 | 0 | -132805.6725 | 54850.7709 | 0 | -131863.4252 | 55580.854 | 0 | -131828.8688 | 55603.1209 | 0
07/21 21:00:00 | -102839.9089 | 45168.2495 | 0 | -104352.011 | 44591.6027 | 0 | -103366.972 | 45276.1353 | 0 | -103329.828 | 45296.6935 | 0
07/21 22:00:00 | -74092.9553 | 34393.0638 | 0 | -75882.1678 | 33976.0757 | 0 | -74866.071 | 34480.2498 | 0 | -74828.8556 | 34495.1506 | 0
07/21 23:00:00 | -70885.8144 | 35289.8201 | 0 | -73123.1735 | 34941.8373 | 0 | -71962.2616 | 35431.8546 | 0 | -71917.3576 | 35444.6619 | 0
07/21 24:00:00 | -75892.4162 | 36665.4874 | 0 | -77736.0839 | 35841.6534 | 0 | -76684.7348 | 36545.352 | 0 | -76646.8126 | 36566.6782 | 0