## Base
Date/Time | CORE_ZN:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly)
01/20 01:00:00 | 0 | -19766.1619 | 20494.0254 | 0 | -11893.2719 | 18019.203 | 0 | -6777.173 | 11332.2008 | 0 | -11082.4475 | 19206.1536 | 0 | -6939.111 | 11087.1438 | 0 | 0 | 0
01/20 02:00:00 | 0 | -19721.083 | 21037.7226 | 0 | -11507.7831 | 18432.9961 | 0 | -6507.7924 | 11453.8458 | 0 | -10632.8083 | 19262.2964 | 0 | -6677.1785 | 11278.2919 | 0 | 0 | 0
01/20 03:00:00 | 0 | -16858.7344 | 17402.5991 | 0 | -8837.7308 | 15627.636 | 0 | -5122.2088 | 9889.3292 | 0 | -8404.2894 | 16568.4816 | 0 | -5207.0712 | 9689.8 | 0 | 0 | 0
01/20 04:00:00 | 0 | -17382.9394 | 17705.6866 | 0 | -8615.5191 | 16247.9836 | 0 | -4945.7912 | 10109.09 | 0 | -8158.1919 | 16929.754 | 0 | -5029.7085 | 9959.513 | 0 | 0 | 0
01/20 05:00:00 | 0 | -17182.9621 | 17947.4904 | 0 | -8270.3417 | 17107.7002 | 0 | -4735.344 | 10605.4846 | 0 | -7864.2916 | 17718.8775 | 0 | -4830.2249 | 10493.1262 | 0 | 0 | 0
01/20 06:00:00 | 0 | -16929.2806 | 18213.9381 | 0 | -7842.2736 | 18271.8989 | 0 | -4490.6547 | 11310.9837 | 0 | -7505.5605 | 18816.1388 | 0 | -4572.6471 | 11171.6697 | 0 | 0 | 0
01/20 07:00:00 | 0 | -2667.4336 | 7394.9059 | 1869.9496 | 1860.5665 | 10527.0468 | 1040.6757 | 1013.7022 | 6244.0336 | 1662.6464 | 1662.6464 | 10357.8082 | 973.2634 | 869.5257 | 6078.3391 | 0 | 0 | 0
01/20 08:00:00 | 0 | -778.5367 | 5316.4272 | 3660.2961 | 3660.2961 | 9816.5264 | 480.3035 | 480.3035 | 3972.1236 | 895.8322 | 895.8322 | 6696.7105 | 549.1736 | 549.1736 | 4046.4927 | 0 | 0 | 0
01/20 09:00:00 | 0 | -4475.7029 | 8772.6223 | 0 | -494.182 | 9981.1503 | 0 | -1354.2669 | 4971.7795 | 1.5433 | -138.8937 | 10638.9531 | 4.7412 | -58.8763 | 6391.9398 | 0 | 0 | 0
01/20 10:00:00 | 0 | -13094.5918 | 14079.8693 | 0 | -7646.2937 | 13077.6952 | 0 | -7168.636 | 5334.7433 | 0 | -918.1284 | 19964.3239 | 0 | -1006.834 | 11467.972 | 0 | 0 | 0
01/20 11:00:00 | 0 | -19404.3329 | 10905.3396 | -183.6097 | -19791.2143 | 3438.3971 | 0 | -11874.8435 | 2018.6985 | 0 | -4498.248 | 18738.0305 | 0 | -3547.7235 | 10333.5289 | 0 | 0 | 0
01/20 12:00:00 | 0 | -18896.8426 | 4664.5771 | -1311.3948 | -18902.2206 | -1311.3948 | 0 | -10457.5729 | 336.0157 | 0 | -6689.9811 | 11446.3816 | 0 | -4803.4959 | 6058.5098 | 0 | 0 | 0
01/20 13:00:00 | 0 | -11805.7632 | 1802.5809 | -35.581 | -10241.1884 | 611.7875 | 0 | -5893.8973 | 398.8328 | 0 | -4719.9915 | 5889.1994 | 0 | -3464.9459 | 2961.589 | 0 | 0 | 0
01/20 14:00:00 | -481.777 | -9604.8527 | -407.9441 | -2477.9722 | -9854.2955 | -2477.9722 | -183.0723 | -4484.0913 | -176.8592 | 0 | -4736.7719 | 2569.4986 | 0 | -3398.5687 | 1023.4208 | 0 | 0 | 0
01/20 15:00:00 | -882.267 | -7703.4171 | -882.267 | -2839.6429 | -8736.287 | -2839.6429 | -301.1774 | -3562.1696 | -301.1774 | 0 | -4733.6357 | 937.4466 | -369.9571 | -3742.0097 | -364.6167 | 0 | 0 | 0
01/20 16:00:00 | -1052.8241 | -12191.1272 | -1052.8241 | -2803.0099 | -12139.6277 | -2803.0099 | -352.4551 | -5579.3691 | -352.4551 | -2.7615 | -8789.5896 | 306.9847 | -874.4216 | -5863.0842 | -874.4216 | 0 | 0 | 0
01/20 17:00:00 | -1148.333 | -21118.9478 | -1148.333 | -2347.8023 | -18272.7237 | -2347.8023 | -357.3666 | -9594.2662 | -357.3666 | -153.8567 | -15980.9253 | -153.1104 | -1070.8709 | -10040.9184 | -1070.8709 | 0 | 0 | 0
01/20 18:00:00 | -167.1839 | -23773.7418 | -30.9829 | -25.5739 | -16360.5084 | 2491.7532 | 0 | -10223.2064 | 698.573 | 0 | -14368.0179 | 3973.2726 | -405.5897 | -11094.6842 | -405.5897 | 0 | 0 | 0
01/20 19:00:00 | 0 | -13255.989 | 37982.6101 | 0 | -11151.0969 | 29978.6206 | 0 | -5415.0446 | 18524.4373 | 0 | -6358.658 | 33340.4357 | 0 | -7582.0939 | 16498.9908 | 0 | 0 | 0
01/20 20:00:00 | 0 | -35418.9353 | 29387.1484 | 0 | -27565.0681 | 21758.403 | 0 | -14551.0483 | 14663.0824 | 0 | -22879.8515 | 26220.2574 | 0 | -16250.1375 | 13423.7012 | 0 | 0 | 0
01/20 21:00:00 | 0 | -19430.168 | 16621.9967 | 0 | -14001.3981 | 12348.4355 | 0 | -7403.9088 | 8456.0176 | 0 | -11671.8783 | 14798.1173 | 0 | -7859.8553 | 7673.5142 | 0 | 0 | 0
01/20 22:00:00 | 0 | -17008.3673 | 15346.9677 | 0 | -11838.5456 | 12055.4539 | 0 | -6372.1482 | 8211.7239 | 0 | -10086.4999 | 14268.8346 | 0 | -6684.2218 | 7609.4431 | 0 | 0 | 0
01/20 23:00:00 | 0 | -16459.026 | 15768.6058 | 0 | -11132.4862 | 13115.6348 | 0 | -6001.6928 | 8774.5262 | 0 | -9521.086 | 15108.911 | 0 | -6306.0012 | 8289.5331 | 0 | 0 | 0
01/20 24:00:00 | 0 | -15556.9511 | 16171.2511 | 0 | -10069.3421 | 13828.3292 | 0 | -5652.8479 | 9436.4014 | 0 | -9129.0945 | 16378.8142 | 0 | -5807.964 | 8844.5996 | 0 | 0 | 0
07/21 01:00:00 | 0 | -28740.9434 | 6028.662 | 0 | -20967.1804 | 4456.3295 | 0 | -12487.3305 | 2812.4516 | 0 | -20637.1779 | 4830.1928 | 0 | -12704.6444 | 2534.7277 | 0 | 0 | 0
07/21 02:00:00 | 0 | -28840.4594 | 5937.7117 | 0 | -20889.8252 | 4516.5159 | 0 | -12450.8539 | 2838.6089 | 0 | -20578.6307 | 4862.5778 | 0 | -12642.1766 | 2593.4927 | 0 | 0 | 0
07/21 03:00:00 | 0 | -28915.5619 | 5878.1286 | 0 | -20967.0402 | 4567.9772 | 0 | -12510.0952 | 2861.1002 | 0 | -20668.0021 | 4889.8426 | 0 | -12674.4699 | 2643.2331 | 0 | 0 | 0
07/21 04:00:00 | 0 | -28973.162 | 5831.0472 | 0 | -20968.329 | 4609.8774 | 0 | -12513.7701 | 2878.4526 | 0 | -20670.693 | 4913.64 | 0 | -12660.6347 | 2683.7879 | 0 | 0 | 0
07/21 05:00:00 | 0 | -29024.4912 | 5794.0118 | 0 | -20938.3818 | 4652.1125 | 0 | -12506.4569 | 2896.2273 | 0 | -20662.061 | 4938.7282 | 0 | -12631.9091 | 2721.343 | 0 | 0 | 0
07/21 06:00:00 | -10134.1447 | -28579.6933 | -10134.1447 | -5524.6652 | -20029.2558 | -5524.6652 | -2601.3767 | -11255.7946 | -2601.3767 | -4800.2986 | -19221.7527 | -4800.2986 | -2514.5215 | -11185.7359 | -2514.5215 | 0 | 0 | 0
07/21 07:00:00 | -2277.7412 | -10387.9221 | -2277.7412 | -2540.6191 | -9454.6683 | -2540.6191 | -1308.6493 | -5271.5618 | -1308.6493 | -1863.3194 | -8344.0289 | -1863.3194 | -1179.3331 | -5119.7403 | -1179.3331 | 0 | 0 | 0
07/21 08:00:00 | -2880.1487 | -25149.1238 | -2880.1487 | -2751.9636 | -20088.9416 | -2751.9636 | -2253.5531 | -12727.9823 | -2253.5531 | -2608.2222 | -19874.5236 | -2608.2222 | -1599.9735 | -11921.8999 | -1599.9735 | 0 | 0 | 0
07/21 09:00:00 | -2914.6641 | -31189.4349 | -2914.6641 | -3005.0982 | -24944.1947 | -3005.0982 | -2771.2187 | -16072.4647 | -2771.2187 | -2760.4399 | -24614.1385 | -2760.4399 | -1717.541 | -14767.4399 | -1717.541 | 0 | 0 | 0
07/21 10:00:00 | -2984.3403 | -28285.0855 | -2984.3403 | -3263.2794 | -22988.732 | -3263.2794 | -3028.0121 | -15051.4608 | -3028.0121 | -2964.7102 | -22606.5042 | -2964.7102 | -1835.7015 | -13572.1048 | -1835.7015 | 0 | 0 | 0
07/21 11:00:00 | -3064.0117 | -21661.2125 | -3064.0117 | -3521.5152 | -18202.6775 | -3521.5152 | -2852.7847 | -11832.3751 | -2852.7847 | -3179.1694 | -17777.3236 | -3179.1694 | -1974.3612 | -10721.7662 | -1974.3612 | 0 | 0 | 0
07/21 12:00:00 | -2816.8083 | -24404.3182 | -2816.8083 | -9195.8233 | -26159.8411 | -9195.8233 | -2417.4892 | -12674.8737 | -2417.4892 | -3105.1653 | -20000.9479 | -3105.1653 | -1937.2484 | -12050.7529 | -1937.2484 | 0 | 0 | 0
07/21 13:00:00 | -3332.998 | -18201.5759 | -3332.998 | -5599.2156 | -17418.6176 | -5599.2156 | -2502.8351 | -9717.4693 | -2502.8351 | -3500.8356 | -15343.3221 | -3500.8356 | -2183.2025 | -9302.3782 | -2183.2025 | 0 | 0 | 0
07/21 14:00:00 | -3476.1679 | -10862.7634 | -3476.1679 | -4634.646 | -10890.7343 | -4634.646 | -2514.7209 | -6371.0896 | -2514.7209 | -3682.5245 | -9913.456 | -3682.5245 | -2318.1562 | -6110.1893 | -2318.1562 | 0 | 0 | 0
07/21 15:00:00 | -3860.4605 | -14959.7992 | -3860.4605 | -5207.9981 | -14278.5017 | -5207.9981 | -2506.3368 | -8032.9088 | -2506.3368 | -3773.6653 | -12852.8349 | -3773.6653 | -2742.5208 | -8284.7374 | -2742.5208 | 0 | 0 | 0
07/21 16:00:00 | -3747.3592 | -11857.0573 | -3747.3592 | -5006.2082 | -11814.7197 | -5006.2082 | -2481.4277 | -6661.1681 | -2481.4277 | -3799.0902 | -10624.4237 | -3799.0902 | -3340.5655 | -7653.6229 | -3340.5655 | 0 | 0 | 0
07/21 17:00:00 | -2495.7167 | -18848.3792 | -2495.7167 | -10894.1609 | -23784.3715 | -10894.1609 | -2044.0933 | -9878.6593 | -2044.0933 | -3105.5929 | -16106.3654 | -3105.5929 | -3291.1504 | -11347.0707 | -3291.1504 | 0 | 0 | 0
07/21 18:00:00 | 0 | -57225.5968 | 28230.1024 | 0 | -58320.75 | 7601.8348 | 0 | -30940.3285 | 8320.3926 | 0 | -50749.6006 | 14970.8975 | -68.6127 | -35474.5665 | 3674.6957 | 0 | 0 | 0
07/21 19:00:00 | 0 | -74763.1468 | 15803.498 | 0 | -67502.1345 | 3641.8098 | 0 | -39520.0712 | 3080.3747 | 0 | -66727.7443 | 4823.3802 | -749.4815 | -43034.7395 | -722.04 | 0 | 0 | 0
07/21 20:00:00 | 0 | -79383.714 | 17229.2319 | 0 | -71414.1107 | 4467.8701 | 0 | -42071.3048 | 3273.2163 | 0 | -70856.4452 | 5191.6652 | -696.484 | -45867.4895 | -696.484 | 0 | 0 | 0
07/21 21:00:00 | 0 | -59036.5318 | 12616.7626 | 0 | -53094.2093 | 3524.9872 | 0 | -31490.5608 | 2436.2818 | 0 | -52448.016 | 4188.6202 | -292.8312 | -34527.4473 | -290.8177 | 0 | 0 | 0
07/21 22:00:00 | 0 | -40855.3808 | 8922.9623 | 0 | -36908.2746 | 2913.6871 | 0 | -21998.7568 | 1920.4266 | 0 | -36386.4317 | 3382.6188 | 0 | -23709.5212 | 401.6625 | 0 | 0 | 0
07/21 23:00:00 | 0 | -26555.5447 | 5424.0919 | 0 | -22709.0975 | 2410.4397 | 0 | -13649.6167 | 1542.2721 | 0 | -22397.604 | 2711.5148 | 0 | -14514.1157 | 760.6712 | 0 | 0 | 0
07/21 24:00:00 | 0 | -29347.9655 | 4861.3035 | 0 | -22972.5997 | 2465.7631 | 0 | -13771.5848 | 1556.8084 | 0 | -22690.7731 | 2738.3731 | 0 | -14484.5398 | 904.4555 | 0 | 0 | 0

## 0
Date/Time | CORE_ZN:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly)
01/20 01:00:00 | 0 | -20750.4782 | 19468.7439 | 0 | -14516.5946 | 15237.5052 | 0 | -8161.829 | 9621.0403 | 0 | -13162.4285 | 16464.994 | 0 | -8345.1617 | 9450.5843 | 0 | 0 | 0
01/20 02:00:00 | 0 | -20798.4966 | 19936.1428 | 0 | -14627.348 | 15793.1211 | 0 | -8183.1943 | 9873.8455 | 0 | -13206.6045 | 16839.8915 | 0 | -8359.0254 | 9738.0114 | 0 | 0 | 0
01/20 03:00:00 | 0 | -17858.3218 | 16404.0491 | 0 | -11344.1254 | 13081.1919 | 0 | -6314.6195 | 8110.9212 | 0 | -10260.6793 | 13864.7236 | 0 | -6396.2416 | 7967.9283 | 0 | 0 | 0
01/20 04:00:00 | 0 | -18460.5815 | 16612.534 | 0 | -11355.8766 | 13577.7044 | 0 | -6356.1472 | 8429.8804 | 0 | -10284.9928 | 14314.6427 | 0 | -6450.197 | 8321.7218 | 0 | 0 | 0
01/20 05:00:00 | 0 | -18333.725 | 16786.7464 | 0 | -10789.7252 | 13783.123 | 0 | -6070.8528 | 8598.217 | 0 | -9852.7333 | 14565.0918 | 0 | -6131.4435 | 8473.819 | 0 | 0 | 0
01/20 06:00:00 | 0 | -18157.0633 | 16983.9102 | 0 | -9828.3656 | 13752.4455 | 0 | -5594.9887 | 8697.801 | 0 | -9083.1138 | 14638.3404 | 0 | -5690.6525 | 8654.3344 | 0 | 0 | 0
01/20 07:00:00 | 0 | -3097.2896 | 4634.1959 | 343.1631 | 343.1631 | 6391.1201 | 120.9259 | 114.4516 | 3808.5282 | 276.7604 | 256.8274 | 6466.8623 | 87.3839 | 83.4622 | 3726.7697 | 0 | 0 | 0
01/20 08:00:00 | 0 | -1405.0849 | 5407.1837 | 2711.4799 | 2711.4799 | 8452.5803 | 0 | -74.8226 | 3270.9694 | 110.5476 | 90.2145 | 5795.3308 | 0 | -45.9476 | 3283.1251 | 0 | 0 | 0
01/20 09:00:00 | 0 | -6045.3747 | 7925.7825 | 0 | -1845.5601 | 8856.9778 | 0 | -2684.5392 | 3839.1651 | 0 | -1555.5239 | 9318.8977 | 0 | -1378.2761 | 5171.3957 | 0 | 0 | 0
01/20 10:00:00 | 0 | -16139.5286 | 10963.7225 | 0 | -11236.2657 | 9265.9375 | 0 | -9530.0657 | 2894.8532 | 0 | -5680.0961 | 15071.1736 | 0 | -4447.8248 | 7957.7958 | 0 | 0 | 0
01/20 11:00:00 | 0 | -22740.7398 | 7502.5453 | -471.2072 | -21948.0716 | 998.9532 | -171.6409 | -13668.3982 | 129.8541 | 0 | -10345.1601 | 12789.0036 | 0 | -7386.6181 | 6412.0974 | 0 | 0 | 0
01/20 12:00:00 | 0 | -21378.9495 | 2128.2487 | -1452.2866 | -18882.9695 | -1452.2866 | -348.5705 | -10944.4131 | -348.5705 | 0 | -11228.0536 | 6807.5458 | 0 | -7702.5166 | 3080.4669 | 0 | 0 | 0
01/20 13:00:00 | -4.7969 | -13175.6836 | 386.968 | -65.7456 | -10769.316 | 357.2119 | -293.1413 | -6389.4208 | -293.1413 | 0 | -7414.1739 | 3121.9805 | 0 | -5141.7134 | 1215.8603 | 0 | 0 | 0
01/20 14:00:00 | -878.1939 | -9895.1902 | -878.1939 | -2495.4441 | -10032.1529 | -2495.4441 | -492.3631 | -4548.8341 | -492.3631 | 0 | -6510.8674 | 720.1838 | -102.6127 | -4357.0023 | 1.3226 | 0 | 0 | 0
01/20 15:00:00 | -1092.2506 | -7705.0193 | -1092.2506 | -2755.3743 | -8730.7759 | -2755.3743 | -544.3579 | -3484.6482 | -544.3579 | -315.7542 | -5857.8838 | -315.7542 | -514.9355 | -3704.4696 | -514.9355 | 0 | 0 | 0
01/20 16:00:00 | -1210.6055 | -12106.454 | -1210.6055 | -2700.6371 | -12073.9295 | -2700.6371 | -570.1409 | -5481.0694 | -570.1409 | -547.5364 | -9301.6165 | -547.5364 | -876.8965 | -5708.6125 | -876.8965 | 0 | 0 | 0
01/20 17:00:00 | -1276.6906 | -21016.3567 | -1276.6906 | -2330.6501 | -18312.7395 | -2330.6501 | -573.5226 | -9474.7338 | -573.5226 | -640.3272 | -16115.2373 | -640.3272 | -1112.1773 | -10211.0918 | -1112.1773 | 0 | 0 | 0
01/20 18:00:00 | -391.5999 | -23988.5525 | -391.5999 | -58.0256 | -17391.4642 | 1458.6254 | -128.9863 | -10856.8594 | -128.9863 | 0 | -16913.2689 | 1322.9654 | -573.5417 | -11361.1488 | -573.5417 | 0 | 0 | 0
01/20 19:00:00 | 0 | -13988.3256 | 37116.6593 | 0 | -13120.6299 | 27678.8781 | 0 | -6703.7139 | 17054.4386 | 0 | -8984.1759 | 30508.1931 | 0 | -8547.9721 | 15301.9515 | 0 | 0 | 0
01/20 20:00:00 | 0 | -36223.95 | 28521.8286 | 0 | -30074.0985 | 19269.088 | 0 | -16301.938 | 13378.9015 | 0 | -25671.1903 | 23778.0557 | 0 | -17842.6293 | 12045.3325 | 0 | 0 | 0
01/20 21:00:00 | 0 | -19790.5012 | 15851.6501 | 0 | -15969.6608 | 10867.3125 | 0 | -8596.2789 | 7658.9371 | 0 | -13638.9665 | 13515.717 | 0 | -9257.3601 | 7022.5365 | 0 | 0 | 0
01/20 22:00:00 | 0 | -17480.1917 | 14618.9826 | 0 | -13298.6412 | 10197.1798 | 0 | -7059.8043 | 6913.6273 | 0 | -11412.7626 | 12296.2134 | 0 | -7663.3261 | 6570.8222 | 0 | 0 | 0
01/20 23:00:00 | 0 | -17046.3889 | 15002.1312 | 0 | -12958.103 | 11159.2136 | 0 | -6952.692 | 7499.2146 | 0 | -10926.8006 | 12893.9835 | 0 | -7218.8256 | 6997.6644 | 0 | 0 | 0
01/20 24:00:00 | 0 | -16243.157 | 15370.0448 | 0 | -12194.2652 | 11867.468 | 0 | -6692.4868 | 8007.3142 | 0 | -10655.6186 | 13887.3954 | 0 | -7005.598 | 7664.9986 | 0 | 0 | 0
07/21 01:00:00 | 0 | -28433.4241 | 6366.4401 | 0 | -20420.0678 | 4977.8933 | 0 | -12155.9244 | 3120.5031 | 0 | -20117.0301 | 5300.8726 | 0 | -12374.0084 | 2861.5289 | 0 | 0 | 0
07/21 02:00:00 | 0 | -28529.7739 | 6277.1898 | 0 | -20340.9508 | 5031.8614 | 0 | -12111.3215 | 3143.3756 | 0 | -20058.3999 | 5328.7654 | 0 | -12311.8323 | 2914.1443 | 0 | 0 | 0
07/21 03:00:00 | 0 | -28602.3621 | 6219.1891 | 0 | -20411.8998 | 5083.2963 | 0 | -12170.2673 | 3166.5991 | 0 | -20152.7563 | 5356.4972 | 0 | -12349.4448 | 2960.6872 | 0 | 0 | 0
07/21 04:00:00 | 0 | -28657.729 | 6173.7095 | 0 | -20402.1175 | 5124.5595 | 0 | -12173.0541 | 3182.6784 | 0 | -20158.9897 | 5375.2236 | 0 | -12335.9165 | 2997.2288 | 0 | 0 | 0
07/21 05:00:00 | 0 | -28707.1774 | 6137.3841 | 0 | -20409.4469 | 5163.9475 | 0 | -12186.6082 | 3198.295 | 0 | -20189.1801 | 5396.9267 | 0 | -12334.7628 | 3030.6658 | 0 | 0 | 0
07/21 06:00:00 | -8986.1469 | -26669.9229 | -8986.1469 | -5170.6975 | -19003.555 | -5170.6975 | -2389.6844 | -10653.4934 | -2389.6844 | -4380.1997 | -18149.1391 | -4380.1997 | -2318.7551 | -10604.1904 | -2318.7551 | 0 | 0 | 0
07/21 07:00:00 | -2170.5393 | -10224.0533 | -2170.5393 | -2331.5679 | -9155.7129 | -2331.5679 | -1114.952 | -5013.2651 | -1114.952 | -1632.771 | -8018.2927 | -1632.771 | -1048.2437 | -4932.0044 | -1048.2437 | 0 | 0 | 0
07/21 08:00:00 | -2794.7141 | -25015.5903 | -2794.7141 | -2476.702 | -19714.989 | -2476.702 | -1892.325 | -12297.1667 | -1892.325 | -2330.6894 | -19493.3323 | -2330.6894 | -1436.097 | -11697.9125 | -1436.097 | 0 | 0 | 0
07/21 09:00:00 | -2831.9702 | -31061.9128 | -2831.9702 | -2645.2314 | -24473.1289 | -2645.2314 | -2286.7271 | -15511.7724 | -2286.7271 | -2444.1211 | -24194.8625 | -2444.1211 | -1501.7548 | -14483.2977 | -1501.7548 | 0 | 0 | 0
07/21 10:00:00 | -2899.3554 | -28155.8603 | -2899.3554 | -2820.0381 | -22420.0209 | -2820.0381 | -2513.4443 | -14450.9104 | -2513.4443 | -2593.9993 | -22125.1195 | -2593.9993 | -1581.1053 | -13242.7585 | -1581.1053 | 0 | 0 | 0
07/21 11:00:00 | -2975.592 | -21528.3672 | -2975.592 | -3004.4778 | -17548.9336 | -3004.4778 | -2339.1504 | -11224.7931 | -2339.1504 | -2743.7729 | -17221.928 | -2743.7729 | -1676.4365 | -10343.2229 | -1676.4365 | 0 | 0 | 0
07/21 12:00:00 | -2727.5199 | -24270.4518 | -2727.5199 | -9269.8097 | -25926.7018 | -9269.8097 | -2017.9664 | -12185.2922 | -2017.9664 | -2629.8623 | -19401.5963 | -2629.8623 | -1609.1072 | -11637.8048 | -1609.1072 | 0 | 0 | 0
07/21 13:00:00 | -3241.8689 | -18067.4087 | -3241.8689 | -5365.1407 | -16959.2102 | -5365.1407 | -2111.7215 | -9239.3296 | -2111.7215 | -2973.6084 | -14686.4623 | -2973.6084 | -1821.813 | -8852.73 | -1821.813 | 0 | 0 | 0
07/21 14:00:00 | -3381.768 | -10725.0732 | -3381.768 | -4044.9994 | -10112.2647 | -4044.9994 | -2099.9832 | -5866.0139 | -2099.9832 | -3099.6595 | -9193.0875 | -3099.6595 | -1904.6737 | -5603.9389 | -1904.6737 | 0 | 0 | 0
07/21 15:00:00 | -3745.578 | -14801.4528 | -3745.578 | -4588.717 | -13470.8064 | -4588.717 | -2086.8878 | -7521.2932 | -2086.8878 | -3166.0644 | -12103.1505 | -3166.0644 | -2137.2454 | -7570.5652 | -2137.2454 | 0 | 0 | 0
07/21 16:00:00 | -3625.5932 | -11691.7708 | -3625.5932 | -4344.4231 | -10962.2343 | -4344.4231 | -2057.287 | -6142.4618 | -2057.287 | -3181.4643 | -9863.6155 | -3181.4643 | -2582.8568 | -6784.6773 | -2582.8568 | 0 | 0 | 0
07/21 17:00:00 | -2382.8064 | -18687.6419 | -2382.8064 | -10397.5881 | -22870.124 | -10397.5881 | -1620.2339 | -9355.9387 | -1620.2339 | -2496.4489 | -15348.4189 | -2496.4489 | -2506.5117 | -10455.1812 | -2506.5117 | 0 | 0 | 0
07/21 18:00:00 | 0 | -53836.783 | 27218.9834 | 0 | -51890.7721 | 10213.2452 | 0 | -26929.5814 | 10093.7506 | 0 | -44481.1183 | 17592.9333 | 0 | -31592.8219 | 5673.0832 | 0 | 0 | 0
07/21 19:00:00 | 0 | -81581.3151 | 17144.7576 | 0 | -69178.2389 | 7106.3735 | 0 | -40246.7883 | 5385.9402 | 0 | -67460.7986 | 9098.8259 | 0 | -45820.959 | 454.0904 | 0 | 0 | 0
07/21 20:00:00 | 0 | -77913.9601 | 18213.4892 | 0 | -66445.2585 | 8480.0075 | 0 | -39356.9322 | 5646.8427 | 0 | -66237.5367 | 9294.3446 | 0 | -44803.8419 | 844.2561 | 0 | 0 | 0
07/21 21:00:00 | 0 | -57711.8346 | 13459.2079 | 0 | -49680.904 | 6471.8079 | 0 | -29593.219 | 4151.7523 | 0 | -49495.2074 | 6929.4103 | 0 | -32790.8302 | 1318.789 | 0 | 0 | 0
07/21 22:00:00 | 0 | -39670.9151 | 9524.5175 | 0 | -34516.7918 | 4916.1111 | 0 | -20693.8964 | 3080.5854 | 0 | -34385.2872 | 5181.2462 | 0 | -22464.3102 | 1524.3516 | 0 | 0 | 0
07/21 23:00:00 | 0 | -25988.9416 | 5893.7395 | 0 | -21126.1007 | 3600.1823 | 0 | -12782.1745 | 2236.7133 | 0 | -21098.4472 | 3773.247 | 0 | -13686.6978 | 1443.9985 | 0 | 0 | 0
07/21 24:00:00 | 0 | -28915.8215 | 5447.8489 | 0 | -21632.6625 | 3613.9643 | 0 | -13012.1487 | 2232.298 | 0 | -21534.4811 | 3778.8651 | 0 | -13755.155 | 1564.7288 | 0 | 0 | 0

## 45
Date/Time | CORE_ZN:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly)
01/20 01:00:00 | 0 | -20293.3044 | 19963.7617 | 0 | -13147.8024 | 16217.0762 | 0 | -7473.121 | 10208.8003 | 0 | -12123.8614 | 17361.6577 | 0 | -7633.2439 | 10025.7624 | 0 | 0 | 0
01/20 02:00:00 | 0 | -20301.2303 | 20459.8337 | 0 | -12792.718 | 16361.4376 | 0 | -7273.0057 | 10266.6412 | 0 | -11869.9023 | 17472.7217 | 0 | -7422.8955 | 10125.2635 | 0 | 0 | 0
01/20 03:00:00 | 0 | -17400.8656 | 16871.8996 | 0 | -9805.4189 | 13584.2943 | 0 | -5622.4178 | 8555.0689 | 0 | -9137.7972 | 14418.2744 | 0 | -5776.3719 | 8528.5347 | 0 | 0 | 0
01/20 04:00:00 | 0 | -17971.2737 | 17117.398 | 0 | -9668.4053 | 14012.7316 | 0 | -5520.3081 | 8746.3509 | 0 | -8984.7493 | 14714.396 | 0 | -5542.7241 | 8551.8081 | 0 | 0 | 0
01/20 05:00:00 | 0 | -17815.9063 | 17318.1131 | 0 | -9226.561 | 14451.2691 | 0 | -5246.0602 | 8976.7248 | 0 | -8615.7934 | 15139.371 | 0 | -5337.7313 | 8916.9069 | 0 | 0 | 0
01/20 06:00:00 | 0 | -17609.4327 | 17542.4396 | 0 | -8852.0655 | 15362.0858 | 0 | -5106.5948 | 9694.3741 | 0 | -8396.473 | 16234.5892 | 0 | -5171.9989 | 9597.2639 | 0 | 0 | 0
01/20 07:00:00 | 0 | -3107.6105 | 5455.7695 | 921.8564 | 900.1794 | 7969.7178 | 471.7824 | 437.9774 | 4759.5123 | 792.9356 | 726.0113 | 7940.9236 | 435.3489 | 406.7033 | 4702.9674 | 0 | 0 | 0
01/20 08:00:00 | 0 | -1053.4444 | 4953.4593 | 3086.7298 | 3086.7298 | 8845.4698 | 151.5899 | 151.5899 | 3433.8665 | 353.59 | 353.59 | 5853.6651 | 190.6559 | 190.6559 | 3478.4894 | 0 | 0 | 0
01/20 09:00:00 | 0 | -5435.868 | 8521.6604 | 0 | -874.8524 | 9858.2781 | 0 | -1860.4092 | 4732.8695 | 0 | -607.1874 | 10443.3208 | 0 | -554.5334 | 6071.0849 | 0 | 0 | 0
01/20 10:00:00 | 0 | -14684.8396 | 12454.5706 | 0 | -8211.6852 | 12401.5675 | 0 | -7695.5053 | 4726.4583 | 0 | -3055.6016 | 17731.2579 | 0 | -2621.891 | 9809.5252 | 0 | 0 | 0
01/20 11:00:00 | 0 | -21052.3952 | 9226.7824 | -138.2501 | -19406.2716 | 3635.4551 | 0 | -11892.316 | 1924.8992 | 0 | -7378.3767 | 15813.3827 | 0 | -5360.2762 | 8478.6834 | 0 | 0 | 0
01/20 12:00:00 | 0 | -20073.7247 | 3465.4815 | -1185.4838 | -18713.1673 | -1185.4838 | -16.9396 | -10482.3864 | 259.9683 | 0 | -8942.4894 | 9156.9179 | 0 | -6143.9716 | 4680.6208 | 0 | 0 | 0
01/20 13:00:00 | 0 | -12458.7492 | 1142.4586 | 0 | -9688.098 | 1336.8406 | -25.3074 | -6247.2602 | 17.7672 | 0 | -6075.025 | 4501.4289 | 0 | -4230.0478 | 2160.2525 | 0 | 0 | 0
01/20 14:00:00 | -662.7606 | -9768.8334 | -650.907 | -2167.1577 | -9547.7739 | -2167.1577 | -334.2242 | -4560.5155 | -334.2242 | 0 | -5623.071 | 1650.6851 | 0 | -3786.5647 | 598.2205 | 0 | 0 | 0
01/20 15:00:00 | -977.731 | -7702.4548 | -977.731 | -2502.4104 | -8358.9067 | -2502.4104 | -412.4888 | -3573.5674 | -412.4888 | -11.104 | -5376.8556 | 266.2817 | -334.4118 | -3647.8767 | -334.4118 | 0 | 0 | 0
01/20 16:00:00 | -1122.3615 | -12159.0934 | -1122.3615 | -2477.5648 | -11752.5368 | -2477.5648 | -456.5258 | -5574.8831 | -456.5258 | -287.8658 | -9283.4389 | -287.8658 | -769.9897 | -5725.0962 | -769.9897 | 0 | 0 | 0
01/20 17:00:00 | -1203.5641 | -21077.9687 | -1203.5641 | -2129.7527 | -17990.0523 | -2129.7527 | -465.2767 | -9589.1656 | -465.2767 | -427.8046 | -16085.5681 | -427.8046 | -1000.5695 | -9977.8697 | -1000.5695 | 0 | 0 | 0
01/20 18:00:00 | -261.0521 | -23916.5329 | -234.3664 | -9.616 | -16420.5474 | 2405.3732 | -17.0188 | -10706.6851 | 159.639 | 0 | -15742.7546 | 2549.4354 | -464.0228 | -11167.575 | -464.0228 | 0 | 0 | 0
01/20 19:00:00 | 0 | -13577.8057 | 37575.9213 | 0 | -11926.134 | 29028.6378 | 0 | -6036.8721 | 17780.2682 | 0 | -7792.9422 | 31801.1179 | 0 | -7991.4912 | 15954.0195 | 0 | 0 | 0
01/20 20:00:00 | 0 | -35770.3989 | 28969.103 | 0 | -28620.8592 | 20424.7112 | 0 | -15500.0018 | 14011.9764 | 0 | -24521.0408 | 24943.5994 | 0 | -17112.9939 | 12781.8949 | 0 | 0 | 0
01/20 21:00:00 | 0 | -19648.5466 | 16276.7403 | 0 | -14686.8282 | 11329.1617 | 0 | -7995.7614 | 7955.2263 | 0 | -12852.6634 | 14148.0665 | 0 | -8646.7591 | 7367.7542 | 0 | 0 | 0
01/20 22:00:00 | 0 | -17266.5702 | 14997.7922 | 0 | -12713.3052 | 11143.0058 | 0 | -6809.1032 | 7533.9584 | 0 | -10630.243 | 12860.1296 | 0 | -7029.6475 | 6852.8172 | 0 | 0 | 0
01/20 23:00:00 | 0 | -16777.535 | 15390.0158 | 0 | -12077.7629 | 12012.0873 | 0 | -6568.9039 | 8074.8995 | 0 | -10438.9456 | 13939.3559 | 0 | -6880.6209 | 7641.7561 | 0 | 0 | 0
01/20 24:00:00 | 0 | -15937.0354 | 15771.4176 | 0 | -11417.8448 | 12955.3055 | 0 | -6243.5819 | 8596.1128 | 0 | -9939.0114 | 14779.1027 | 0 | -6490.6743 | 8202.0451 | 0 | 0 | 0
07/21 01:00:00 | 0 | -28518.4305 | 6271.9452 | 0 | -20535.9774 | 4793.6323 | 0 | -12219.5965 | 3013.0082 | 0 | -20219.0973 | 5135.7527 | 0 | -12440.428 | 2761.2716 | 0 | 0 | 0
07/21 02:00:00 | 0 | -28617.5343 | 6180.2181 | 0 | -20453.7064 | 4844.7151 | 0 | -12166.1031 | 3031.8207 | 0 | -20154.7101 | 5160.0858 | 0 | -12377.6294 | 2812.2302 | 0 | 0 | 0
07/21 03:00:00 | 0 | -28692.6051 | 6119.886 | 0 | -20516.8494 | 4891.1059 | 0 | -12225.2534 | 3052.9605 | 0 | -20254.9454 | 5186.716 | 0 | -12413.0382 | 2856.5927 | 0 | 0 | 0
07/21 04:00:00 | 0 | -28750.2527 | 6072.2654 | 0 | -20506.1779 | 4929.0177 | 0 | -12227.5547 | 3067.4372 | 0 | -20263.3422 | 5204.9285 | 0 | -12401.4841 | 2892.1654 | 0 | 0 | 0
07/21 05:00:00 | 0 | -28801.7039 | 6034.1214 | 0 | -20543.5312 | 4976.7065 | 0 | -12262.98 | 3089.0266 | 0 | -20316.7031 | 5234.4499 | 0 | -12412.4555 | 2929.3102 | 0 | 0 | 0
07/21 06:00:00 | -9141.2179 | -26834.9316 | -9141.2179 | -5260.4718 | -19126.1488 | -5260.4718 | -2471.3886 | -10752.1059 | -2471.3886 | -4470.0054 | -18266.6638 | -4470.0054 | -2373.4566 | -10674.5494 | -2373.4566 | 0 | 0 | 0
07/21 07:00:00 | -2201.1613 | -10271.2928 | -2201.1613 | -2393.0966 | -9246.4082 | -2393.0966 | -1158.0398 | -5074.2412 | -1158.0398 | -1690.0073 | -8103.0486 | -1690.0073 | -1084.033 | -4984.5658 | -1084.033 | 0 | 0 | 0
07/21 08:00:00 | -2818.2792 | -25052.6998 | -2818.2792 | -2544.287 | -19810.9339 | -2544.287 | -1951.4944 | -12371.8981 | -1951.4944 | -2390.8044 | -19579.5302 | -2390.8044 | -1474.1154 | -11752.0264 | -1474.1154 | 0 | 0 | 0
07/21 09:00:00 | -2853.7788 | -31095.7959 | -2853.7788 | -2732.6296 | -24591.9588 | -2732.6296 | -2364.3757 | -15604.973 | -2364.3757 | -2518.9805 | -24297.7456 | -2518.9805 | -1550.4006 | -14549.6605 | -1550.4006 | 0 | 0 | 0
07/21 10:00:00 | -2921.2603 | -28189.4387 | -2921.2603 | -2928.8358 | -22564.4947 | -2928.8358 | -2588.5283 | -14543.4043 | -2588.5283 | -2685.4994 | -22247.6694 | -2685.4994 | -1641.0844 | -13322.7327 | -1641.0844 | 0 | 0 | 0
07/21 11:00:00 | -2998.2781 | -21562.7048 | -2998.2781 | -3136.2542 | -17720.6336 | -3136.2542 | -2431.0643 | -11335.8551 | -2431.0643 | -2852.5794 | -17364.6257 | -2852.5794 | -1748.4066 | -10437.3429 | -1748.4066 | 0 | 0 | 0
07/21 12:00:00 | -2750.8978 | -24305.7278 | -2750.8978 | -9236.7235 | -25988.6755 | -9236.7235 | -2105.7176 | -12294.8462 | -2105.7176 | -2752.427 | -19560.7979 | -2752.427 | -1690.5465 | -11743.3246 | -1690.5465 | 0 | 0 | 0
07/21 13:00:00 | -3266.191 | -18103.4004 | -3266.191 | -5425.1659 | -17086.4449 | -5425.1659 | -2206.1697 | -9356.9862 | -2206.1697 | -3109.619 | -14860.7774 | -3109.619 | -1912.7912 | -8969.0329 | -1912.7912 | 0 | 0 | 0
07/21 14:00:00 | -3408.3399 | -10763.4534 | -3408.3399 | -4214.5151 | -10335.4539 | -4214.5151 | -2204.9795 | -5996.5729 | -2204.9795 | -3251.2128 | -9385.3923 | -3251.2128 | -2007.967 | -5734.3621 | -2007.967 | 0 | 0 | 0
07/21 15:00:00 | -3779.3544 | -14847.0746 | -3779.3544 | -4783.5553 | -13718.9226 | -4783.5553 | -2196.9628 | -7658.5087 | -2196.9628 | -3326.9533 | -12306.7513 | -3326.9533 | -2260.8165 | -7721.2917 | -2260.8165 | 0 | 0 | 0
07/21 16:00:00 | -3660.6042 | -11738.6652 | -3660.6042 | -4558.2366 | -11229.9557 | -4558.2366 | -2170.8503 | -6284.4974 | -2170.8503 | -3350.2504 | -10075.1986 | -3350.2504 | -2726.126 | -6953.2108 | -2726.126 | 0 | 0 | 0
07/21 17:00:00 | -2414.9565 | -18733.4695 | -2414.9565 | -10633.5711 | -23261.4204 | -10633.5711 | -1737.7807 | -9504.3458 | -1737.7807 | -2668.1249 | -15566.8387 | -2668.1249 | -2658.9219 | -10632.1518 | -2658.9219 | 0 | 0 | 0
07/21 18:00:00 | 0 | -53682.4582 | 29481.9467 | 0 | -53251.9168 | 10686.3213 | 0 | -27495.9917 | 10552.0584 | 0 | -45276.276 | 18485.4482 | 0 | -31998.046 | 6246.3065 | 0 | 0 | 0
07/21 19:00:00 | 0 | -74424.8113 | 16317.2117 | 0 | -64808.1888 | 6011.5204 | 0 | -37772.9781 | 4630.3926 | 0 | -63196.764 | 7869.4392 | -162.6634 | -43100.495 | -61.3617 | 0 | 0 | 0
07/21 20:00:00 | 0 | -78136.6157 | 18042.0327 | 0 | -68142.277 | 7284.143 | 0 | -40195.4402 | 4983.0868 | 0 | -67514.2089 | 8271.5951 | -83.5518 | -45563.0977 | 187.9027 | 0 | 0 | 0
07/21 21:00:00 | 0 | -57838.7642 | 13239.2925 | 0 | -50812.6523 | 5553.4778 | 0 | -30185.5627 | 3646.7266 | 0 | -50376.5025 | 6172.9301 | 0 | -33321.959 | 837.2932 | 0 | 0 | 0
07/21 22:00:00 | 0 | -39768.7535 | 9335.1221 | 0 | -35320.9911 | 4277.3113 | 0 | -21107.9617 | 2727.3854 | 0 | -34998.6741 | 4659.2848 | 0 | -22845.8954 | 1184.8437 | 0 | 0 | 0
07/21 23:00:00 | 0 | -26036.2838 | 5745.1254 | 0 | -21676.5687 | 3216.4451 | 0 | -13072.1173 | 2022.18 | 0 | -21516.1231 | 3457.3655 | 0 | -13947.0369 | 1234.8584 | 0 | 0 | 0
07/21 24:00:00 | 0 | -29039.182 | 5282.1398 | 0 | -22069.8405 | 3230.3421 | 0 | -13252.4748 | 2016.4824 | 0 | -21882.8608 | 3457.4576 | 0 | -13970.6692 | 1357.5496 | 0 | 0 | 0

## 90
Date/Time | CORE_ZN:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | CORE_ZN:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_1:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_2:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_3:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | PERIMETER_ZN_4:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Heating Setpoint Heat Transfer Rate [W](Hourly) | ATTIC:Zone Predicted Sensible Load to Cooling Setpoint Heat Transfer Rate [W](Hourly)
01/20 01:00:00 | 0 | -20278.2862 | 19979.5457 | 0 | -13106.4342 | 16252.2982 | 0 | -7449.939 | 10227.6439 | 0 | -12071.1077 | 17364.1204 | 0 | -7603.104 | 10034.3065 | 0 | 0 | 0
01/20 02:00:00 | 0 | -20285.0098 | 20476.5527 | 0 | -12732.2684 | 16377.4864 | 0 | -7247.4857 | 10284.921 | 0 | -11817.5087 | 17479.5534 | 0 | -7392.4832 | 10136.4017 | 0 | 0 | 0
01/20 03:00:00 | 0 | -17386.0263 | 16886.7858 | 0 | -9788.4477 | 13642.7845 | 0 | -5616.3389 | 8594.213 | 0 | -9137.4266 | 14492.3632 | 0 | -5764.6273 | 8558.0324 | 0 | 0 | 0
01/20 04:00:00 | 0 | -17955.5353 | 17133.4384 | 0 | -9609.859 | 14016.791 | 0 | -5481.4362 | 8736.3895 | 0 | -8921.485 | 14690.1974 | 0 | -5511.0607 | 8552.722 | 0 | 0 | 0
01/20 05:00:00 | 0 | -17799.2751 | 17334.9815 | 0 | -9183.2408 | 14481.1314 | 0 | -5226.8835 | 9000.6311 | 0 | -8583.3047 | 15169.8494 | 0 | -5318.9426 | 8941.0277 | 0 | 0 | 0
01/20 06:00:00 | 0 | -17591.8307 | 17560.1824 | 0 | -8833.1849 | 15439.3696 | 0 | -5090.2516 | 9727.6254 | 0 | -8375.6277 | 16291.9303 | 0 | -5162.3799 | 9641.8592 | 0 | 0 | 0
01/20 07:00:00 | 0 | -3086.5784 | 5477.3775 | 943.4417 | 920.2486 | 8005.2096 | 483.6378 | 449.1744 | 4778.0099 | 810.1734 | 742.1233 | 7967.1102 | 446.8206 | 417.5434 | 4720.9653 | 0 | 0 | 0
01/20 08:00:00 | 0 | -1045.5104 | 4963.1879 | 3100.3779 | 3100.3779 | 8872.5325 | 159.3804 | 159.3804 | 3448.1199 | 365.549 | 365.549 | 5874.3003 | 198.7105 | 198.7105 | 3492.9469 | 0 | 0 | 0
01/20 09:00:00 | 0 | -5416.9797 | 8541.5292 | 0 | -851.1005 | 9894.8422 | 0 | -1834.9894 | 4759.5652 | 0 | -591.1493 | 10466.5936 | 0 | -532.4264 | 6095.7673 | 0 | 0 | 0
01/20 10:00:00 | 0 | -14639.5103 | 12500.9719 | 0 | -8121.1454 | 12494.9111 | 0 | -7638.8942 | 4783.1225 | 0 | -2980.0256 | 17807.4917 | 0 | -2566.563 | 9865.1895 | 0 | 0 | 0
01/20 11:00:00 | 0 | -21000.012 | 9280.238 | -129.149 | -19310.8375 | 3729.9975 | 0 | -11831.0516 | 1986.2047 | 0 | -7289.8216 | 15902.7961 | 0 | -5298.8599 | 8540.9544 | 0 | 0 | 0
01/20 12:00:00 | 0 | -20032.8468 | 3507.3483 | -1176.7401 | -18717.1661 | -1176.7401 | -10.4352 | -10435.9548 | 307.2134 | 0 | -8872.4699 | 9227.9619 | 0 | -6095.8693 | 4729.3372 | 0 | 0 | 0
01/20 13:00:00 | 0 | -12436.1093 | 1166.5402 | 0 | -9649.1784 | 1369.4831 | -14.3704 | -6218.239 | 46.9552 | 0 | -6033.125 | 4544.0838 | 0 | -4201.5258 | 2189.2944 | 0 | 0 | 0
01/20 14:00:00 | -656.0814 | -9765.06 | -642.5679 | -2156.8178 | -9532.0491 | -2156.8178 | -326.7386 | -4557.6623 | -326.7386 | 0 | -5594.6142 | 1679.8299 | 0 | -3766.3909 | 617.4282 | 0 | 0 | 0
01/20 15:00:00 | -973.941 | -7701.6852 | -973.941 | -2494.6829 | -8347.1658 | -2494.6829 | -407.3905 | -3573.905 | -407.3905 | -7.5794 | -5355.777 | 287.9491 | -327.83 | -3644.9054 | -327.83 | 0 | 0 | 0
01/20 16:00:00 | -1119.4111 | -12160.0368 | -1119.4111 | -2470.7492 | -11742.4786 | -2470.7492 | -452.2493 | -5576.276 | -452.2493 | -277.4376 | -9278.4919 | -277.4376 | -766.6122 | -5727.4448 | -766.6122 | 0 | 0 | 0
01/20 17:00:00 | -1201.1525 | -21079.034 | -1201.1525 | -2123.5829 | -17980.3513 | -2123.5829 | -461.3078 | -9590.5602 | -461.3078 | -420.5642 | -16083.2955 | -420.5642 | -997.2675 | -9970.393 | -997.2675 | 0 | 0 | 0
01/20 18:00:00 | -255.8214 | -23910.1651 | -225.9507 | -7.0893 | -16388.6151 | 2438.3151 | -15.5197 | -10690.9757 | 177.676 | 0 | -15704.2925 | 2589.2596 | -460.5651 | -11161.6355 | -460.5651 | 0 | 0 | 0
01/20 19:00:00 | 0 | -13563.4044 | 37592.7106 | 0 | -11885.6401 | 29074.061 | 0 | -6011.4757 | 17805.369 | 0 | -7753.6319 | 31842.4223 | 0 | -7974.6336 | 15980.262 | 0 | 0 | 0
01/20 20:00:00 | 0 | -35758.64 | 28986.2287 | 0 | -28564.7875 | 20457.0418 | 0 | -15474.9743 | 14035.7741 | 0 | -24481.5681 | 24979.9611 | 0 | -17088.2676 | 12804.8802 | 0 | 0 | 0
01/20 21:00:00 | 0 | -19641.8478 | 16289.1149 | 0 | -14633.3064 | 11335.2303 | 0 | -7974.2832 | 7963.5901 | 0 | -12823.4307 | 14164.6033 | 0 | -8624.9184 | 7376.9495 | 0 | 0 | 0
01/20 22:00:00 | 0 | -17258.7287 | 15009.4893 | 0 | -12687.0654 | 11168.3499 | 0 | -6799.9871 | 7554.7015 | 0 | -10597.3092 | 12870.4698 | 0 | -7002.0104 | 6855.7502 | 0 | 0 | 0
01/20 23:00:00 | 0 | -16768.1515 | 15402.1547 | 0 | -12048.1 | 12039.9238 | 0 | -6555.8308 | 8094.8103 | 0 | -10419.548 | 13970.5404 | 0 | -6867.0671 | 7660.2832 | 0 | 0 | 0
01/20 24:00:00 | 0 | -15926.4099 | 15783.9143 | 0 | -11388.2774 | 12987.2129 | 0 | -6227.0203 | 8614.2629 | 0 | -9913.2909 | 14805.8286 | 0 | -6471.2053 | 8216.2141 | 0 | 0 | 0
07/21 01:00:00 | 0 | -28521.278 | 6268.7756 | 0 | -20536.3624 | 4786.9097 | 0 | -12218.8089 | 3008.8299 | 0 | -20219.285 | 5129.6137 | 0 | -12441.1127 | 2757.6372 | 0 | 0 | 0
07/21 02:00:00 | 0 | -28620.4642 | 6176.9769 | 0 | -20453.2265 | 4837.7506 | 0 | -12160.6431 | 3026.4597 | 0 | -20153.6878 | 5153.6004 | 0 | -12377.9865 | 2808.4903 | 0 | 0 | 0
07/21 03:00:00 | 0 | -28695.6088 | 6116.5767 | 0 | -20514.1039 | 4883.5314 | 0 | -12219.8073 | 3047.551 | 0 | -20254.4816 | 5180.3006 | 0 | -12412.9793 | 2852.7185 | 0 | 0 | 0
07/21 04:00:00 | 0 | -28753.324 | 6068.8938 | 0 | -20502.4352 | 4921.122 | 0 | -12220.8953 | 3061.6863 | 0 | -20263.0976 | 5198.5463 | 0 | -12401.6328 | 2888.3045 | 0 | 0 | 0
07/21 05:00:00 | 0 | -28804.834 | 6030.6977 | 0 | -20545.8132 | 4970.2208 | 0 | -12263.9406 | 3085.1414 | 0 | -20319.4586 | 5228.8574 | 0 | -12414.2736 | 2925.8477 | 0 | 0 | 0
07/21 06:00:00 | -9146.2617 | -26840.3138 | -9146.2617 | -5262.6555 | -19129.3983 | -5262.6555 | -2473.628 | -10754.8775 | -2473.628 | -4472.3911 | -18269.9496 | -4472.3911 | -2374.9914 | -10676.5875 | -2374.9914 | 0 | 0 | 0
07/21 07:00:00 | -2202.1726 | -10272.8482 | -2202.1726 | -2395.1297 | -9249.3804 | -2395.1297 | -1159.519 | -5076.3118 | -1159.519 | -1691.933 | -8105.8708 | -1691.933 | -1085.2343 | -4986.3163 | -1085.2343 | 0 | 0 | 0
07/21 08:00:00 | -2819.0649 | -25053.933 | -2819.0649 | -2546.5864 | -19814.1613 | -2546.5864 | -1953.6473 | -12374.5898 | -1953.6473 | -2392.8688 | -19582.4577 | -2392.8688 | -1475.4187 | -11753.8628 | -1475.4187 | 0 | 0 | 0
07/21 09:00:00 | -2854.5135 | -31096.9339 | -2854.5135 | -2735.6481 | -24596.0162 | -2735.6481 | -2367.2481 | -15608.3991 | -2367.2481 | -2521.5829 | -24301.2806 | -2521.5829 | -1552.0882 | -14551.9389 | -1552.0882 | 0 | 0 | 0
07/21 10:00:00 | -2922.0037 | -28190.5751 | -2922.0037 | -2932.6229 | -22569.4617 | -2932.6229 | -2591.2392 | -14546.7448 | -2591.2392 | -2688.6973 | -22251.9005 | -2688.6973 | -1643.1734 | -13325.4875 | -1643.1734 | 0 | 0 | 0
07/21 11:00:00 | -2999.0515 | -21563.8722 | -2999.0515 | -3140.8787 | -17726.5821 | -3140.8787 | -2434.4037 | -11339.8652 | -2434.4037 | -2856.3993 | -17369.5741 | -2856.3993 | -1750.9231 | -10440.5959 | -1750.9231 | 0 | 0 | 0
07/21 12:00:00 | -2751.6961 | -24306.9293 | -2751.6961 | -9235.6814 | -25990.6724 | -9235.6814 | -2108.8338 | -12298.7023 | -2108.8338 | -2756.7277 | -19566.3146 | -2756.7277 | -1693.3931 | -11746.9675 | -1693.3931 | 0 | 0 | 0
07/21 13:00:00 | -3266.9798 | -18104.5909 | -3266.9798 | -5427.2869 | -17090.7442 | -5427.2869 | -2209.5124 | -9361.109 | -2209.5124 | -3114.3953 | -14866.8245 | -3114.3953 | -1915.9791 | -8973.0583 | -1915.9791 | 0 | 0 | 0
07/21 14:00:00 | -3409.2223 | -10764.7446 | -3409.2223 | -4220.5166 | -10343.215 | -4220.5166 | -2208.7014 | -6001.1489 | -2208.7014 | -3256.5434 | -9392.0707 | -3256.5434 | -2011.6026 | -5738.8947 | -2011.6026 | 0 | 0 | 0
07/21 15:00:00 | -3780.4685 | -14848.5993 | -3780.4685 | -4790.5097 | -13727.6203 | -4790.5097 | -2200.8644 | -7663.3169 | -2200.8644 | -3332.6359 | -12313.851 | -3332.6359 | -2265.2289 | -7726.6231 | -2265.2289 | 0 | 0 | 0
07/21 16:00:00 | -3661.7844 | -11740.2575 | -3661.7844 | -4565.8219 | -11239.2982 | -4565.8219 | -2174.8639 | -6289.4565 | -2174.8639 | -3356.2053 | -10082.5584 | -3356.2053 | -2731.3286 | -6959.2915 | -2731.3286 | 0 | 0 | 0
07/21 17:00:00 | -2416.0593 | -18735.04 | -2416.0593 | -10641.5749 | -23273.4279 | -10641.5749 | -1741.9441 | -9509.5274 | -1741.9441 | -2674.1673 | -15574.4178 | -2674.1673 | -2664.5 | -10638.5965 | -2664.5 | 0 | 0 | 0
07/21 18:00:00 | 0 | -53689.4378 | 29474.7308 | 0 | -53295.2324 | 10647.7817 | 0 | -27521.4413 | 10529.1999 | 0 | -45314.2743 | 18450.808 | 0 | -32016.5418 | 6227.7486 | 0 | 0 | 0
07/21 19:00:00 | 0 | -74434.8517 | 16308.5334 | 0 | -64860.3895 | 5970.5413 | 0 | -37800.5036 | 4607.3019 | 0 | -63239.4769 | 7833.3005 | -176.4675 | -43123.3194 | -82.6595 | 0 | 0 | 0
07/21 20:00:00 | 0 | -78145.3988 | 18029.1508 | 0 | -68202.4451 | 7236.9673 | 0 | -40226.1196 | 4956.8738 | 0 | -67561.529 | 8231.1998 | -93.3152 | -45591.9312 | 162.5628 | 0 | 0 | 0
07/21 21:00:00 | 0 | -57844.2811 | 13228.1004 | 0 | -50853.865 | 5518.379 | 0 | -30207.7317 | 3627.4234 | 0 | -50410.0828 | 6143.8248 | 0 | -33343.1098 | 818.9533 | 0 | 0 | 0
07/21 22:00:00 | 0 | -39789.0509 | 9330.4667 | 0 | -35350.636 | 4253.4865 | 0 | -21123.6803 | 2714.2407 | 0 | -35022.1577 | 4639.7144 | 0 | -22861.1093 | 1172.1973 | 0 | 0 | 0
07/21 23:00:00 | 0 | -26041.3453 | 5739.6237 | 0 | -21696.7176 | 3202.3294 | 0 | -13082.8196 | 2014.2873 | 0 | -21532.0743 | 3445.7266 | 0 | -13957.4923 | 1227.2107 | 0 | 0 | 0
07/21 24:00:00 | 0 | -29044.2023 | 5275.5006 | 0 | -22087.9015 | 3216.8261 | 0 | -13262.3811 | 2008.8423 | 0 | -21897.8304 | 3446.0721 | 0 | -13980.4751 | 1350.2219 | 0 | 0 | 0

## Final
Date/Time | Baseline |  |  | 0 |  |  | 45 |  |  | 90
| Heating | Cooling | Total | Heating | Cooling | Total | Heating | Cooling | Total | Heating | Cooling | Total
01/20 01:00:00 | -56458.1652 | 80138.7266 | 0 | -64936.4921 | 70242.8676 | 0 | -60671.3331 | 73777.0583 | 0 | -60508.8712 | 73857.9146 | 0
01/20 02:00:00 | -55046.6454 | 81465.1528 | 0 | -65174.6688 | 72181.0123 | 0 | -59659.7517 | 74685.8978 | 0 | -59474.7558 | 74754.9152 | 0
01/20 03:00:00 | -44430.0345 | 69177.8459 | 0 | -52173.9877 | 59428.814 | 0 | -47742.8716 | 61958.0719 | 0 | -47692.8667 | 62174.1788 | 0
01/20 04:00:00 | -44132.1501 | 70952.0272 | 0 | -52907.7952 | 61256.4834 | 0 | -47687.4605 | 63142.6847 | 0 | -47479.3762 | 63129.5382 | 0
01/20 05:00:00 | -42883.1642 | 73872.6788 | 0 | -51178.4797 | 62206.9973 | 0 | -46242.0522 | 64802.3851 | 0 | -46111.6467 | 64927.6211 | 0
01/20 06:00:00 | -41340.4166 | 77784.6293 | 0 | -48354.184 | 62726.8315 | 0 | -45136.565 | 68430.7527 | 0 | -45053.2749 | 68660.967 | 0
01/20 07:00:00 | 2739.0072 | 40602.1335 | 19967.5262 | -2299.3853 | 25027.4762 | 2981.6399 | -636.739 | 30828.8906 | 9438.924 | -557.4887 | 30948.6726 | 9662.6644
01/20 08:00:00 | 4807.0687 | 29848.2804 | 20108.1795 | 1275.8393 | 26209.1892 | 10159.2992 | 2729.1212 | 26564.9502 | 13617.2364 | 2778.5074 | 26651.0876 | 13766.464
01/20 09:00:00 | -6521.9218 | 40756.445 | 22.6243 | -13509.2739 | 35112.2188 | 0 | -9332.8504 | 39627.2137 | 0 | -9226.6453 | 39758.2974 | 0
01/20 10:00:00 | -29834.4838 | 63924.6038 | 0 | -47033.781 | 46153.4825 | 0 | -36269.5227 | 57123.3794 | 0 | -35946.1384 | 57451.6866 | 0
01/20 11:00:00 | -59116.3622 | 45433.9946 | -660.9948 | -76088.9879 | 27832.4535 | -2314.2529 | -65089.6357 | 39079.2028 | -497.7005 | -64730.5827 | 39440.1907 | -464.9363
01/20 12:00:00 | -59750.1131 | 21194.0893 | -4721.0214 | -70136.9023 | 10215.4043 | -6483.0856 | -64355.7394 | 16377.5048 | -4328.7242 | -64154.3068 | 16595.1207 | -4273.8311
01/20 13:00:00 | -36125.7862 | 11663.9897 | -128.0917 | -42890.3077 | 4788.8795 | -1309.2618 | -38699.1803 | 9158.7478 | -91.1065 | -38538.1774 | 9316.3568 | -51.7333
01/20 14:00:00 | -32078.58 | 530.1439 | -11314.1574 | -35344.0468 | -3144.4947 | -14287.0094 | -33286.7585 | -903.3833 | -11390.913 | -33215.7765 | -828.8661 | -11302.696
01/20 15:00:00 | -28477.519 | -3450.2574 | -15814.9599 | -29482.7968 | -5222.6725 | -18801.6211 | -28659.6613 | -3960.7603 | -15257.3255 | -28623.4383 | -3915.8952 | -15161.1254
01/20 16:00:00 | -44562.7978 | -4775.726 | -18307.7 | -44671.682 | -5905.8164 | -21260.9389 | -44495.0484 | -5114.3076 | -18411.5074 | -44484.7281 | -5086.4595 | -18311.2541
01/20 17:00:00 | -75007.7816 | -5077.4831 | -18281.6261 | -75130.1592 | -5933.3677 | -21360.1238 | -74720.6243 | -5226.9677 | -18817.0837 | -74703.6341 | -5203.8748 | -18733.9493
01/20 18:00:00 | -75820.1587 | 6727.0262 | -2154.0514 | -80511.2938 | 1687.4629 | -4147.7525 | -77954.0951 | 4416.0583 | -2706.1549 | -77855.6839 | 4518.735 | -2660.3837
01/20 19:00:00 | -43762.8824 | 136325.0945 | 0 | -51344.8174 | 127660.1207 | 0 | -47325.2452 | 132139.9647 | 0 | -47188.7857 | 132294.8248 | 0
01/20 20:00:00 | -116665.0406 | 105452.5924 | 0 | -126113.8061 | 96993.2064 | 0 | -121525.2947 | 101131.2849 | 0 | -121368.2375 | 101263.886 | 0
01/20 21:00:00 | -60367.2084 | 59898.0812 | 0 | -67252.7676 | 54916.1533 | 0 | -63830.5586 | 57076.949 | 0 | -63697.7865 | 57129.4881 | 0
01/20 22:00:00 | -51989.7828 | 57492.4231 | 0 | -56914.7259 | 50596.8253 | 0 | -54448.8691 | 53387.7032 | 0 | -54345.1008 | 53458.7607 | 0
01/20 23:00:00 | -49420.2922 | 61057.211 | 0 | -55102.81 | 53552.2073 | 0 | -52743.7683 | 57058.1146 | 0 | -52658.6976 | 57167.7123 | 0
01/20 24:00:00 | -46216.1997 | 64659.3955 | 0 | -52791.1257 | 56797.2209 | 0 | -50028.1478 | 60303.9836 | 0 | -49926.2038 | 60407.4329 | 0
07/21 01:00:00 | -95537.2766 | 20662.3637 | 0 | -93500.4548 | 22627.238 | 0 | -93933.5297 | 21975.61 | 0 | -93936.847 | 21951.7661 | 0
07/21 02:00:00 | -95401.9458 | 20748.907 | 0 | -93352.2784 | 22695.3364 | 0 | -93769.6833 | 22029.07 | 0 | -93766.0081 | 22003.2778 | 0
07/21 03:00:00 | -95735.1693 | 20840.2817 | 0 | -93686.7303 | 22786.2689 | 0 | -94102.6916 | 22107.2612 | 0 | -94096.9809 | 22080.6782 | 0
07/21 04:00:00 | -95786.5888 | 20916.8051 | 0 | -93727.8067 | 22853.3999 | 0 | -94148.8116 | 22165.8141 | 0 | -94141.3848 | 22138.5528 | 0
07/21 05:00:00 | -95763.3 | 21002.4228 | 0 | -93827.1754 | 22927.2191 | 0 | -94337.3737 | 22263.6146 | 0 | -94348.32 | 22240.7651 | 0
07/21 06:00:00 | -90272.2324 | -25575.0067 | -92070.024 | -85080.3007 | -23245.4836 | -83683.741 | -85654.3996 | -23716.5402 | -85379.5449 | -85671.1267 | -23729.9277 | -85427.7399
07/21 07:00:00 | -38577.9215 | -9169.6621 | -33010.7836 | -37343.3285 | -8298.074 | -29873.0664 | -37679.5565 | -8526.3381 | -30694.817 | -37690.7276 | -8533.9887 | -30722.3593
07/21 08:00:00 | -89762.4712 | -12093.8612 | -43537.9003 | -88218.9908 | -10930.5275 | -39349.8989 | -88567.0883 | -11178.9804 | -40244.3295 | -88579.0047 | -11187.5861 | -40275.3099
07/21 09:00:00 | -111587.6727 | -13168.962 | -47408.2633 | -109724.9743 | -11709.8047 | -42155.2969 | -110140.1338 | -12020.1653 | -43272.595 | -110154.5686 | -12031.0809 | -43311.8911
07/21 10:00:00 | -102503.8873 | -14076.0435 | -50673.7567 | -100394.6695 | -12407.9425 | -44668.5929 | -100867.7398 | -12765.2083 | -45954.75 | -100884.1696 | -12777.7365 | -45999.8515
07/21 11:00:00 | -80195.3549 | -14591.8422 | -52530.632 | -77867.2448 | -12739.4297 | -45861.9468 | -78421.162 | -13166.5826 | -47399.6975 | -78440.4895 | -13181.6563 | -47453.9628
07/21 12:00:00 | -95290.7338 | -19472.5345 | -70101.1244 | -93421.847 | -18254.2654 | -65715.3555 | -93893.3721 | -18536.3124 | -66730.7247 | -93909.5861 | -18546.3321 | -66766.7955
07/21 13:00:00 | -69983.3631 | -17119.0867 | -61628.7123 | -67805.1407 | -15514.1526 | -55850.9492 | -68376.6419 | -15919.9368 | -57311.7726 | -68396.3268 | -15934.1534 | -57362.9521
07/21 14:00:00 | -44148.2325 | -16626.2155 | -59854.3758 | -41500.3781 | -14531.0838 | -52311.9016 | -42215.2345 | -15087.0142 | -54313.2513 | -42240.0739 | -15106.5864 | -54383.7112
07/21 15:00:00 | -58408.782 | -18090.9815 | -65127.5334 | -55467.2681 | -15724.4926 | -56608.1735 | -56252.5489 | -16347.6423 | -58851.5122 | -56280.0105 | -16369.7073 | -58930.9464
07/21 16:00:00 | -48610.9917 | -18374.6508 | -66148.743 | -45444.7598 | -15791.6244 | -56849.8479 | -46281.5277 | -16466.0676 | -59277.8433 | -46310.8621 | -16490.0042 | -59364.015
07/21 17:00:00 | -79964.8461 | -21830.7142 | -78590.5712 | -76717.3046 | -19403.5889 | -69852.9201 | -77698.2262 | -20113.3551 | -72408.0782 | -77731.0097 | -20138.2458 | -72497.6847
07/21 18:00:00 | -232710.8423 | 62797.9231 | -247.0058 | -208731.0766 | 70791.9957 | 0 | -211704.6888 | 75452.0812 | 0 | -211836.9276 | 75330.2691 | 0
07/21 19:00:00 | -291547.8363 | 26627.0227 | -2698.1332 | -304288.0998 | 39189.9876 | 0 | -283303.2372 | 34767.2022 | -585.5883 | -283458.5411 | 34637.0176 | -635.2831
07/21 20:00:00 | -309593.0642 | 29465.4996 | -2507.3423 | -294757.5294 | 42478.9402 | 0 | -299551.6395 | 38768.7603 | -300.7866 | -299727.4237 | 38616.7546 | -335.9347
07/21 21:00:00 | -230596.7651 | 22475.8341 | -1054.1922 | -219271.9952 | 32330.9675 | 0 | -222535.4407 | 29449.7202 | 0 | -222659.0704 | 29336.6809 | 0
07/21 22:00:00 | -159858.3651 | 17541.3574 | 0 | -151731.2007 | 24226.8119 | 0 | -154042.2758 | 22183.9473 | 0 | -154146.6342 | 22110.1055 | 0
07/21 23:00:00 | -99825.9786 | 12848.9898 | 0 | -94682.3618 | 16947.8807 | 0 | -96248.1299 | 15675.9743 | 0 | -96310.4491 | 15629.1777 | 0
07/21 24:00:00 | -103267.4628 | 12526.7035 | 0 | -98850.2687 | 16637.7051 | 0 | -100215.0273 | 15343.9715 | 0 | -100272.7904 | 15297.4629 | 0